| Licence Condition |  | Status of Compliance | Short Term Plan for Compliance | Schedule for Implementation of Short Term Plan for Compliance (including funding status where applicable to municipal developments) | Long Term Plan for Compliance | Schedule for Implementation of Long Term Plan for Compliance (including funding status where applicable to municipal developments) |
| --- | --- | --- | --- | --- | --- | --- |
| Part B | General Conditions |  |  |  |  |  |
| B-1 | The Licensee shall file an Annual Report with the Board not later than March 31st of the year following the calendar year reported | Non compliance - Hamlet Annual reports from 2004-2010 still outstanding | It is CGS’s intention to ensure the communities submit the plans from 2004-2010 with all available information, operating from the most recent plan, i.e. 2010 and working backwards to the oldest plan, i.e. 2004 | - It is CGS’s intention to ensure that all annual reports are submitted on before March 31st. - The community visit by exp is intended to be held prior to the end of February 2013 with a subsequent report issued prior to March 31st, 2013 | GN will monitor of ensure Annual Report submission by March 31st. This monitoring will include weekly checks of the Hamlet’s log sheets, along with monthly water committee meeting to discuss and action any issues. | All outstanding Annual Reports submitted on or before March 31st, 2013. |
| B-2 | The Licensee shall comply with the “Monitoring Program” described in this Licence, and any amendments to the “Monitoring Program” as may be made from time to time, pursuant to the conditions of this Licence. | Non compliance - Please refer to section H for specific compliance issues | - preparation of a QA/QC plan which identifies sampling protocols and testing requirements - Develop a monitoring action plan for the community which meets the requirements of the water licence | - Action Plan including procedures and QA/QC protocols prepared by June 1st, 2013 - Recommendations regarding training program submitted to CGS by March 31st, 2013 - Training program to be started summer 2013 - The monitoring program shall be provided to the Hamlet by June 1st, 2013 - recommendations with regards to a new training program for the monitoring program will be made as part of the community visit report | Develop a training plan for a TRAIN THE TRAINER to be delivered in 2013/14 for GN staff All reports to be held in a central data base accessible to GN staff for review and action | All samples completed in accordance with the water licence and submitted on or before March 2014 for the 2013 season and in the years forward |
| B-5 | The Licensee shall, within ninety (90) days after the first visit by the Inspector following issuance of this Licence, post the necessary signs to identify the stations of the “Monitoring Program.” All signage postings shall be in the Official Languages of Nunavut. | Non compliance | exp will review with the NWB to identify the existing outstanding items and submissions | Community site visit will report status of outstanding reports, and will be issued by March 31, 2013, Any available reports studies, or plans to be submitted prior to June 1st, 2013 | CGS will request additional funding to ensure communities have the resources to complete reports and studies in both languages. | The Hamlet of Taloyoak will have all outstanding paperwork translated before March 31st, 2014. |
| B-8 | The Licensee shall submit one paper copy and one electronic copy of all reports, studies, and plans to the Board. Reports or studies submitted to the Board by the Licensee shall include a detailed executive summary in Inuktitut | Non compliance | As part of exp’s community visit they will review the existing outstanding items and submissions to the NWB that require translations. | Community site visit report will be reissued by February 28th, 2013, | CGS will request additional funding to ensure communities have the resources to complete reports and studies in both languages. | The Hamlet of Taloyoak will have these translated before March 31st, 2014. |
| Licence Condition |  | Status of Compliance | Short Term Plan for Compliance | Schedule for Implementation of Short Term Plan for Compliance (including funding status where applicable to municipal developments) | Long Term Plan for Compliance | Schedule for Implementation of Long Term Plan for Compliance (including funding status where applicable to municipal developments) |
| B-10 | The Licensee shall submit to the Board for approval, within ninety (90) days of Licence issuance or upon the filing of any application in relation to the Licence within that time, a Plan for Compliance that clearly demonstrates the measures the Licensee will undertake, including an implementation schedule, to achieve full compliance with the conditions of this Licence, including the approval of the waste water and solid waste disposal facilities. | Non-compliance | - CGS has retained the services of exp to assist with the preparation of a compliance plan. - Draft Compliance Plan will be reviewed with AANDC during preparation | Compliance plan will be submitted prior to November 2, 2012. | - Annual review of need for preparation of a new Compliance Plan. - Prepare Compliance Plans as required | On or before March 31st of each year. |
| Part E | Conditions Applying To Modification And Construction |  |  |  |  |  |
| E-3 | Modifications for which all of the conditions referred to in Part E, Item 2, have not been met may be carried out only with written approval from the Board. The Licensee shall provide as-built plans and drawings of the Modifications referred to in this Licence within ninety (90) days of completion of the Modification. These plans and drawings shall be stamped by an Engineer. | Non-compliance: Failure to provide as-built plans and drawings of the Modifications referred to in this Licence within ninety (90) days of completion of the modification | - Status of work to be confirmed as part of the exp site visit. - Status of required As-Built drawings to be determined | - Report on status of modifications prior to March 15, 2013. - CGS to forward As-built drawing if available prior to March 15, 2013. IF not available the Designer shall be retained to complete the documents as require prior to September 30, 2014 |  |  |

| Licence Condition |  | Status of Compliance | Short Term Plan for Compliance | Schedule for Implementation of Short Term Plan for Compliance (including funding status where applicable to municipal developments) | Long Term Plan for Compliance | Schedule for Implementation of Long Term Plan for Compliance (including funding status where applicable to municipal developments) |
| --- | --- | --- | --- | --- | --- | --- |
| Part F | Conditions Applying To Operation And Maintenance |  |  |  |  |  |
| F-1 | The Licensee shall submit to the Board for approval, within ninety (90) days of issuance of the Licence, an Operations and Maintenance Manual prepared where appropriate, in accordance with the “Guidelines for the Preparation of an Operation and Maintenance Manual for Sewage and Solid Waste Disposal Facilities in the Northwest Territories; 1996”. The Manual shall take into consideration the comments received during the application review process and shall contain a Spill Contingency Plan in the format set out by the Consolidation of Spill Contingency Planning and Reporting Regulations R-068-9. The Spill Contingency Plan shall be appended to the Operation and Maintenance Manual. | Non-Compliance | - Status of O&M Manual (Sewage) to be reviewed during site visit. Report subsequent to visit. - Prepare O&M Manual (Sewage) as required based on site visit findings. - Status of O&M Manual (Solid Waste) to be reviewed during site visit. Report subsequent to visit. - Prepare O&M Manual (Solid Waste) as required based on site visit findings. | - Report status prior to March 15, 2013. - Prepare manuals as required and submit draft prior to July 1st, 2013. - Submit final 6 months post licence | Annual review of status and need to revise. | Amend if required prior to March 31st submission of Annual Report. |
| Part G | Conditions Applying To Operation And Maintenance |  |  |  |  |  |
| G-1 | The Licensee shall submit for Board for approval within ninety (90) days of issuance of this Licence an Abandonment and Restoration Plan for the existing water intake facility that is being decommissioned. | Non-Compliance | - CGS has retained the services of exp to assist with the preparation of A&R Plan. | - Scope of required plan assessed during site visit prior to March 31, 2013. - Report on scope of plan prior to June 1st, 2013. - Follow up visit to gather technical information and indentify all potential sites August 1, 2013. - Report on follow-up visit by September 15th, 2013. | Annual review of need for A&R Plans, and revise if required including schedule for preparation | - Submit A&R all outstanding Plans March 31st 2015 - Amend if required prior to March 31st submission of Annual Report. |

| Licence Condition |  | Status of Compliance | Short Term Plan for Compliance | Schedule for Implementation of Short Term Plan for Compliance (including funding status where applicable to municipal developments) | Long Term Plan for Compliance | Schedule for Implementation of Long Term Plan for Compliance (including funding status where applicable to municipal developments) |
| --- | --- | --- | --- | --- | --- | --- |
| Part H | Conditions Applying To The Monitoring Program |  |  |  |  |  |
| H-1 | The Licensee shall measure and record, in cubic metres, the monthly and annual quantities of water pumped at the Water Supply Facilities, for all purposes. |  | It is CGS’s intention to ensure the communities submit the Annual Reports with all available information | - The community visit by exp is intended to be held prior to the end of February 2013 with a subsequent report issued prior to March 31st, 2013 | We have started a water monitoring group that under the support of the Regional Directors use GN staff to support the municipalities and follow their monitoring and submissions of reports due to NWB. | Going forward all Annual Reports submitted to the NWB by March 31st. |
| H-2 | The Licensee shall include all of the data and information required by the “Monitoring Program” in the Licensee's Annual Report, as required per Part B, Item 1, or as requested by an Inspector. | Acknowledged | - Develop training program for sampling program - Train operational staff - Undertake required sampling and provide reporting | - Training program for sampling program to start summer 2013 - Dates as stipulated in license, subsequent to training | Ongoing surveillance of Monitoring Program requirements | Report on status prior to March 31st, for previous years. |
| Waste Management Activities Remain Unlicensed Within the Community |  |  |  |  |  |  |
|  | Deposit of waste at the site is an unlicensed activity Failure to maintain a Water Licence | Non compliance | - Make an amendment to the current licence to include the deposit of waste from the community. | Have all the documentation to the NWB before June 1st 2013 applying for a new water licence including waste management. | - The active licence expires September - New licence will need to be applied for at least 3 months prior to active licence expiring | Have all the documentation to the NWB before July 1st 2013 applying for a new water licence |
| Waste: Solid Waste Management Area |  |  |  |  |  |  |
|  | Deposit of waste at the site is an unlicensed activity Failure to maintain a Water Licence | Non compliance | - Make an amendment to the current licence to include the deposit of waste from the community. | Have all the documentation to the NWB before June 1st 2013 applying for a new water licence including waste management. | - The active licence expires September - New licence will need to be applied for at least 3 months prior to active licence expiring | Have all the documentation to the NWB before July 1st 2013 applying for a new water licence |