
ANNUAL REPORT 







YEAR BEING REPORTED:   2011                


The following information is compiled pursuant to the requirements of Part B, Item 1 of Water Licence 3BM-TAL0813 issued to the Taloyoak.
.
i) - iii)
tabular summaries of all data generated under the “Monitoring Program”; monthly and annual quantities in cubic metres of freshwater obtained from all sources; monthly and annual quantities in cubic metres of each and all wastes discharged;

Attached are quantities of water used as reported in our On Tap Water Delivery System and the estimated discharge of sewage waste based on quantities used
	Month Reported
	Quantity of Water Obtained from all sources (litres)
	Quantity of Sewage Waste Discharged

	January 
	2,984,055
	Same

	February 
	2,842,064
	Same

	March 
	3,022,421
	Same

	April 
	3,008,223
	Same

	May 
	2,940,225
	Same

	June
	2,782,167
	Same

	July 
	2,843,659
	Same

	August 
	3,002,062
	Same

	September 
	2,888,938
	Same

	October 
	3,118,744
	Same

	November 
	2,933,678
	Same

	December 
	2,786,097
	Same

	ANNUAL TOTAL
	35,152,333
	Same


iv. a summary of modifications and/or major maintenance work carried out on the Water Supply and Waste Disposal Facilities, including all associated structures and facilities;


· Upgrading on Water System completed including intake system, pump house, electrical and mechanical works for water intake, treatment and supply.

v. a list of unauthorized discharges and summary of follow-up action taken;    


· Wastewater/sewage/solid waste disposal/treatment facility request made and consultant is working on it. 

vi. a summary of any abandonment and restoration work completed during the year and an outline of any work anticipated for the next year; 



· Repair to intake and pump house completed and in operation for water supply.

· Upgrading of existing WSS completed as reported in INAC Report. Feasibility study for Sewage lagoon in the proposal.
vii. a summary of any studies requested by the Board that relate to waste disposal, water use or reclamation, and a brief description of any future studies planned;

______________________________________________________________________

· Direction from INAC Report for sewage disposal, treatment and discharge and solid waste collection/disposal with operation and maintenance manual are required. Facilities upgrading are in proposal and necessary action will be taken once receive the report.
            _______________________________________________________________________

viii. any other details on water use or waste disposal requested by the Board by November 1st of the year being reported; and




Water licence remains active until Sep 30, 2013, but upgrading requires for sewage and solid waste collection/disposal facilities.

Updates or revisions to the approved Operation and Maintenance Plans.


· Plan for upgrading of Sewage lagoon and solid waste disposal site in proposal.
                  ADDITIONAL INFORMATION THAT THE LICENSEE DEEMS USEFUL:

Information of changes/upgrading facility may be available by the end of FY 12/13 before expiry of the active licence period.
                  FOLLOW-UP REGARDING INSPECTION/COMPLIANCE CONCERNS:



· Hamlet is working in compliance with the direction of INAC Report of July 14, 2011. 
Page 1 of 3

