                                                ANNUAL REPORT 






FOR THE HAMLET OF RESOLUTE BAY AIRPORT SEWAGE LAGOON, 2017


YEAR BEING REPORTED: 2017


The following information is compiled pursuant to the requirements of Part B, Item 1 of Water License # 3BM-YRB1621 issued to ED&T of the Government of Nunavut.
i) - iii)
tabular summaries of all data generated under the “Monitoring Program”; monthly and annual quantities in cubic metres of freshwater obtained from all sources; monthly and annual quantities in cubic metres of each and all wastes discharged;

Attached are quantities of water used as reported in our On Tap Water Delivery System and the estimated discharge of sewage waste based on quantities used.
	Month Reported
	Quantity of Water Obtained from all sources (litres)
	Quantity of Sewage Waste Discharged
(Estimated)

	January 
	286,313
	Same

	February 
	451,519
	Same

	March 
	646,455
	Same

	April 
	392,783
	Same

	May 
	495,616
	Same

	June
	506,345
	Same

	July 
	617,815
	Same

	August 
	655,002
	Same

	September 
	517,892
	Same

	October 
	269,584
	Same

	November 
	175,934
	Same

	December 
	158,659
	Same

	Annual Total
	5,173,917
	5,173,917


       Note: The water consumption volume is considered equal to the discharge volume. 

iv. A summary of modifications and/or major maintenance work carried out on the Water Supply and Waste Disposal Facilities, including all associated structures and facilities;



Strip Lake is kept under this Licence # 3BM-YRB 1621 as the water source. The annual chemical analysis of Strip Lake is monitored by the Hamlet of Resolute Bay.  
          ___________________________________________________________________
v. A list of unauthorized discharges and summary of follow-up action taken;    


The Sewage Lagoon overflows every winter.  The sewage becomes frozen in the wetland and starts melting once temperature warms up. Ultimately the sewage becomes highly diluted and naturally treated before reaching the receiving body about 2km away.

vi. A summary of any abandonment and restoration work completed during the year and an outline of any work anticipated for the next year; 


No abandonment and restoration work was completed this reporting report and no plan also for the next year.

           ________________________________________________________________ 
vii. A summary of any studies requested by the Board that relate to waste disposal, water use or reclamation, and a brief description of any future studies planned;

______________________________________________________________________

                  The annual water quality monitoring program of Strip Lake raw water is still 
                  kept under this new licence. Hamlet is monitoring the raw water quality in summer 

                  and winter seasons.
           __________________________________________________________________

viii. Any other details on water use or waste disposal requested by the Board by November 1st of the year being reported; and


                  Additional summer sampling points for sewage effluent have been added and 

                  monitored under the new Water Licence # 3MB-YRB 1621.This facility will be kept 
                  active until the new WWTP is built and commissioned.             ______________________________________________________________________

ix. Updates or revisions to the approved Operation and Maintenance Plans.

     ________________________________________________________________  

The existing sewage lagoon is a non-engineered facility. An O&M manual was already sent to NWB.
           ______________________________________________________________________

     x.       ADDITIONAL INFORMATION THAT THE LICENSEE DEEMS USEFUL:

                 GN-ED&T owns this facility. This facility will be decommissioned and truck sewage 

               will be redirected to the new WWTP once it is built and commissioned, which is 
               expected in 2021/22. 


    xi.          FOLLOW-UP REGARDING INSPECTION/COMPLIANCE CONCERNS:


                  GN-ED&T is the owner and Licensee of this Facility.  GN-ED&T is working closely 
               with CGS for the compliancy of this Licence.
               
             The  Lab test results for 2017 are submitted in a separate document.
Page 1 of 3

