                                                ANNUAL REPORT 






FOR THE HAMLET OF RESOLUTE BAY AIRPORT SEWAGE LAGOON, 2019


YEAR BEING REPORTED:  2019


The following information is compiled pursuant to the requirements of Part B, Item 1 of Water Licence # 3BM-YRB 1621 issued to ED&T of the Government of Nunavut.
i) - iii)
tabular summaries of all data generated under the “Monitoring Program”; monthly and annual quantities in cubic metres of freshwater obtained from all sources; monthly and annual quantities in cubic metres of each and all wastes discharged;

Attached are quantities of water used as reported in our On Tap Water Delivery System and the estimated discharge of sewage waste based on quantities used.
	Month Reported
	Quantity of Water Obtained from all sources (litres)
	Quantity of Sewage Waste Discharged
(Estimated)

	January 
	306,862
	Same

	February 
	554,170
	Same

	March 
	875,579
	Same

	April 
	461,884
	Same

	May 
	375,508
	Same

	June
	430,970
	Same

	July 
	732,377
	Same

	August 
	626,453
	Same

	September 
	515,073
	Same

	October 
	228,214
	Same

	November 
	205,029
	Same

	December 
	142,748
	Same

	ANNUAL TOTAL
	5,454,865
	5,454,865


       Note: The water consumption volume is considered equal to the discharge volume. This is the 

        Truck delivery annual quantity.
.         _________________________________________________________________

iv. A summary of modifications and/or major maintenance work carried out on the Water Supply and Waste Disposal Facilities, including all associated structures and facilities;



The current Water Licence # 3BM-YRB 1621 has included Strip Lake as the potable water source and Airport Sewage lagoon. The annual chemical analysis of Strip Lake raw water is kept under this licence.  
                  No modifications and or major maintenance work was carried out during this reporting 

period. 

           _______________________________________________________________
v. A list of unauthorized discharges and summary of follow-up action taken;    


This lagoon has a capacity issue. It exfiltrates in summer and overflows in winter.
The unauthorized discharge has to travel almost 3km to reach to the sea.

No further action is taken. Waiting for the new WWTP to accommodate all the trucked sewage.

vi. A summary of any abandonment and restoration work completed during the year and an outline of any work anticipated for the next year; 


No abandonment and restoration work were carried out during this reporting period.
This sewage lagoon will be abandoned and restored when the new wastewater Mechanical Treatment Plant is commissioned, which is expected in three years.
            ________________________________________________________________ 
vii. A summary of any studies requested by the Board that relate to waste disposal, water use or reclamation, and a brief description of any future studies planned;

______________________________________________________________________

                The annual water quality monitoring program of the Strip Lake raw water is still 
                remaining under this new licence. Hamlet is conducting sampling and testing of the 

                Strip Lake raw water on annual basis. This will be continued.
           __________________________________________________________________

Any other details on water use or waste disposal requested by the Board by November 1st of the year being reported; and


Hamlet has started an extended summer sampling of sewage effluent in each 
Summer to satisfy the conditions of the Licence.                                    _____________________________________________________________________

viii.  Updates or revisions to the approved Operation and Maintenance Plans.

     ________________________________________________________________  

The existing sewage lagoon is a non-engineered facility. The existing O&M manual will be followed until any modification takes place to this Sewage Lagoon or the new Mechanical Wastewater Treatment plant is built and commissioned.
This manual is good and used to operate this facility until further notice.

           ______________________________________________________________________

     x.       ADDITIONAL INFORMATION THAT THE LICENSEE DEEMS USEFUL:

                  GN-ED&T owns this facility. This facility will be decommissioned and truck sewage 

               will be redirected to the new WWTP once it is built and commissioned which is 
               expected in 2022/23 .This plan is still active. Planning and Design of the new WWTP is 

                in progress.

    xi.          FOLLOW-UP REGARDING INSPECTION/COMPLIANCE CONCERNS:


                  GN-ED&T is working closely with CGS technical staffs and CIRNAC inspector and 

               follow their advice to keep this facility into compliancy as best as possible.
.

               
               The Lab test results for 2019 are submitted in a separate document.
Page 1 of 1

