                                                ANNUAL REPORT 






FOR THE HAMLET OF RESOLUTE BAY AIRPORT SEWAGE LAGOON, 2020


YEAR BEING REPORTED:  2020


The following information is compiled pursuant to the requirements of Part B, Item 1 of Water Licence # 3BM-YRB 1621 issued to ED&T of the Government of Nunavut.
i) - iii)
tabular summaries of all data generated under the “Monitoring Program”; monthly and annual quantities in cubic metres of freshwater obtained from all sources; monthly and annual quantities in cubic metres of each and all wastes discharged;

Attached are quantities of water used as reported in our On Tap Water Delivery System and the estimated discharge of sewage waste based on quantities used.
	Month Reported
	Quantity of Water Obtained from all sources (litres)
	Quantity of Sewage Waste Discharged
(Estimated)

	January 
	359,142
	Same

	February 
	533,712
	Same

	March 
	826,936
	Same

	April 
	117,289
	Same

	May 
	125,927
	Same

	June
	209,575
	Same

	July 
	343,231
	Same

	August 
	360.051
	Same

	September 
	342,321
	Same

	October 
	267,765
	Same

	November 
	188,663
	Same

	December 
	191,391
	Same

	ANNUAL TOTAL
	3,866,003
	3,866,003


       Note: The water consumption volume is considered equal to the discharge volume. 
         This is the Truck delivery annual quantity.
.         _________________________________________________________________

iv. A summary of modifications and/or major maintenance work carried out on the Water Supply and Waste Disposal Facilities, including all associated structures and facilities;



                  No modifications and or major maintenance work was carried out during this reporting 

period. 

           _______________________________________________________________
v. A list of unauthorized discharges and summary of follow-up action taken;    


This lagoon has a capacity issue. It exfiltrates in summer and overflows in winter.
The unauthorized discharge has to travel almost 3km to reach to the Sea.

No further action is taken. Waiting for the new WWTP to accommodate all the trucked sewage once it is built and commissioned.

vi. A summary of any abandonment and restoration work completed during the year and an outline of any work anticipated for the next year; 


No abandonment and restoration work were carried out during this reporting period.
The sewage lagoon will be abandoned and decommissioned when the new wastewater Mechanical Treatment Plant is commissioned, which is expected in next three to four years.
            ________________________________________________________________ 
vii. A summary of any studies requested by the Board that relate to waste disposal, water use or reclamation, and a brief description of any future studies planned;

______________________________________________________________________

                The monitoring of the Strip Lake raw water is still remaining under this Water licence. 
                Hamlet has contracted the Local Contractor ATCO for conducting sampling and 
                testing of the Strip Lake raw water on annual basis. This will be continued.
           __________________________________________________________________

viii. Any other details on water use or waste disposal requested by the Board by 
November 1st  of the year being reported; and


Hamlet is doing an extended summer sampling of sewage effluent in each 
Summer to satisfy the conditions of the Licence.  Samples are taken from the lagoon 

and wetlands during summer.                                  _____________________________________________________________________

ix.  Updates or revisions to the approved Operation and Maintenance Plans.

     ________________________________________________________________  

This Airport sewage lagoon is a non-engineered facility. The existing O&M manual is used to operate this facility. No revision or update of the O&M are required at this stage.
           ______________________________________________________________________

     x.       ADDITIONAL INFORMATION THAT THE LICENSEE DEEMS USEFUL:

                  GN-ED&T is the licensee of this facility. This facility will be decommissioned and the

               truck sewage will be redirected to the new WWTP once it is built and commissioned
               which is anticipated in 2023/24. Planning and Design of the new WWTP is in progress.

    xi.          FOLLOW-UP REGARDING INSPECTION/COMPLIANCE CONCERNS:


                  The Licensee is working closely with CIRNAC inspector and follow their advice to keep 
               this facility into compliancy as best as possible.
.

               
               The Lab test results for 2020 are submitted in a separate document.
Page 1 of 1

