
ANNUAL REPORT 2022
RESOLUTE BAY AIRPORT SEWAGE LAGOON, 
Airport Division of GN-ED&T

The information in this report is compiled pursuant to the requirements of Part B, Item 1 of Water Licence # 3BM-YRB 1621 issued to ED&T of the Government of Nunavut.
I to iii)
Monthly and annual quantities of freshwater obtained from all sources, as well as monthly and annual quantities wastes discharged. 
The monthly quantities below were compiled based on all the data generated under the “Monitoring Program”, and reported in our On Tap Water Delivery System (recorded from truck deliveries). The quantities of sewage discharge are estimates only and assumed to be approximately equal to quantities of fresh water used.
	Month Reported
	Quantity of Water Obtained from all sources (m3)
	Quantity of Sewage Waste Discharged
(Estimated m3)

	January 
	
	Same

	February 
	
	Same

	March 
	
	Same

	April 
	
	Same

	May 
	
	Same

	June
	
	Same

	July 
	
	Same

	August 
	
	Same

	September 
	
	Same

	October 
	
	Same

	November 
	
	Same

	December 
	
	Same

	ANNUAL TOTAL
	
	


iv. A summary of modifications and/or major maintenance work carried out on the Water Supply and Waste Disposal Facilities, including all associated structures and facilities
The local contractor ATCO delivered water to and collected sewage from the Airport area. The water was purchased from the Municipal WTP and sold and delivered to the Airport by truck. The wastewater was collected by truck and discharged into a sewage lagoon owned by the Airport Division of GN-ED&T.
No modifications and/or major maintenance work was carried out to the wastewater facility by the airport division of the GN-ED&T during this reporting period. 

v. A list of unauthorized discharges and summary of follow-up action taken.
The sewage lagoon owned by the Airport Division of GN-ED&T is a two-cell lagoon, with an additional cell that is used for overflow in winter. The lagoon is known to have a capacity issue. All cells comprise earth berms and are unlined. Sewage exfiltrates through the berms during summer and often overflows in winter. Exfiltrate and overflow waters typically travel almost 3km to reach the Sea. Sampling were collected from the 1b, 2,3 and 4 stations during summer and during overflow in winter. 
No further action was taken beside sampling. A new WWTP is expected to be built and commissioned in the next 4 to 5 yrs, to solve the unauthorized discharge issues.
vi. A summary of any abandonment and restoration work completed during the year and an outline of any work anticipated for the next year.
No abandonment and restoration work were carried out during this reporting period. The sewage lagoon will be abandoned and decommissioned only when a new Mechanical wastewater Treatment Plant is built and successfully commissioned, which is expected in next four to five years.
vii. A summary of any studies requested by the Board that relate to waste disposal, water use or reclamation, and a brief description of any future studies planned.
· The current potable water source is Char Lake, not strip lake.

· The chemical analysis of the raw water is conducted in an accredited lab in Ottawa.

· A new water treatment plant is expected to be built in next year.

· The berms of the sewage lagoon is monitored by the Resolute airport authority on regular basis.

· Any overflow is being reported right way.

· The local contractor sometimes helps with sampling and shipping samples to Caduceon Lab in Ottawa for testing.

· This process will be continued. 

viii. Any other details on water use or waste disposal requested by the Board by 
November 1st of the year being reported.
The Resolute Airport authority is doing an extended summer sampling of sewage effluent in each summer to satisfy the conditions of the License.  Samples are taken 
from the lagoon and wetlands during summer.
ix.  Updates or revisions to the approved Operation and Maintenance Plans.

This Airport sewage lagoon is not an engineered facility. No as-built drawings are available. However, a conceptual O&M manual has been prepared and is used to operate this facility. No revision or update of the O&M is required at this stage.
x. Additional information that the licensee deems useful
The airport division of the GN-ED&T is the licensee of this facility. This facility will be decommissioned, and the truck sewage will be redirected to the new WWTP once it is built and commissioned which is anticipated in next 4 to 5 yrs. Until such time, this sewage lagoon will be maintained by the Airport Division to the best use for treating sewage dumped into this facility.
xi. Follow-up regarding inspection/compliance concerns.
The Licensee works closely with CIRNAC inspectors and follows provided advice and direction to keep this facility in compliance as best as possible.
The Lab test results for 2021 are attached.
 
[image: image1.emf]Resolute Bay  Airport Sewage Lagoon.pptx



 EMBED PowerPoint.Show.12  [image: image2.emf]Resolute Bay  Airport Sewage Lagoon.pptx



 EMBED PowerPoint.Show.12  [image: image3.emf]Resolute Bay  Airport Sewage Lagoon.pptx


Page 2 of 2

Resolute Bay Airport Sewage Lagoon









Cell -1

Cell-2

Cell-3 for overflow in winter

Dumping

Dumping







Resolute Bay Airport Sewage Lagoon

P





Resolute Bay Airport Sewage Lagoon









Cell -1

Cell-2

Cell-3 for overflow in winter

Dumping

Dumping







Resolute Bay Airport Sewage Lagoon

P





Resolute Bay Airport Sewage Lagoon









Cell -1

Cell-2

Cell-3 for overflow in winter

Dumping

Dumping







Resolute Bay Airport Sewage Lagoon

P





