## Slide 1: RSESOLUTE AIRPORT SEWAGE LAGOON
1.50 km
Truck Discharge chute
SEA
Airport
Community, 8km
36mX18mX2m
36mX18mX2m
Land sloping
Exfiltration berm
Exfiltration berm
Keeping 1m free board, total Capacity in both cells=1,296 cubic meters
Built in 1970s
Total discharge in 2013=5,000 cubic meters
This cell is not in good shape,
partially filled
N