    HENIK LAKE ADVENTURES LTD.

       P.O. BOX 420

       ARVIAT, NU  XOC 0E0

                  PH: (867) 857-2587/2752     FAX: (867) 857-2972

CONTAINMENT/FUEL SPILL CONTINGENCY PLAN

ALL FUEL PRODUCTS ARE IN 205 LTR. LINED DRUMS. WE HAVE EMPTY FUEL DRUMS ON SITE IN THE EVENT THAT DAMAGE OCCURS TO A FULL DRUM. THE CONTENTS WOULD BE PUMPED INTO ONE OF THE EMPTY DRUMS WITH ABSORBENT MATTING USED TO SOAK UP ANY SPILLS ON THE GROUND. A ROLL OF ABSORBENT MATTING IS KEPT ON SITE AT ALL TIMES. THE DRUMS ARE IN ROWS WITH ENOUGH SPACING TO WALK BETWEEN DRUMS TO CHECK FOR LEAKS ON A DAILY BASIS. THE DRUMS ARE PLACED WITH THE BUNGS FACING OUT TO ENSURE THAT DRUMS ARE INSPECTED REGULARLY WITH NO OBSTRUCTIONS. 
IN THE EVENT OF A FUEL SPILL, THE SPILL LINE AND D.IA.N.D. WOULD BE NOTIFIED IMMEDIATELY AND CORRECTIVE ACTION TAKEN TO CONTAIN AND CLEAN UP THE SPILL.

ALL PERONNEL INVOLVED IN OUR REMOTE CAMP OPERATIONS ARE AWARE OF OUR SPILL CONTINGENCY PLAN AND UNDERSTAND THAT WE ARE OBLIGATED BY LAW TO REPORT ANY AND ALL OCCURENCES WHILE IN THE FIELD.
