B&J Fly-Fishing Adventures Camp Facility
Abandonment and Restoration Plan 

Upon completion of camp operations at the Ekaluk River site, the following procedures will be implemented to allow for the proper Abandonment and Reclamation (A&R) of the B&J Fly-Fishing Adventures Camp Facility. The A&R Plan will be updated on an annual basis, and/or when changes to camp operations warrant it. 

A&R Procedures to be Undertaken

1. 
All toilet pits will be treated with lime, back filled with 12 inches of native soil and re-contoured to the pre-existing contours of the land.  B&J Fly-Fishing Adventures will endeavor to undertake progressive reclamation activities wherever possible.

2. 
All burnable garbage will be incinerated in a modified 45 gallon drum. 

3. 
All camp materials, fuel containers, and equipment will be removed from the site and backhauled to the Hamlet of Cambridge Bay

4. 
The camp greywater disposal sump will be backfilled and re-contoured to the pre-existing contours of the land.

5. 
The Ekaluk River camp site will be inspected prior to departure to make sure all garbage has been removed. 

6. 
The above procedures have been put in place to ensure that, once B&J Fly-Fishing Adventures has ceased camp operations at the Ekaluk River site, impacts to the property have been effectively mitigated. 

