B&J Fly Fishing Adventures

P. O Box 1329

Cambridge Bay, Nunavut

X0B 0E0

Spill Contingency Plan

For B&J Fly Fishing Adventures Camp Facility

Located at Ekaluk River, Nunavut

Revision Date:  February 19, 2005, NO CHANGE MAY 28, 2010
1.0
INTRODUCTION

1.1
Purpose of Plan

The purpose of this Spill Contingency Plan is to provide a plan of action for all spills of hazardous materials that may occur at the B & J Fly Fishing Adventures Camp Facility located at Ekaluk River, Nunavut (Inuit Owned Land (IOL) Parcel CB-38/77; Latitude: 69o23’N; Longitude: 106o 13’W). This Spill Contingency Plan defines the responsibilities of key personnel and outlines procedures to effectively and efficiently contain and recover spills of hazardous materials.

Petroleum, oil and lubricating (POL) products that currently, or potentially, fall within the Scope of this Spill Contingency Plan are as follows:

· gasoline

· lubricating oil

1.2
B & J. Fly Fishing Adventures Environmental Policy

It is the policy of B & J Fly Fishing Adventures to fully comply with all applicable Acts and Regulations to ensure the protection of the environment of Nunavut.  B & J Fly Fishing Adventures shall cooperate with other groups committed to protecting the environment and shall ensure that our employees, regulatory authorities and the public are informed on the policies and procedures we have developed to help protect the environment of Nunavut.

2.0
SITE DESCRIPTION

2.1 General Site Description of the JMS Supplies POL 

Storage and Retail Facility

This spill contingency plan is to be implemented at the B & J Fly Fishing Adventures Camp Facility located at Ekaluk River, Nunavut, Nunavut.  

2.2
Petroleum Storage and Transport

POL storage locations shall be located a distance greater than 100 metres from the normal high water mark of any water body, at the following GPS coordinates: Latitude: 106o 13’N; Longitude: 69o 23’W.  The POL storage on site will have a total capacity of 100 L of gasoline stored in 20 L ULC-approved containers.

All fuel and oil are transported to the B & J Fly Fishing Adventures Camp Facility by boat.

3.0
SPILL RESPONSE ORGANIZATION

The following is a flow chart to illustrate the sequence of events in the event of a hazardous material spill occurring at the B & J Fly Fishing Adventures Camp Facility:










3.1
Spill Response Team

William Lyall, or his Designate, will serve as the Spill Response Coordinator for B & J Fly Fishing Adventures in the event of a POL spill.  William Lyall will appoint and train appropriate personnel to make up the B & J Fly Fishing Adventures Response Team, which normally consist of the following personnel:

Spill Response Coordinator:
William Lyall (or Designate)

Site Personnel:

Will generally vary from 1-3 people throughout the year

The responsibilities of the Spill Response Coordinator are as follows:

1. Assume complete authority over the spill scene and coordinate all personnel involved.

2. Evaluate spill situation and develop overall plan of action.

3. Activate the B & J Fly Fishing Adventures Spill Response Plan.

4. Immediately report the spill to the NWT 24-Hour Spill Report Line (867) 920-8130, regulatory agencies, and the Senior Administrative Officer of the Hamlet of Cambridge Bay

5. Obtain additional spill response resources from the Hamlet of Cambridge Bay if not available on site for spill response.

6.  Provide regulatory agencies with information regarding the status of the clean up activities.

7. Act as a spokesperson on behalf of B & J Fly Fishing Adventures with regulatory agencies,  the public and the media; and

8. Prepare and submit a report on the spill incident to regulatory agencies within 30 days of the event.

3.2
Additional Contacts

Table 1 – Spill Response Plan Emergency Contacts

	CONTACT
	TELEPHONE NUMBER

	INAC (Iqaluit) - Constantine Bodykevich

INAC (Iqaluit) - Scott Stewart
	(867) 975-4298, Fax (867) 979-6445 

(867) 975-4289  Fax (867) 979-6445

	B&J Fly-Fishing Adventures -William Lyall
	(867) 983-2201 (work)

(867) 983-2544 (home)

(867) 983-2203 (Fax)

	Environment Canada (Iqaluit)- Sid Bruinsma 

Environment Canada (Iqaluit)- Colette Spagnuolo
	(867) 975-4644, Fax (867) 975-4594

(867) 975-4639

	Cambridge Bay Fire Department
	(867) 983- 2222

	RCMP Detachment- Cambridge Bay
	(867) 983- 1111

	Health Center – Cambridge Bay
	(867) 983- 2531


4.0
SPILL REPORTING PROCEDURE

The On Scene Coordinator must be notified immediately of any spill either by satellite phone, radio, or in person.

The following is the spill reporting procedure:

1. Report immediately to the 24-Hour Spill Report Line Phone (867) 920-8130, Fax (867) 873-6924;

2. Report immediately to the INAC Inspector in Iqaluit at 867-975-4298;

3. Notify the Senior Administrative Officer of the Hamlet of Cambridge Bay;  and

4. Fill out the NWT Spill Report Form within thirty (30) days of the spill event occurring.

5.0
ACTION PLANS

5.1
Initial Action

The instructions to be followed by the first person on the spill scene are as follows:

1. Always be alert and consider your safety first;

2. If possible, estimate the volume of material that has been spilled;

3. Assess the hazard of people in the vicinity of the spill;

4. If possible, and safety permits, attempt to stop the release of product to minimize potential for environmental impacts;

5. Immediately report the spill to the On Scene Coordinator; and

6. Resume any effective action to contain, mitigate, or terminate the flow of the spilled material.

The following are instructions to be followed in the response to various types of spills.

5.2
Mitigative Measures:  Gasoline and Lubricating Oil 

If possible, and safety permits, stop the flow of product which is occurring and eliminate all ignition sources. Smoking is prohibited during all spill response activities.

5.2.1
Spill on Soil, Gravel, Rock, or Vegetation

Build a containment berm using soil material or snow and place a plastic tarp at the foot of the berm for easy capture of the spill after all vapors have dissipated.

Remove the spill by using absorbent pads or excavating the soil, gravel or snow.

Remove spill splashed on vegetation using particulate absorbent material.

If soil, gravel, or vegetation are to be removed from the site, B & J Fly Fishing Adventures shall contact regulatory agencies for approval before commencing with the removal.

5.2.2
Spill on Water
Use containment boom to capture spill for recovery after vapors have dissipated.

Use absorbent pads to capture small spills. Use a petroleum skimmer for larger spills.

5.2.3
Spill on Ice and Snow

Build a containment berm around spill using snow.

Remove spill using absorbent pads or particulate sorbent material.

The contaminated ice and snow must be scraped and shoveled into plastic buckets with lids, 20 litre pails, and/or polypropylene bags.

5.2.4
Storage and Transfer

All contaminated water, ice, snow, soil, and clean up supplies will be stored in closed, labeled containers.  All containers will be stored in a well ventilated area away from incompatible materials.

5.2.5
Disposal

Contact Federal and Territorial regulatory agencies to identify appropriate disposal methods before disposing of contaminated material.  No contaminated material is to be disposed of in any Facility operated by the Hamlet of Cambridge Bay without the express written consent of the Senior Administrative Officer, or designate. 

6.0
SPILL RESPONSE RESOURCE INVENTORY

6.1
Additional Personnel Available

In addition to the On Scene Coordinator, approximately 20 people are available within the staff of the Hamlet of Cambridge Bay, and the Cambridge Bay Fire Department, to assist in spill response and clean up activities.

6.2
Spill Response Equipment Inventory Equipment available on site to assist in responding to a hazardous materials spill includes various hand held tools including shovels.  In addition to these, one spill kit will be on site during site operations.  The spill kit contains the following supplies:

1 – 20 litre polyethylene overpack pail

1 – oil sorbent boom (5” X 6’)

15 – oil sorbent sheets (16.5” X 20” X 3/8”)

1 – Caution tape (3” X 500’)

1 – 1 lb plugging compound

4 – pair Nitrile gloves

4 – pair Safety goggles

4 – pair Tyvek coveralls

1 – instruction booklet

10 – printed disposable bags (24” X 48”)

7.0 TRAINING PROGRAM FOR SPILL RESPONSE

All employees working at the B & J Fly Fishing Adventures Camp Facility will be trained in the safe operation of all machinery and equipment to help prevent hazardous material spills.  All employees on site will also be trained for initial spill response in the event of a spill.  Annual refresher exercises will be conducted to review the procedures of this Spill Contingency Plan.

Appendix I

	
Material Safety Data Sheet
	


	SECTION 1 PRODUCT AND COMPANY IDENTIFICATION



CHEVRON and TEXACO REGULAR UNLEADED GASOLINES

Product Number(s): CPS201000 [See Section 16 for Additional Product Numbers] 
Synonyms: Calco Regular Unleaded Gasoline, Chevron Regular Unleaded Gasoline, Texaco Unleaded Gasoline
Company Identification
Chevron Products Company
Marketing, MSDS Coordinator
6001 Bollinger Canyon Road
San Ramon, CA 94583
United States of America

Transportation Emergency Response
CHEMTREC: (800) 424-9300 or (703) 527-3887
Health Emergency
ChevronTexaco Emergency Information Center: Located in the USA. International collect calls accepted. (800) 231-0623 or (510) 231-0623
Product Information 
Technical Information: (510) 242-5357 

SPECIAL NOTES: This MSDS applies to: all motor gasoline. 

	SECTION 2 COMPOSITION/ INFORMATION ON INGREDIENTS


	COMPONENTS
	CAS NUMBER
	AMOUNT

	Gasoline
	86290-81-5
	100 %volume

	Benzene
	71-43-2
	0.1 - 4.9 %volume

	Toluene (methylbenzene)
	108-88-3
	1 - 17 %volume

	Ethyl benzene
	100-41-4
	0.1 - 3 %volume

	Xylene (contains o-, m-, & p- xylene isomers in varying amounts)
	1330-20-7
	1 - 15 %volume

	Butane
	106-97-8
	1 - 12 %volume

	Heptane
	142-82-5
	1 - 4 %volume

	Hexane
	110-54-3
	1 - 5 %volume

	Cyclohexane
	110-82-7
	1 - 3 %volume

	Methylcyclohexane
	108-87-2
	1 - 2 %volume

	Pentane, 2,2,4-trimethyl- (Isooctane)
	540-84-1
	1 - 13 %volume

	Naphthalene
	91-20-3
	0.1 - 2 %volume

	Ethanol
	64-17-5
	0 - 10 %volume

	Methyl tert-butyl ether (MTBE)
	1634-04-4
	0 - 15 %volume

	Tertiary amyl methyl ether (TAME)
	994-05-8
	0 - 17 %volume

	Ethyl tert-butyl ether (ETBE)
	637-92-3
	0 - 18 %volume



Motor gasoline is considered a mixture by EPA under the Toxic Substances Control Act (TSCA). The refinery streams used to blend motor gasoline are all on the TSCA Chemical Substances Inventory. The appropriate CAS number for refinery blended motor gasoline is 86290-81-5. The product specifications of motor gasoline sold in your area will depend on applicable Federal and State regulations. 

	SECTION 3 HAZARDS IDENTIFICATION


***************************************************************************************************************
EMERGENCY OVERVIEW

- EXTREMELY FLAMMABLE LIQUID AND VAPOR. VAPOR MAY CAUSE FLASH FIRE
- HARMFUL OR FATAL IF SWALLOWED - MAY CAUSE LUNG DAMAGE IF SWALLOWED 
- VAPOR HARMFUL 
- CAUSES EYE AND SKIN IRRITATION 
- LONG-TERM EXPOSURE TO VAPOR HAS CAUSED CANCER IN LABORATORY ANIMALS 
- KEEP OUT OF REACH OF CHILDREN
- TOXIC TO AQUATIC ORGANISMS
***************************************************************************************************************

IMMEDIATE HEALTH EFFECTS
Eye: Contact with the eyes causes irritation. Symptoms may include pain, tearing, reddening, swelling and impaired vision.
Skin: Contact with the skin causes irritation. Skin contact may cause drying or defatting of the skin. Contact with the skin is not expected to cause an allergic skin response. Symptoms may include pain, itching, discoloration, swelling, and blistering. Not expected to be harmful to internal organs if absorbed through the skin.
Ingestion: Because of its low viscosity, this material can directly enter the lungs, if swallowed, or if subsequently vomited. Once in the lungs it is very difficult to remove and can cause severe injury or death.
Inhalation: The vapor or fumes from this material may cause respiratory irritation. Symptoms of respiratory irritation may include coughing and difficulty breathing. Breathing this material at concentrations above the recommended exposure limits may cause central nervous system effects. Central nervous system effects may include headache, dizziness, nausea, vomiting, weakness, loss of coordination, blurred vision, drowsiness, confusion, or disorientation. At extreme exposures, central nervous system effects may include respiratory depression, tremors or convulsions, loss of consciousness, coma or death. 

DELAYED OR OTHER HEALTH EFFECTS:
Reproduction and Birth Defects: This material is not expected to cause birth defects or other harm to the developing fetus based on animal data.
Cancer: Prolonged or repeated exposure to this material may cause cancer. Gasoline has been classified as a Group 2B carcinogen (possibly carcinogenic to humans) by the International Agency for Research on Cancer (IARC). 

Whole gasoline exhaust has been classified as a Group 2B carcinogen (possibly carcinogenic to humans) by the International Agency for Research on Cancer (IARC). 

Contains benzene, which has been classified as a carcinogen by the National Toxicology Program (NTP) and a Group 1 carcinogen (carcinogenic to humans) by the International Agency for Research on Cancer (IARC).  Contains ethylbenzene which has been classified as a Group 2B carcinogen (possibly carcinogenic to humans) by the International Agency for Research on Cancer (IARC).  Contains naphthalene, which has been classified as a Group 2B carcinogen (possibly carcinogenic to humans) by the International Agency for Research on Cancer (IARC). 
See Section 11 for additional information. Risk depends on duration and level of exposure.
	SECTION 4 FIRST AID MEASURES



Eye: Flush eyes with water immediately while holding the eyelids open. Remove contact lenses, if worn, after initial flushing, and continue flushing for at least 15 minutes. Get medical attention if irritation persists.
Skin: Wash skin with water immediately and remove contaminated clothing and shoes. Get medical attention if any symptoms develop. To remove the material from skin, use soap and water. Discard contaminated clothing and shoes or thoroughly clean before reuse.
Ingestion: If swallowed, get immediate medical attention. Do not induce vomiting. Never give anything by mouth to an unconscious person. If swallowed, get medical attention. Do not induce vomiting. Never give anything by mouth to an unconscious person.
Inhalation: Move the exposed person to fresh air. If not breathing, give artificial respiration. If breathing is difficult, give oxygen. Get medical attention if breathing difficulties continue.
Note to Physicians: Ingestion of this product or subsequent vomiting may result in aspiration of light hydrocarbon liquid, which may cause pneumonitis.
	SECTION 5 FIRE FIGHTING MEASURES


See Section 7 for proper handling and storage. 

FIRE CLASSIFICATION:
OSHA Classification (29 CFR 1910.1200): Flammable liquid.

NFPA RATINGS: Health: 1 Flammability: 3 Reactivity: 0

FLAMMABLE PROPERTIES:
Flashpoint: (Tagliabue Closed Cup ASTM D56) < -45 °C (< -49 °F)
Autoignition: > 280 °C (> 536 °F) 
Flammability (Explosive) Limits (% by volume in air): Lower: 1.4 Upper: 7.6 (Typical)

EXTINGUISHING MEDIA: Dry Chemical, CO2, AFFF Foam or alcohol resistant foam if >15% volume polar solvents (oxygenates). 

PROTECTION OF FIRE FIGHTERS:
Fire Fighting Instructions: Use water spray to cool fire-exposed containers and to protect personnel. For fires involving this material, do not enter any enclosed or confined fire space without proper protective equipment, including self-contained breathing apparatus.
Combustion Products: Highly dependent on combustion conditions. A complex mixture of airborne solids, liquids, and gases including carbon monoxide, carbon dioxide, and unidentified organic compounds will be evolved when this material undergoes combustion. 

	SECTION 6 ACCIDENTAL RELEASE MEASURES


Protective Measures: Eliminate all sources of ignition in the vicinity of the spill or released vapor. If this material is released into the work area, evacuate the area immediately. Monitor area with combustible gas indicator. 
Spill Management: Stop the source of the release if you can do it without risk. Contain release to prevent further contamination of soil, surface water or groundwater. Clean up spill as soon as possible, observing precautions in Exposure Controls/Personal Protection. Use appropriate techniques such as applying non-combustible absorbent materials or pumping. All equipment used when handling the product must be grounded. A vapor suppressing foam may be used to reduce vapors. Use clean non-sparking tools to collect absorbed material. Where feasible and appropriate, remove contaminated soil. Place contaminated materials in disposable containers and dispose of in a manner consistent with applicable regulations.
Reporting: Report spills to local authorities and/or the U.S. Coast Guard's National Response Center at (800) 424-8802 as appropriate or required. This material is covered by EPA's Comprehensive Environmental Response, Compensation and Liability Act (CERCLA) Petroleum Exclusion. Therefore, releases to the environment may not be reportable under CERCLA.

	SECTION 7 HANDLING AND STORAGE


Precautionary Measures: READ AND OBSERVE ALL PRECAUTIONS ON PRODUCT LABEL. This product presents an extreme fire hazard. Liquid very quickly evaporates, even at low temperatures, and forms vapor (fumes) which can catch fire and burn with explosive violence. Invisible vapor spreads easily and can be set on fire by many sources such as pilot lights, welding equipment, and electrical motors and switches. Do not store in open or unlabeled containers. Use only as a motor fuel. Do not use for cleaning, pressure appliance fuel, or any other such use. Never siphon gasoline by mouth. 
Do not get in eyes, on skin, or on clothing. Do not taste or swallow. Do not breathe vapor or fumes. Wash thoroughly after handling. Keep out of the reach of children.
Unusual Handling Hazards: WARNING! Do not use as portable heater or appliance fuel. Toxic fumes may accumulate and cause death.
General Handling Information: Avoid contaminating soil or releasing this material into sewage and drainage systems and bodies of water.
Static Hazard: Electrostatic charge may accumulate and create a hazardous condition when handling this material. To minimize this hazard, bonding and grounding may be necessary but may not, by themselves, be sufficient. Review all operations which have the potential of generating and accumulating an electrostatic charge and/or a flammable atmosphere (including tank and container filling, splash filling, tank cleaning, sampling, gauging, switch loading, filtering, mixing, agitation, and vacuum truck operations) and use appropriate mitigating procedures. For more information, refer to OSHA Standard 29 CFR 1910.106, 'Flammable and Combustible Liquids', National Fire Protection Association (NFPA 77, 'Recommended Practice on Static Electricity', and/or the American Petroleum Institute (API) Recommended Practice 2003, 'Protection Against Ignitions Arising Out of Static, Lightning, and Stray Currents'. Improper filling of portable gasoline containers creates danger of fire. Only dispense gasoline into approved and properly labeled gasoline containers. Always place portable containers on the ground. Be sure pump nozzle is in contact with the container while filling. Do not use a nozzle's lock-open device. Do not fill portable containers that are inside a vehicle or truck/trailer bed. 
General Storage Information: DO NOT USE OR STORE near heat, sparks, flames, or hot surfaces . USE AND STORE ONLY IN WELL VENTILATED AREA. Keep container closed when not in use. 


Container Warnings: Container is not designed to contain pressure. Do not use pressure to empty container or it may rupture with explosive force. Empty containers retain product residue (solid, liquid, and/or vapor) and can be dangerous. Do not pressurize, cut, weld, braze, solder, drill, grind, or expose such containers to heat, flame, sparks, static electricity, or other sources of ignition. They may explode and cause injury or death. Empty containers should be completely drained, properly closed, and promptly returned to a drum reconditioner or disposed of properly. 

	SECTION 8 EXPOSURE CONTROLS/PERSONAL PROTECTION


GENERAL CONSIDERATIONS: 
Consider the potential hazards of this material (see Section 3), applicable exposure limits, job activities, and other substances in the work place when designing engineering controls and selecting personal protective equipment. If engineering controls or work practices are not adequate to prevent exposure to harmful levels of this material, the personal protective equipment listed below is recommended. The user should read and understand all instructions and limitations supplied with the equipment since protection is usually provided for a limited time or under certain circumstances. 

ENGINEERING CONTROLS:
Use process enclosures, local exhaust ventilation, or other engineering controls to control airborne levels below the recommended exposure limits.

PERSONAL PROTECTIVE EQUIPMENT
Eye/Face Protection: No special eye protection is normally required. Where splashing is possible, wear safety glasses with side shields as a good safety practice.
Skin Protection: No special protective clothing is normally required. Where splashing is possible, select protective clothing depending on operations conducted, physical requirements and other substances in the workplace. Suggested materials for protective gloves include: Chlorinated Polyethylene (or Chlorosulfonated Polyethylene), Nitrile Rubber, Polyurethane, Viton. 
Respiratory Protection: Determine if airborne concentrations are below the recommended occupational exposure limits for jurisdiction of use. If airborne concentrations are above the acceptable limits, wear an approved respirator that provides adequate protection from this material, such as: Air-Purifying Respirator for Organic Vapors. 
When used as a fuel, this material can produce carbon monoxide in the exhaust. Determine if airborne concentrations are below the occupational exposure limit for carbon monoxide. If not, wear an approved positive-pressure air-supplying respirator.
Use a positive pressure air-supplying respirator in circumstances where air-purifying respirators may not provide adequate protection.

Occupational Exposure Limits: 

	Component 
	Agency 
	TWA 
	STEL 
	Ceiling 
	Notation 

	Benzene
	ACGIH
	.5 ppm (weight)
	2.5 ppm (weight)
	--
	Skin A1 

	Benzene
	OSHA SRS
	1 ppm (weight)
	5 ppm (weight)
	--
	--

	Benzene
	OSHA Z-2
	10 ppm (weight)
	--
	25 ppm (weight)
	--

	Butane
	ACGIH
	800 ppm (weight)
	--
	--
	--

	Cyclohexane
	ACGIH
	100 ppm (weight)
	--
	--
	--

	Cyclohexane
	OSHA Z-1
	1050 mg/m3
	--
	--
	--

	Ethanol
	ACGIH
	1000 ppm (weight)
	--
	--
	A4 

	Ethanol
	OSHA Z-1
	1900 mg/m3
	--
	--
	--

	Ethyl benzene
	ACGIH
	100 ppm (weight)
	125 ppm (weight)
	--
	A3 

	Ethyl benzene
	OSHA Z-1
	435 mg/m3
	--
	--
	--

	Ethyl tert-butyl ether (ETBE)
	ACGIH
	5 ppm (weight)
	--
	--
	--

	Heptane
	ACGIH
	400 ppm (weight)
	500 ppm (weight)
	--
	--

	Heptane
	OSHA Z-1
	2000 mg/m3
	--
	--
	--

	Hexane
	ACGIH
	50 ppm (weight)
	--
	--
	Skin 

	Hexane
	OSHA Z-1
	1800 mg/m3
	--
	--
	--

	Methyl tert-butyl ether (MTBE)
	ACGIH
	50 ppm (weight)
	--
	--
	A3 

	Methyl tert-butyl ether (MTBE)
	CVX
	--
	50 ppm
	--
	--

	Methylcyclohexane
	ACGIH
	400 ppm (weight)
	--
	--
	--

	Methylcyclohexane
	OSHA Z-1
	2000 mg/m3
	--
	--
	--

	Naphthalene
	ACGIH
	10 ppm
	15 ppm
	--
	A4 Skin

	Naphthalene
	OSHA Z-1
	50 mg/m3
	--
	--
	--

	Pentane, 2,2,4-trimethyl- (Isooctane)
	ACGIH
	300 ppm (weight)
	--
	--
	--

	Pentane, 2,2,4-trimethyl- (Isooctane)
	OSHA Z-1
	2350 mg/m3
	--
	--
	--

	Tertiary amyl methyl ether (TAME)
	ACGIH
	20 ppm (weight)
	--
	--
	--

	Tertiary amyl methyl ether (TAME)
	CVX
	--
	50 ppm
	--
	--

	Toluene (methylbenzene)
	ACGIH
	50 ppm (weight)
	--
	--
	Skin A4

	Toluene (methylbenzene)
	OSHA Z-2
	200 ppm (weight)
	--
	300 ppm (weight)
	--

	Xylene (contains o-, m-, & p- xylene isomers in varying amounts)
	ACGIH
	100 ppm (weight)
	150 ppm (weight)
	--
	A4 

	Xylene (contains o-, m-, & p- xylene isomers in varying amounts)
	OSHA Z-1
	435 mg/m3
	--
	--
	--


Refer to the OSHA Benzene Standard (29 CFR 1910.1028) and Table Z-2 for detailed training, exposure monitoring, respiratory protection and medical surveillance requirements before using this product.

	SECTION 9 PHYSICAL AND CHEMICAL PROPERTIES



Attention: the data below are typical values and do not constitute a specification.

Color: Colorless to yellow
Physical State: Liquid
Odor: Petroleum odor
pH: Not Applicable
Vapor Pressure: 5 psi - 15 psi (Typical) @ 37.8 °C (100 °F)
Vapor Density (Air = 1): 3 - 4 (Typical)
Boiling Point: 37.8 °C (100°F) - 204.4°C (400°F) (Typical)
Solubility: Insoluble in water; miscible with most organic solvents. 
Freezing Point: Not Applicable
Melting Point: Not Applicable
Specific Gravity: 0.7 g/ml - 0.8 g/ml @ 15.6 °C (60.1°F) (Typical) 
Viscosity: <1 SUS @ 37.8 °C (100°F) 

	SECTION 10 STABILITY AND REACTIVITY



Chemical Stability: This material is considered stable under normal ambient and anticipated storage and handling conditions of temperature and pressure. 
Incompatibility With Other Materials: May react with strong acids or strong oxidizing agents, such as chlorates, nitrates, peroxides, etc.
Hazardous Decomposition Products: None known (None expected)
Hazardous Polymerization: Hazardous polymerization will not occur. 

	SECTION 11 TOXICOLOGICAL INFORMATION


IMMEDIATE HEALTH EFFECTS
Eye Irritation: The Draize eye irritation mean score in rabbits for a 24-hour exposure was: 0/110. 
Skin Irritation: For a 4-hour exposure, the Primary Irritation Index (PII) in rabbits is: 4.8/8.0. 
Skin Sensitization: This material did not cause skin sensitization reactions in a Buehler guinea pig test. 
Acute Dermal Toxicity: LD50: >3.75g/kg (rabbit).
Acute Oral Toxicity: LD50: >5 ml/kg (rat)
Acute Inhalation Toxicity: 4 hour(s) LD50: >20000mg/m3 vapor (rat).
Subchronic Effects: Exposure of rats for 13 weeks (6 hr/day for 5 days/week) to the light ends of gasoline (up to 20,000 mg/m3) resulted in minimal responses of toxicity. There were no indications of neurotoxicity based morphological, functional and biochemical indices. There was also no evidence of immunotoxicity in the rats. However, when rats were exposed to gasoline vapor containing ethanol up to 20,000 mg/m3 there was evidence of both humoral immune suppression and mild astrogliosis. Reproduction and Birth Defects: Exposure of rats to the light ends of gasoline at up to 20,000 mg/m3 had generally no impact upon reproductive abilities and did not cause birth defects. 
Genetic Toxicity: Gasoline was not mutagenic, with or without activation, in the Ames assay (Salmonella typhimurium), Saccharamyces cerevisesae, or mouse lymphoma assays. In addition, point mutations were not induced in human lymphocytes. Gasoline was not mutagenic when tested in the mouse dominant lethal assay. Administration of gasoline to rats did not cause chromosomal aberrations in their bone marrow cells. Inhalation exposure of rats to the light ends of gasoline caused increased sister chromatid exchange in their peripheral white blood cells but did not cause an increase in micronucleated red blood cells in their bone marrow. 
ADDITIONAL TOXICOLOGY INFORMATION:
Gasolines are highly volatile and can produce significant concentrations of vapor at ambient temperatures. Gasoline vapor is heavier than air and at high concentrations may accumulate in confined spaces to present both safety and heath hazards. When vapor exposures are low, or short duration and infrequent, such as during refueling and tanker loading/unloading, neither total hydrocarbon nor components such as benzene are likely to result in any adverse health effects. In situations such as accidents or spills where exposure to gasoline vapor is potentially high, attention should be paid to potential toxic effects of specific components. Information about specific components in gasoline can be found in Sections 2, 8 and 15 of this MSDS. More detailed information on the health hazard of specific gasoline components can be obtained calling the ChevronTexaco Emergency Information Center (see Section 1 for phone numbers). 
Pathological misuse of solvents and gasoline, involving repeated and prolonged exposure to high concentrations of vapor is a significant exposure on which there are many reports in the medical literature. As with other solvents, persistent abuse involving repeated and prolonged exposures to high concentrations of vapor has been reported to result in central nervous system damage and eventually, death. In a study in which ten human volunteers were exposed for 30 minutes to approximately 200, 500 or 1000 ppm concentrations of gasoline vapor, irritation of the eyes was the only significant effect observed, based on both subjective and objective assessments. 
Lifetime inhalation of wholly vaporized unleaded gasoline at 2056 ppm has caused increased liver tumors in female mice and kidney cancer in male rats. In their 1988 review of carcinogenic risk from gasoline, The International Agency for Research on Cancer (IARC) noted that, because published epidemiology studies did not include any exposure data, only occupations where gasoline exposure may have occurred were reviewed. These included gasoline service station attendants and automobile mechanics. IARC also noted that there was no opportunity to separate effects of combustion products from those of gasoline itself. Although IARC allocated gasoline a final overall classification of Group 2B, i.e. possibly carcinogenic to humans, this was based on limited evidence in experimental animals plus supporting evidence including the presence in gasoline of benzene. The actual evidence for carcinogenicity in humans was considered inadequate. 
To explore the health effects of workers potentially exposed to gasoline vapors in the marketing and distribution sectors of the petroleum industry, the American Petroleum Institute sponsored a cohort mortality study (Publication 4555), a nested case-control study (Publication 4551), and an exposure assessment study (Publication 4552). Histories of exposure to gasoline were reconstructed for cohort of more than 18,000 employees from four companies for the time period between 1946 and 1985. The results of the cohort mortality study indicated that there was no increased mortality from either kidney cancer or leukemia among marketing and marine distribution employees who were exposed to gasoline in the petroleum industry, when compared to the general population. More importantly, based on internal comparisons, there was no association between mortality from kidney cancer or leukemia and various indices of gasoline exposure. In particular, neither duration of employment, duration of exposure, age at first exposure, year of first exposure, job category, cumulative exposure, frequency of peak exposure, nor average intensity of exposure had any effect on kidney cancer or leukemia mortality. The results of the nested case-control study confirmed the findings of the original cohort study. That is, exposure to gasoline at the levels experienced by this cohort of distribution workers is not a significant risk factor for leukemia (all cell types), acute myeloid leukemia, kidney cancer or multiple myeloma. 
	SECTION 12 ECOLOGICAL INFORMATION



ECOTOXICITY 
96 hour(s) LC50: 8.3 mg/l (Cyprinodon variegatus) 
96 hour(s) LC50: 1.8 mg/l (Mysidopsis bahia) 
48 hour(s) LC50: 3.0 mg/l (Daphnia magna) 
96 hour(s) LC50: 2.7 mg/l (Oncorhynchus mykiss) 
This material is expected to be toxic to aquatic organisms. The bulk of the available literature on gasoline relates to the environmental impact of monoaromatic (BTEX) and diaromatic (naphthalene, methylnaphthalenes) constituents. In general, non-oxygenated gasoline exhibits some short-term toxicity to freshwater and marine organisms, especially under closed vessel or flow-through exposure conditions in the laboratory. The components which are the most prominent in the water soluble fraction and cause aquatic toxicity, are also highly volatile and can be readily biodegraded by microorganisms. 

Gasoline studies have been conducted in the laboratory under a variety of test conditions with a range of fish and invertebrate species. An even more extensive database is available on the aquatic toxicity of individual aromatic constituents. The majority of published studies do not identify the type of gasoline evaluated, or even provide distinguishing characteristics such as aromatic content or presence of lead alkyls. As a result, comparison of results among studies using open and closed vessels, different ages and species of test animals and different gasoline types, is difficult. 

ENVIRONMENTAL FATE
This material is expected to be readily biodegradable. Following spillage, the more volatile components of gasoline will be rapidly lost, with concurrent dissolution of these and other constituents into the water. Factors such as local environmental conditions (temperature, wind, mixing or wave action, soil type, etc), photo-oxidation, biodegradation and adsorption onto suspended sediments, can contribute to the weathering of spilled gasoline. 

The aqueous solubility of non-oxygenated unleaded gasoline, based on analysis of benzene, toluene, ethylbenzene+xylenes and naphthalene, is reported to be 112 mg/l. Solubility data on individual gasoline constituents also available. 

	SECTION 13 DISPOSAL CONSIDERATIONS


Use material for its intended purpose or recycle if possible. This material, if it must be discarded, may meet the criteria of a hazardous waste as defined by US EPA under RCRA (40 CFR 261) or other State and local regulations. Measurement of certain physical properties and analysis for regulated components may be necessary to make a correct determination. If this material is classified as a hazardous waste, federal law requires disposal at a licensed hazardous waste disposal facility. 

	SECTION 14 TRANSPORT INFORMATION


The description shown may not apply to all shipping situations. Consult 49CFR, or appropriate Dangerous Goods Regulations, for additional description requirements (e.g., technical name) and mode-specific or quantity-specific shipping requirements. 

DOT Shipping Description: GASOLINE,3,UN1203,II 

IMO/IMDG Shipping Description: GASOLINE,3,UN1203,II,FLASH POINT SEE SECTION 5 

ICAO/IATA Shipping Description: GASOLINE, 3, UN1203, II 

	SECTION 15 REGULATORY INFORMATION



EPCRA 311/312 CATEGORIES: 1. Immediate (Acute) Health Effects: YES
2. Delayed (Chronic) Health Effects: YES
3. Fire Hazard: YES
4. Sudden Release of Pressure Hazard: NO
5. Reactivity Hazard: NO

REGULATORY LISTS SEARCHED: 

	01-1=IARC Group 1
	03=EPCRA 313

	01-2A=IARC Group 2A
	04=CA Proposition 65

	01-2B=IARC Group 2B
	05=MA RTK

	02=NTP Carcinogen
	06=NJ RTK

	
	07=PA RTK

	
	



The following components of this material are found on the regulatory lists indicated. 
	Benzene
	01-1, 02, 03, 04, 05, 06, 07

	Butane
	05, 06, 07

	Cyclohexane
	03, 05, 06, 07

	Ethanol
	05, 06, 07

	Ethyl benzene
	01-2B, 03, 05, 06, 07

	Gasoline
	01-2B, 07

	Heptane
	05, 06, 07

	Hexane
	03, 05, 06, 07

	Methyl tert-butyl ether (MTBE)
	03, 05, 06, 07

	Methylcyclohexane
	05, 06, 07

	Naphthalene
	01-2B, 03, 04, 05, 06, 07

	Pentane, 2,2,4-trimethyl- (Isooctane)
	05, 06, 07

	Toluene (methylbenzene)
	03, 04, 05, 06, 07


	Xylene (contains o-, m-, & p- xylene isomers in varying amounts)
	03, 05, 06, 07


CERCLA REPORTABLE QUANTITIES(RQ)/EPCRA 302 THRESHOLD PLANNING QUANTITIES(TPQ): 
	Component 
	Component RQ 
	Component TPQ 
	Product RQ 

	Benzene
	10 lbs
	None
	186 lbs

	Butane
	100 lbs
	None
	725 lbs

	Cyclohexane
	1000 lbs
	None
	34188 lbs

	Ethanol
	100 lbs
	None
	1934 lbs

	Ethyl benzene
	1000 lbs
	None
	34964 lbs

	Gasoline
	100 lbs
	None
	107 lbs

	Heptane
	100 lbs
	None
	3644 lbs

	Hexane
	5000 lbs
	None
	129149 lbs

	Methyl tert-butyl ether (MTBE)
	1000 lbs
	None
	7513 lbs

	Methylcyclohexane
	100 lbs
	None
	4278 lbs

	Naphthalene
	100 lbs
	None
	4000 lbs

	Pentane, 2,2,4-trimethyl- (Isooctane)
	1000 lbs
	None
	6270 lbs

	Toluene (methylbenzene)
	1000 lbs
	None
	5480 lbs

	Xylene (contains o-, m-, & p- xylene isomers in varying amounts)
	100 lbs
	None
	649 lbs



CHEMICAL INVENTORIES: 
All components comply with the following chemical inventory requirements: DSL (Canada), EINECS (European Union), KECI (Korea), TSCA (United States). 

WHMIS CLASSIFICATION: 
Class B, Division 2: Flammable Liquids
Class D, Division 2, Subdivision A: Very Toxic Material -
Carcinogenicity
Class D, Division 2, Subdivision B: Toxic Material -
Skin or Eye Irritation 

	SECTION 16 OTHER INFORMATION


NFPA RATINGS: Health: 1 Flammability: 3 Reactivity: 0 


(0-Least, 1-Slight, 2-Moderate, 3-High, 4-Extreme, PPE:- Personal Protection Equipment Index recommendation, *- Chronic Effect Indicator). These values are obtained using the guidelines or published evaluations prepared by the National Fire Protection Association (NFPA) or the National Paint and Coating Association (for HMIS ratings).
Additional Product Number(s): CPS201023, CPS201054, CPS201055, CPS201075, CPS201090, CPS201105, CPS201106, CPS201120, CPS201121, CPS201122, CPS201126, CPS201128, CPS201131, CPS201136, CPS201141, CPS201142, CPS201148, CPS201153, CPS201158, CPS201161, CPS201162, CPS201168, CPS201181, CPS201185, CPS201186, CPS201188, CPS201216, CPS201217, CPS201218, CPS201236, CPS201237, CPS201238, CPS201266, CPS201267, CPS201268, CPS201277, CPS201278, CPS201279, CPS201286, CPS201287, CPS201289, CPS201296, CPS201297, CPS201298, CPS201849, CPS201850, CPS201855, CPS201856, CPS201857, CPS204000, CPS204001, CPS204002, CPS204003, CPS204010, CPS204011, CPS204022, CPS204023, CPS204046, CPS204047, CPS204070, CPS204071, CPS204088, CPS204089, CPS204104, CPS204105, CPS204116, CPS204117, CPS204140, CPS204141, CPS204164, CPS204165, CPS204188, CPS204189, CPS204200, CPS204201, CPS204212, CPS204213, CPS204224, CPS204225, CPS204248, CPS204249, CPS204272, CPS204273, CPS204290, CPS204291, CPS204322, CPS204323, CPS204324, CPS204350, CPS204352, CPS204354, CPS204356, CPS204358, CPS204359, CPS204364, CPS204365, CPS204370, CPS204371, CPS204376, CPS204377, CPS204382, CPS204383, CPS204388, CPS204389, CPS204394, CPS204395, CPS204400, CPS204401, CPS204406, CPS204407, CPS204412, CPS204413, CPS204418, CPS204419, CPS204424, CPS204425, CPS204430, CPS204431, CPS204436, CPS204437, CPS204442, CPS204446, CPS204450, CPS204454, CPS204458, CPS204462, CPS204466, CPS204467, CPS204484, CPS204485, CPS204502, CPS204503, CPS204520, CPS204521, CPS204538, CPS204539, CPS204556, CPS204557, CPS204574, CPS204575, CPS204592, CPS204593, CPS204610, CPS204611, CPS204628, CPS204629, CPS204646, CPS204647, CPS204664, CPS204665, CPS204682, CPS204690, CPS204691, CPS204696, CPS204697, CPS204702, CPS204703, CPS204708, CPS204709, CPS204721, CPS204722, CPS204727, CPS204728, CPS241765
REVISION STATEMENT: This revision updates the following sections of this Material Safety Data Sheet: 1, 2, 8, 11, 14, 15.
Revision Date: 06/25/2004 


ABBREVIATIONS THAT MAY HAVE BEEN USED IN THIS DOCUMENT:
	TLV - Threshold Limit Value
	TWA - Time Weighted Average

	STEL - Short-term Exposure Limit
	PEL - Permissible Exposure Limit

	
	CAS - Chemical Abstract Service Number

	ACGIH - American Conference of Government Industrial Hygienists
	IMO/IMDG - International Maritime Dangerous Goods Code

	API - American Petroleum Institute
	MSDS - Material Safety Data Sheet

	CVX - ChevronTexaco
	NFPA - National Fire Protection Association (USA)

	DOT - Department of Transportation (USA)
	NTP - National Toxicology Program (USA)

	IARC - International Agency for Research on Cancer
	OSHA - Occupational Safety and Health Administration


	Prepared according to the OSHA Hazard Communication Standard (29 CFR 1910.1200) and the ANSI MSDS Standard (Z400.1) by the ChevronTexaco Energy Research & Technology Company, 100 Chevron Way, Richmond, California 94802.


	The above information is based on the data of which we are aware and is believed to be correct as of the date hereof. Since this information may be applied under conditions beyond our control and with which we may be unfamiliar and since data made available subsequent to the date hereof may suggest modifications of the information, we do not assume any responsibility for the results of its use. This information is furnished upon condition that the person receiving it shall make his own determination of the suitability of the material for his particular purpose.


POL Spill on Site





Spill Observer Assesses Situation





Report Spill to On-Scene B & J Fly Fishing Adventures Spill Response Coordinator





Notify Spill Response Team, and Implement Appropriate Spill Response Protocol





Notify Government and Local Agencies and


NWT 24-Hour Spill Report Line





Spill Report Form Completed within Thirty (30) Days of the POL Spill Event








PAGE  

