

[image: image2.png]



ANNUAL REPORT 

Submitted to: 

Nunavut Water Board 

For 

Licences:
NWB6BAF0409 - Type “B”

NWB6DYE0409 - Type “B”

NWB6FOD0409 - Type “B”

NWB6FOH0409 - Type “B”

NWB6SHE0409 - Type “B”

NWB6CAM0409 - Type “B”

Submitted by:  Nasittuq Corporation

17 March 2006
This Annual Report is submitted to the Nunavut Water Board as stipulated in Para. 1, Part B, General Conditions of the following licences:

Licences:
NWB6BAF0409 Type “B”



NWB6DYE0409 Type “B”



NWB6FOD0409 Type “B”



NWB6FOH0409 Type “B”



NWB6SHE0409 Type “B”



NWB6CAM0409 Type “B”

NUNAVUT WATER LICENCE:  NWB6BAF0409 Type “B”

Brevoort Island - North Warning System Long Range Radar Site – BAF-3
The annual operation and maintenance (O&M) activities at Brevoort Island during the reporting period included the quarterly preventive maintenance, fuel tank cleaning and inspection, routine infrastructure assessment and maintenance; e.g., sewage handling system overhaul, and fuel resupply.   

Water Use and Waste Disposal

The average daily water use at Brevoort Island during this reporting period was well below the stipulated maximum volume as indicated in the NWB water licence.   The waste management was consistent with the Nasittuq Environmental Protection Plan, and meeting the terms and conditions stipulated in the NWB water licence for the Brevoort Island (BAF-3) radar site.

Summary of waste retrograded from Brevoort Island (BAF-3), in 2005

	Item
	Content

	205L drum x 7
	fuel

	205L drum x 4
	oil

	205L drum x 2
	glycol

	205L drum x 1
	aerosols

	205L drum x 1
	paint & paint related material

	Cylinder x 5
	propane

	Cylinder x 2
	refrigerant, R-22

	Cylinder x 1
	refrigerant, R-12

	Crate x 1
	batteries, wet, non-spillable


Monitoring Program

No monitoring program was established during this reporting period.

Product Spills

No product spills occurred during this reporting period.

Revisions to the ERP 

No revisions have been effected during this reporting period.

Progressive reclamation work undertaken 

None undertaken.

PAGE  
3

[image: image1.png]NASITTUQ



