

Amendment (draft)



NWB6DYE0409


[image: image1.png]



P.O. Box 119


Gjoa Haven, NT  X0E 1J0
kNK5 wmoEp5 vtmpq

Tel: (867) 360-6338
Nunavut Water Board
Fax: (867) 360-6369
NUNAVUT IMALIRIYIN KATIMAYINGI

EXPLORATION/ REMOTE CAMP

SUPPLEMENTARY QUESTIONNAIRE

___________________________________________________________________________________

Applicant: _North Warning System Office   _Licence No: ______________________________                                                  

 (For NWB Use Only)

ADMINISTRATIVE INFORMATION

1.
Environment Manager: Mr. Kim Kalen, R&CS 3-4-3C   Tel: (613)998-8482  Fax: (613) 998-9261               E-mail : Kalen.KE@forces.gc.ca                             
2.
Project Manager:  Maj. A. Cameron, R&CS 3-4  Tel: (613) 998-8602  Fax:  (613) 998-9261                         E-mail: Cameron.AD@forces.gc.ca                            
3.
Does the applicant hold the necessary property rights?

           Yes.

4.
Is the applicant an ‘operator’ for another company (i.e., the holder of the property rights)?


If so, please provide letter of authorization.

            Not applicable

5.
Duration of the Project



 
[  ]Annual


[ X ]   Multi Year:




      If Multi-Year indicate proposed schedule of on site activities




      Start:   1950’s     Completion:  TBD                                                  

CAMP CLASSIFICATION
6.
Type of Camp



 
[  ] Mobile (self-propelled)



 
[  ] Temporary



 
[  ] Seasonally Occupied:                                      



 
[  ] Permanent



 
[ X ] Other: National Defence Long Range Radar Station                                                          
7. What are the design population of the camp and the maximum population expected on site at one time? What will be the fluctuations in personnel?

    The premise is unmanned all year round. There are four (4) scheduled maintenance trips to the station every year.

    Each of these trip comprises a  4-peron crew for a duration of 4 days.  Major maintenance projects

    resulting in a higher occupancy rate at the station may occur once every 2-3 years.  Unplanned corrective 

   maintenance trips to the station during the year may be required from time to time.  However, these trips rarely

   include overnight stay at the station.

8.  Provide history of the site if it has been used in the past.

          From 1989 through 1995, the station was fully manned with an average occupancy of 15 persons all year round.

            Since 1995, the station has been an unmanned facility.  

CAMP LOCATION

9.
Please describe proposed camp location in relation to biogeographical and geomorphological features, and water bodies.

                Please refer to DYE-M Site Plan (Serial H-C75-/2-8400-101), (Serial H-C75/2-8400-102) &

 (Serial H-C75/2-8400-103)  in Annex B


  Please refer to DYE-M Site Description in Annex A

10.
How was the location of the camp selected? Was the site previously used? Was assistance from the Regional Inuit Association Land Manager sought? Include maps and/or aerial photographs.

              Based on the National Prime Mission requirements.











11.
Is the camp or any aspect of the project located on:

[ X ] Crown Lands
          Permit Number (s)/Expiry Date: ____Not applicable                        

[  ] Commissioners Lands    Permit Number (s)/Expiry Date: _______________                                         

[  ] Inuit Owned Lands         Permit Number (s)/Expiry Date: ______________                                           
12.
Closest Communities (distance in km):

                150 Km southeast of Broughton Island, Nunavut.

13.
Has the proponent notified and consulted the nearby communities and potentially interested parties about the proposed work?

                  Not applicable

14.
Will the project have impacts on traditional water use areas used by the nearby communities? Will the project have impacts on local fish and wildlife habitats?

           No.

PURPOSE OF THE CAMP

15.
 Mining


    Tourism (hunting, fishing, wildlife observation, adventure/expedition, etc.)






(Omit questions # 16 to 21)


 (Other      National Prime Mission                                                                 (Omit questions # 16 to 22)

16. Preliminary site visit


             Prospecting


 
 Geological mapping


 
 Geophysical survey


 
 Diamond drilling


 
 Reverse circulation drilling


 
 Evaluation Drilling/Bulk Sampling (also complete separate questionnaire)


 
 Other: ___________            

17.
Type of deposit:



 
Lead Zinc



 
Diamond



 
Gold



 
Uranium



 
Other:  ________________________                                       

DRILLING INFORMATION
18.
Drilling Activities



 
Land Based drilling



 
Drilling on ice

19.
Describe what will be done with drill cuttings?

20.
Describe what will be done with drill water?

21.
List the brand names and constituents of the drill additives to be used? Includes MSDS sheets and provide confirmation that the additives are non-toxic and biodegradable.

22.
Will any core testing be done on site? Describe.

SPILL CONTINGENCY PLANNING
23.
Does the proponent have a spill contingency plan in place? Please include for review.

            The North Warning System/Nasittuq Spill Contingency Plan is attached as Annex C.    

24.
How many spill kits will be on site and where will they be located?

           2 groups of spill kits are available on site; namely fuel spill kit and chemical spill kit.

             Please refer to the spill kit storage location(DYE-M) site plan (Serial H-C75/2-8400-102)in Annex D .

25.
Please describe the types, quantities, and method of storage of fuel and chemicals on site, and provide MSDS sheets.

	Type
	Quantity
	Storage method
	MSDS

	Jet A-1
	2,000,696 liters
	Above-ground storage tank
	See Annex E


WATER SUPPLY AND TREATMENT

26. Describe the location of water sources.

See DYE-M Site plan(Serial H-C75/2-8400-101, Serial H-C75/2-8400-102, & Serial H-C75/2-8400-103) in Annex B 

27.
Estimated demand (in L/day * person):


 
 Domestic Use:         16,000 liters /year     Water Source:     water lake_____                                               


 Drilling Units:                                     Water Source:  ______________                                              


 Other:                                                  Water Source:  ______________                                            

28. Describe water intake for camp operations? Is the water intake equipped with a mesh screen to prevent entrapment of fish? Describe:

Water is trucked from the water lake  (see Box 26) to the summit once annually during summer. The water intake hose is equipped with a mesh screen.

29.
Will drinking water quality be monitored? What parameters will be analyzed and at what frequency?

             Drinking water quality is monitored.  Parameters tested are based on the Canadian Drinking Water Criteria and 

                 is listed as follows:

              Physical and Chemical Parameters:

	Alkalinity
	Hardness
	Phenols

	Ammonia
	Hydrogen sulphide
	Potassium

	BOD5
	Iron
	Sodium

	Calcium
	Magnesium
	Sulphate

	Chloride
	Manganese
	Tannin and lignin

	Color
	Nitrate
	Total Dissolved Solids

	Conductivity
	Nitrite
	Total Kjeddahl Nitrogen (TKN)

	Chemical Oxygen Demand
	PCBs
	Turbidity

	Fluoride
	pH
	


                Bacteriological Parameters

	E. coli
	Heterotrophic plate (HPC)

	Fecal streptococci
	Total and Fecal coliform


30.
Will drinking water be treated? How?

               Drinking water is treated using the following phases.

                            Particulates and suspended solids           filtration (3()

                            Bacteria/other water borne microbes     UV lamp

                            Color and odor                                        Charcoal filter

31.
Will water be stored on site?

              Yes,  water  is stored in above ground water storage tanks inside the water storage building.

WASTE TREATMENT AND DISPOSAL

32. Describe the characteristics, quantities, treatment and disposal methods for:

The following data is based on the existing concept of unmanned operations. There are four(4) scheduled 

Preventive maintenance trips of a 4-person crew staging for four (4) days per trip.    An average of 4,000 liters of water is consumed per trip.


(Camp Sewage (blackwater)             

                                                incinolets and occasional use (summer months only) of the existing sewage outfall facility.



(Camp Greywater (e.g., kitchen, showers and washroom sinks)                             

                                                         controlled discharge at designated location(s)

___________________________________________________________________________________


(Solid Waste

                                                Burnt in a burn bin and the accumulated ash buried at a designated landfill on site.

___________________________________________________________________________________

(Bulky Items/Scrap Metal

                                                 Stockpile and retrograde

___________________________________________________________________________________

(Waste Oil/Hazardous Waste

                                                  Retrograde to licensed disposal facility

                        ___________________________________________________________________________________


(Empty Barrels/Fuel Drums

                                                  Re-used for liquid waste

___________________________________________________________________________________


Other:  

___________________________________________________________________________________                                                                                                          

33.
Please describe incineration system if used on site. What types of wastes will be incinerated?



Not applicable.

34.
Where and how will non-combustible waste be disposed of ? If in a municipality in Nunavut, has authorization been granted?

                            Retrograde to licensed disposal facility

35.
Describe location (relative to water bodies and camp facilities ) dimensions and volume, and freeboard for sumps (if applicable).

                          Not applicable 

36.
Will leachate monitoring be done? What parameters will be sampled and analyzed, and at what frequency?

            Yes, the proposed outfall area will be monitored.  Effluent quality will be assessed based on the Guidelines for 

             Effluent Quality and Wastewater Treatment at Federal Establishments.  Parameters to be sampled and analysed 

             Will be as follows:

	Ammonia Nitrogen
	Magnesium
	sodium
	Total Arsenic

	BOD5
	Nitrate-nitrite
	Total Calcium
	Total Copper

	Calcium
	Oil and grease
	Total Chromium
	Total Iron

	Conductivity
	pH
	Total Lead
	Total Mercury

	Fecal Coliform
	Potassium
	Total Nickel
	Total Zinc


           The above parameters will be sampled and analysed at every preventive maintenance trip during the snow free

              seasons.

OPERATION AND MAINTENANCE

37.
Have the water supply and waste treatment and disposal methods been used and proven in cold climate? What known O&M problems may occur? What contingency plans are in place?

              Yes, the water supply system and similar waste system have been in operation at the station since 1950’s. 

ABANDONMENT AND RESTORATION

38.
Provide a detailed description of progressive and final abandonment and restoration activities at the site.

            To be determined.

BASELINE DATA

39.
Has or will any baseline information be collected as part of this project? Provide bibliography.


Physical Environment (Landscape and Terrain, Air, Water, etc.)


Biological Environment (Vegetation, Wildlife, Birds, Fish and Other Aquatic Organisms, etc.)


Socio-Economic Environment (Archaeology, Land and Resources Use, Demographics, Social and Culture Patterns, etc.)


Other:


Reference:  Monenco-Eyretechnics Group.  October 1987.  Initial Environmental Evaluation of the North Warning 

                                 System Project Eleven long Range Radar Sites and the Short Range Radar Development Site.  

                                Volume One

REGULATORY INFORMATION

40.
Do you have a copy of


Article 13 - Nunavut Land Claims Agreement


NWB - Water Licensing in Nunavut - Interim Procedures and Information Guide 

for Applicants


NWB - Interim Rules of Practice and Procedure for Public Hearings


NWTWB - Guidelines for the Discharge of Treated Municipal Wastewater in the 

NWT


 NWTWB - Guidelines for Contingency Planning


 DFO - Freshwater Intake End of Pipe Fish Screen Guideline


 Fisheries Act - s.35


 RWED - Environment Protection- Spill Contingency Regulations


 Canadian Drinking Water Quality Guidelines


 Public Health Act Camp Sanitation Regulations


 Public Health Act Water Supply Regulations


 Territorial Land Use Act and Regulations

You should consult the above document, guidelines, and legislation for compliance with existing regulatory requirements.

PAGE  
October 1998                                                                                                                                                                            Page 1 of 7

