[image: image1.png]NASITTUQ



kNK5 wmoEi3j5 vtmpqk5 x3+CAu si4+v5 @))&

giyJ5 Ny5g6 fxS+En8



[image: image5.png][_vap_[ Sateiite | Terran ]

& %
<
' -
66.664239, -61.354594 .
211
s
: Get directions
-
P

som <
00t ©2007 Google - Imagery @2007 DigitalGlobe, TerraMetrics, Map data ©2007 NAYTEQ™ - Terms of Use.




x3+CAu si4+vz5 @))&

gi/sJ6 +b4fkz:

kNK5 wmoEi3j5 vtmpq5

+b{hjz

Mwny:

NWB6DYE0409 - ckE+giz “B”

bwJ‐w7, w4bD/o4, kNK5

gi/sJ6 sfNz5: Nu5g6 fxS+En8

31 +m5y @))*

sN x3+CAu si4+vz5 gi/sJ6 +b4fkz kNK5 wmoEi3j5 vtmpq8k5 sc6ymJ6 ttCEx6ymizi ! wMz B, bmw8k5 xg6bs/Exo5 +sjz x+bi ttC6ymJ6 Mwnyj5:

Mwny:  NWB6DYE0409 - ckE+giz “B”
kNK5 wmzk5 Mwny: NWB6DYE0409 - ckE+giz “B”

+gMwc3F4 srs6b6g3u4 wi6tDt4n5 xKz+fpJ8N6g6 N+u8iE/sJi4 Niyt5t0Jtq5 ‐ bwJ‐w7, w4bC/o4, kNK5

sN x3+CAu xsMbsiz x7ml nN/sc5b3iz ckwosDbsJi4 w4bC/o1u bwvz5 si4+vos6ymJ5 wMQ/s9lt[l bek5 tnmk5 nS7uJoEi6\b7m6ymJ8+i3t5ti6 nN/Exo1i4, wlx8i Wd/C+M5 mo4bs/Exo5 +rNs/q8i4 cspn6LQ5 x7ml cspn6bs5tx3lt4 ckwozo3m+zb, xg6bs?4g5 N2X6ymJ5 nN/sq8N3lt4 Wi4n?9ox9lA xs/zi5 ckwosDbsix6g5 x7ml s6hxlo4bsv8i6Li, x7ml WzJq5 WoEcbsJ5 W9lA bmgjz WoEt5t0JbsJj5.

wm3u4 xg3iz5

sN wiz wigczkx6bsMs6g6 x3+CAo+m6 sX4bsc5b6Li wkc6g6 bwvz5 Wqx6Lt4 mw x7ml wkcD8+i3X4g6 k3axi sgWE, vt9lQ5 !*$ s9lw5 vJyJu4 wkcc5b6g6. csb+m5 !@‐i4 wkcc5b6g6, ci+N3lA wuc5b6bq5 xqtQJ6 !.*@ rsE4 +ub{ bwml bmgmi bwm8NstQK6. sN c5ysiz x+bi x0pQ8qbz csb+m5 wuc5b3iCwymJ6 !) rsW4 +ub NlNw/6bsymJ6 kNK5 wmoEi3j5 vtmpq5b Mwnyq8i +b{hjz w4bC/o4. bms8N wqCizA5, vt9lA x3+CAu wu6bsJ6 bwvi w4bC/o4 bwvi @))& ##% rsW4 +ub{. 

slExN6g5 x4bfw5

sN x4bfi4 xsM5ti6 wloc6g6 sfx Ny5g6 yMoEi3j5 nS7u/st4nw5 X3Nst5, trst5tx6ymlQ5 xgExc6bq5 x0pQMs8qbz bwvi kNK5 wmoEp4f5 vtmpq5b Mwnyzi5.

sfx x+bi Wdt5 st3tbsMs6g5 fXw1j5 wQbsd9lQ5 @))&‐u. 

Recyclex, 8381, Place Marien, Montreal-EST Quebec. H1B 5W6

x+bi ttC6ymK5 x4bfw5 st3tbsJ5 bwvi @))&

	DYE-M
	vMw+f
	xbsy6 G!H c5bs/6

	DYE-M
	x4b6bsymJ6 s6hxl4
	xbsy6 G!H c5bs/6

	DYE-M
	x4b6bsymJ6 s6hxl4 vtymJ6
	xbsy6 G!H c5bs/6

	DYE-M
	s6hoE0JtFi5
	xbsy6 G!H c5bs/6

	DYE-M
	s6hxloE0JtFi5
	xbsy6 G!H c5bs/6

	DYE-M
	xuxDtFi5 xuxZ
	xbsy6 G!H c5bs/6

	DYE-M
	+Xgo5, wmw5, xs4yJ8N6g6
	Wzh5 +S6ymJ5

	DYE-M
	+Xg+o5, fF/8q5g5
	xbsy6 +S6ymJ6

	DYE-M
	s6h6
	xbsy6 +S6ymJ5 @%‐a9lt4 % ZMcst5

	DYE-M
	s6h6
	 !& c5bs/w5


slExN6gc8q5g5 tyJ5 x4bfw5

bm3u4 b+m+i5g5 tyJ5 x4bfw5 wQbs9lt4 b[?i sX4ym/z8i wdx9M4tbs9lt4 wfx9M4F4noxEymJu5 sfxl n+s/s9li b+mi wios6ymJu x4b3Fz8i.

cspQx3FQlA swA6 A wios6ymJ5 nsymJ5 wiq5, +b4ftA5 xys0/w4ft5 vmQ9lA sN bwJ‐w7.
xN6b3FsJ6

cspQx3FQlA swA6 B +b8N xN6b3FsJ6 wiz, +b4ftA5 xys0/w4ft5 vmQ9lA sN bwJ‐w7.

uxiEt5t0JbsJ6 Ns5t3h3X9ox9lA

cspQx3FQlA swA6 C +b8N xN6b3FsJ6 cspn6bsymiz b[Kz bwJ‐w7.

Wdt5 fF/5g5

xbsy6 fFMs6g6 bwvzi5 si4+vosMs6ymiq8i5, sN cspQxD8N6bw5

s+bi ne+/3tbtA5:

	s9l6
	Wdt
	xqtQiz
	W0Jtz
	N+i8iz

	@ +J8 @))&
	t1uh6 s3h4nz, GJetA-1H
	hD6ymgw8N6g6
	w3zo6g6 iFzizi5 wmc8q5g6 s6hcstc3Fz
	bwJ‐w7 u5b3Fzi

	@^ JMw @))&
	t1uh6 s3h4nz, GJetA-1H
	# +ob{
	mgx c5bs/6 hcym8q5g6
	bwJ‐w7 ciQ=?i wdx9M3t5tFs?4g6


k+baEx3t5ti6 b[Kz x?toEi3u W?9oxNh1is2 X3Nst5

sfx k+baEx3tbsym8q5g5 x4g6yZ/6gi4 bmgmi si4+vos3Nst9lA.

k+baEx3tbs?9oxizk5 nN/4n5 nN/siq8k5

sfx W0JtQ9lQ5 bsg1ifq5 wkoEpgc4f5 si4+voxz8i5 xtc6g6 “wmq8k5 Mwny cspn6bsizb gK byq5 L.R.R ckwozo3m+z5 ‐ JMw !#, @))&” W0JtQ9lA vJyJ8N3m+z5 vJyJ8N8q7m+z5 “w[y8N6bsAi” hdw6yt5tAbsJ8N6g5, Ny5g6 sfx NlNw5txDmJ5 bm4fx ckwosDbsJ5 X3Nw?9oxi4f5 ryxi WymK6 x+gtAt4 +gMw4fk5 N2XMs6ymJgcFiq5tA5  gMw4f5 wiq5b. X3N4bsymJ5 nN/siq wMQ8q1XQ5 +gMw4fk5 x7ml xsMbslt4 kNb6g4n4fi5, xsM5g5 x+bA5 xyxA5 kNK5 wmoEi3j5 vtmpq5b Mwnyq8i4.

swA6 A
wioxaymJ5 nsy=Fs?[Li wiz5, xg6lA xys0/w4ft vmQ9lA bwvi bwJ‐w7. 

bwJ‐w7

[image: image2.png]



swA6 B
xN3b3Fzb dF=Fzb wiz5, xg6lA xys0/w4ft vmQ9lA bwvi bwJ‐w7

bwJ‐w7

[image: image3.png]66.614167, 61.619444

| _tap | Satolite | Terain |
[ srow oer]

v sho

:

2008 Google - Inagery 2008 DigitalGlobe, Map data G2008 NAYTEG™ - T

2000
S00m :\# =




[image: image4.png]100m b -
\ﬁum %‘ " @2007 Google - Imagery ©2007 DigitalGlobaTerraMetrics, Map data ©2007 NAVTEQ™ - Terms of Use.





swA6 C
xN3b3Fz5 cspn6bsJ6 bwvi bwJ‐w7

	Client:   Nasittuq Corp. (Ottawa)
	
	
	
	
	
	
	Report Number:  2803213

	100-170 Laurier Ave. West Ottawa, ON 

K1P 5V5
	
	
	
	
	
	
	Date:                     2008-02-25

	               
	
	
	
	
	
	
	Date Submitted:  2008-02-13

	Attention:     Mr. Sam Chang
	
	
	
	
	
	
	Project:
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	P.O. Number:
	

	Chain of Custody Number:   72169
	 
	 
	 
	 
	 
	 
	Matrix:
	 Sewage

	 
	 
	LAB ID:  
	604480
	604481
	 
	 
	 
	GUIDELINE

	 
	
	Sample Date:  
	2008-01-25
	2008-01-25
	 
	 
	 
	 

	 
	
	Sample ID:  
	DYE-M
	BAF-3
	 
	 
	 
	

	PARAMETER
	UNITS
	MRL
	 
	 
	 
	 
	 
	TYPE
	LIMIT
	UNITS

	Biochemical Oxygen Demand
	mg/L
	1
	647
	3860
	 
	 
	 
	 
	 
	 

	Conductivity
	uS/cm
	5
	1130
	523
	 
	 
	 
	 
	 
	 

	N-NH3 (Ammonia)
	mg/L
	2.0
	94.4
	19.8
	 
	 
	 
	 
	 
	 

	NO2 + NO3 as N
	mg/L
	0.10
	<0.10
	<0.10
	 
	 
	 
	 
	 
	 

	pH
	 
	 
	6.61
	5.32
	 
	 
	 
	 
	 
	 

	Phenols
	mg/L
	0.001
	0.385
	0.038
	 
	 
	 
	 
	 
	 

	Sulphate
	mg/L
	1
	1
	11
	 
	 
	 
	 
	 
	 

	Total Suspended Solids
	mg/L
	2
	466
	876
	 
	 
	 
	 
	 
	 

	Calcium
	mg/L
	1
	32
	8
	 
	 
	 
	 
	 
	 

	Magnesium
	mg/L
	1
	5
	2
	 
	 
	 
	 
	 
	 

	Potassium
	mg/L
	1
	23
	50
	 
	 
	 
	 
	 
	 

	Sodium
	mg/L
	2
	64
	43
	 
	 
	 
	 
	 
	 

	Arsenic
	mg/L
	0.05
	0.06
	<0.05
	 
	 
	 
	 
	 
	 

	Cadmium
	mg/L
	0.01
	<0.01
	<0.01
	 
	 
	 
	 
	 
	 

	Chromium
	mg/L
	0.02
	0.06
	<0.02
	 
	 
	 
	 
	 
	 

	Copper
	mg/L
	0.01
	1.86
	1.92
	 
	 
	 
	 
	 
	 

	Iron
	mg/L
	0.1
	4.4
	2.3
	 
	 
	 
	 
	 
	 

	Lead
	mg/L
	0.01
	0.08
	0.02
	 
	 
	 
	 
	 
	 

	Mercury
	mg/L
	0.05
	<0.05
	<0.05
	 
	 
	 
	 
	 
	 

	Nickel
	mg/L
	0.01
	0.08
	0.02
	 
	 
	 
	 
	 
	 

	Zinc
	mg/L
	0.05
	0.56
	0.88
	 
	 
	 
	 
	 
	 

	MRL = Method Reporting Limit   INC = Incomplete   AO = Aesthetic Objective   OG = Operational Guideline   MAC = Maximum Allowable Concentration   IMAC = Interim Maximum Allowable Concentration                

	Comment:   Metals analysis performed on aqua-regia digest of sample material.

	
	APPROVAL:
	Lorna Wilson

	
	
	Agriculture Lab Supervisor


PAGE  
1

