[image: image1.png]NASITTUQ



Nunavut Water Board Annual Report 2007

 Submitted by Nasittuq Corporation



[image: image5.png][_vas_[ Sateiite [ Terran ]

Seeh N R S e T




ANNUAL REPORT 2007

Submitted to: 

Nunavut Water Board 

For 

Licence:
NWB6FOD0409 - Type “B”

                    FOX-3, Dewar Lakes, NU

Submitted by:  Nasittuq Corporation

31 March 2008
This annual report is submitted to the Nunavut Water Board (NWB) as stipulated in Para. 1, Part B, General Conditions of the following licence:
Licence: NWB6FOD0409 Type “B”

NUNAVUT WATER LICENCE:  NWB6FOD0409 Type “B”

North Warning System Long Range Radar – FOX-3, Dewar Lakes, Nunavut
The annual operation and maintenance (O&M) activities at Dewar Lakes during the reporting period included the quarterly preventive/corrective maintenance, in-house regulatory compliance audits and inspections, routine infrastructure maintenance in preparation for the summer RAMP-UP activities, and fuel resupply. Specific projects implemented were Radar Tower Painting and Rehabilitation, Installation of RF/IF Equipment and Installation of VHF Air-Ground Radio Equipment by NAVCAN.
Water Use 
The site reverted to the annual transitory manned status in early May and ramped down in late October, totaling 177 days of continuous site occupancy.  The calculated total water usage for the site is 318.6 cubic meters.  This is based on 150 litres per person per day, with an average daily occupancy rate of 12 persons.  This gives an average daily usage of 1.8 cubic meters, below the 10 cubic meters daily allowed by the license.  Note that a water meter has since been installed at the site, and for the 2009 report, we will be able to report actual usage.

Hazardous Waste Disposal 
The waste management was consistent with the Nasittuq Environmental Protection Plan, meeting the terms and conditions stipulated in the NWB water licence.

The following items were retrograded to Quebec for disposal in 2007.
Disposal facility: Recyclex, 8381, Place Marien, Montreal-EST Quebec. H1B 5W6
Summary of Waste Retrograde in 2007
	FOX-3
	Glycol
	5 drums

	FOX-3
	Waste Fuel
	1 drum

	FOX-3
	Waste fuel mixture
	17 drums

	FOX-3
	Waste Varsol
	1 drum 

	FOX-3
	Waste fuel filters
	1 drum

	FOX-3
	Waste paint
	1 drum

	FOX-3
	Waste batteries, wet, lead acid
	1 crate

	FOX-3
	Waste batteries, non-spill
	1 crate

	FOX-3
	Refrigerant gas R22
	3 cylinders

	FOX-3
	Oil
	8 drums


Non Hazardous Solid Waste Disposal

All domestic solid waste was disposed of by burning in a burn bin and buried at a designated on-site landfill.  The DIAND inspector made reference to this practice in his report dated 03 December 2007, specifically that the waste was to be incinerated, as opposed to being burned.  We are requesting clarification on this issue, as we consider removing this type of waste back to Hall Beach impractical, and we believe the current practice to be an acceptable method for the disposal of this kind of waste.
Refer to Annex A for designated landfill location, with GPS coordinates at FOX-3.

Sewage Discharge

Refer to Annex B for sewage outfall location, with GPS coordinates at FOX-3.  The DIAND inspector made reference to concerns with regard to the current configuration of the sewage system, specifically the lack of a lagoon or sump.  However, we maintain that we using the system “… as described in the water license amendment application filed on August 6, 2004.”, which did not include a sump or lagoon.  We seek clarification on this issue.
Monitoring Program

Refer to Annex C for sewage analysis for FOX-3.
Product Spills

Two spills occurred at FOX-3 during this reporting period. These are summarized in the following table.
	Date
	Product
	Quantity
	Cause 
	Locality

	3 Jul 2007
	Aviation fuel, (Jet A-1)
	Approx. 54 litres (calculated)
	Damaged flex line
	Summit 

	12 Feb 2007
	Antifreeze
	0.1 litre
	Leaking DEG radiator
	Summit

	3 Feb 2007
	Aviation Fuel, (Jet A-1)
	Approx. 20 litres (calculated)
	Found in drip pan at the helicopter refueling point
	Helipad

	10 Sept 2007
	Aviation fuel, (Jet A-1)
	Approx. 20 litres (calculated)
	Human error during flex line repair
	Summit 


Revisions to the ERP
No revisions have been effected during this reporting period.

Progressive reclamation work undertaken 

Significant reclamation work is planned for this site in the near future.  However, this work will be implemented by Defence Construction Canada (DCC) as part of the larger DEW Line Clean-Up (DLCU) project.  As such, this work was not under the care custody or control of Nasittuq Corporation.

Annex A
Designated landfill location, with GPS coordinates at FOX-3.

FOX-3

[image: image2.png][_van_[ Satelite [ Terran ]

b

68.650417, -71.243056
150°,71°1

2
T00m 1

NAVTEQ™ - Terms of Uss




Annex B
Sewage discharge location at FOX-3

FOX-3

[image: image3.png]


[image: image4.png][_van_[ Sateiite [ Terran |





Annex C
Sewage analysis for FOX-3.

	
	
	
	
	
	
	
	
	
	
	

	Client:   Nasittuq Corp. (Ottawa)
	
	
	
	
	
	
	Report Number:
	2804631
	

	100-170 Laurier Ave. West  Ottawa, ON  

K1P 5V5
	
	
	
	
	
	
	Date:
	
	2008-03-06
	

	
	
	
	
	
	
	
	Date Submitted:
	2008-03-04
	

	               
	
	
	
	
	
	
	
	
	
	

	Attention:     Mr. Sam Chang
	
	
	
	
	
	
	Project:
	
	

	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	P.O. Number:
	
	2006112
	

	Chain of Custody Number:   26141
	 
	 
	 
	 
	 
	 
	Matrix:
	 
	Wastewater

	 
	
	LAB ID:  
	608720
	 
	 
	 
	 
	GUIDELINE

	 
	
	Sample Date:  
	2008-02-20
	 
	 
	 
	 
	 

	 
	
	Sample ID:  
	FOX-3
	 
	 
	 
	 
	

	 
	
	 
	
	
	
	
	
	

	 
	
	 
	
	
	
	
	
	

	PARAMETER
	UNITS
	MRL
	 
	 
	 
	 
	 
	TYPE
	LIMIT
	UNITS

	Conductivity
	uS/cm
	5
	2520
	 
	 
	 
	
	 
	 
	 

	N-NH3 (Ammonia)
	mg/L
	2.0
	197
	 
	 
	 
	
	 
	 
	 

	pH
	 
	 
	7.18
	 
	 
	 
	
	 
	 
	 

	Phenols
	mg/L
	0.001
	0.213
	 
	 
	 
	
	 
	 
	 

	Sulphate
	mg/L
	1
	7
	 
	 
	 
	
	 
	 
	 

	Total Suspended Solids
	mg/L
	2
	6280
	 
	 
	 
	
	 
	 
	 

	Calcium
	mg/L
	1
	98
	 
	 
	 
	
	 
	 
	 

	Magnesium
	mg/L
	1
	16
	 
	 
	 
	
	 
	 
	 

	Potassium
	mg/L
	1
	58
	 
	 
	 
	
	 
	 
	 

	Sodium
	mg/L
	2
	209
	 
	 
	 
	
	 
	 
	 

	Arsenic
	mg/L
	0.05
	<0.05
	 
	 
	 
	
	 
	 
	 

	Cadmium
	mg/L
	0.01
	0.05
	 
	 
	 
	
	 
	 
	 

	Chromium
	mg/L
	0.02
	0.24
	 
	 
	 
	
	 
	 
	 

	Copper
	mg/L
	0.01
	409
	 
	 
	 
	
	 
	 
	 

	Iron
	mg/L
	0.1
	63.6
	 
	 
	 
	
	 
	 
	 

	Lead
	mg/L
	0.01
	5.20
	 
	 
	 
	
	 
	 
	 

	Mercury
	mg/L
	0.001
	<0.001
	 
	 
	 
	
	 
	 
	 

	Nickel
	mg/L
	0.01
	0.34
	 
	 
	 
	
	 
	 
	 

	Zinc
	mg/L
	0.05
	11.8
	 
	 
	 
	
	 
	 
	 

	MRL = Method Reporting Limit   INC = Incomplete   AO = Aesthetic Objective   OG = Operational Guideline   MAC = Maximum Allowable Concentration   IMAC = Interim Maximum Allowable Concentration                

	Comment:   

	608720: N-NO2+N-N03, BOD and Oil and Grease were submitted past their holding times and are not available.Pb MRL elevated due to matrix interference.
	APPROVAL:
	Lorna Wilson 
	 

	
	
	Agriculture Lab Supervisor
	





PAGE  
1

