[image: image1.png]NASITTUQ






[image: image8.png][_van_[ Satelite [ Terran ]

b

68.650417, -71.243056
150°,71°1

2
T00m 1

NAVTEQ™ - Terms of Uss




2008 Annual Report
to the
Nunavut Water Board
Licensee:
Department of National Defence,

Government of Canada
Licence:
NWB6FOD0409 - Type “B”

Location:
FOX-3 North Warning System Site,
Dewar Lakes, Baffin Region, Nunavut
Report submitted by:  Nasittuq Corporation,
31 March 2009
2008 Annual Report to the Nunavut Water Board

Licensee:
Department of National Defence,

Licence:
NWB6FOD0409 - Type “B”

Location:
FOX-3 North Warning System Site,

Dewar Lakes, Baffin Region, Nunavut

Report submitted by:  Nasittuq Corporation,
31 March 2009

Executive Summary

This 2008 Annual Report to the Nunavut Water Board (NWB) is submitted as required by Licence Number NWB6FOD0409 – Type “B”, Part B. General Conditions, para. 1.

FOX-3 is an unattended (unmanned) North Warning System radar site at Dewar Lakes, Nunavut.  The site is visited quarterly for preventive maintenance inspections and as required for other work by Nasittuq staff from FOX-M, Hall Beach, Nunavut.  The site was temporarily attended (manned) due to project activity in parts of January and February and also periodically from May to September.

The annual water usage was 107 cubic meters of water.
Hazardous waste was removed from the site for disposal outside of Nunavut.  The waste went to Clean Harbors, Thurso, Quebec.  The waste was 57 drums of assorted waste (oil, tank cleaning effluent, etc.) and 2 cylinders.

Nonhazardous domestic solid waste was flown out to FOX-M and disposed of through a contract with the Hall Beach community at the local landfill.

The sewage effluent was sent for laboratory analysis.

Two outdoor spills (fuel, glycol) occurred and were cleaned up.
The Spill Contingency Plan was revised.  The main changes were:  spills are now immediately reported to the NWSCC, and the Nasittuq Emergency Contact List (used only by Nasittuq Corp. staff) was updated to reflect changes in personnel.
Introduction
This 2008 Annual Report to the Nunavut Water Board (NWB) is submitted as required by Licence Number NWB6FOD0409 – Type “B”, Part B. General Conditions, para. 1.

FOX-3 is an unattended (unmanned) North Warning System radar site at Dewar Lakes, Nunavut.  The site is visited quarterly for preventive maintenance inspections and as required for other work by Nasittuq staff from FOX-M, Hall Beach, Nunavut.  The site was temporarily attended (manned) due to project activity in parts of January and February and also periodically from May to September.

Water Pumped from FOD-1
The annual water usage was 107 cubic meters.  This is based on 150 liters per person per day multiplied by the actual daily site population.

The flow meter reading was recorded during the last site visit in 2008, and flow meter readings will now be taken each time water is pumped from FOD-1.
Hazardous Waste and Waste Oil Disposal

Hazardous waste and waste oil were sent to an approved hazardous waste disposal site outside of Nunavut as required by the licence.  The waste was sent to Clean Harbors, 200-7305 blvd Marie-Victorin, Brassard, QC, J4W 1A6.  The receiving site address is Clean Harbors, 400 Galipeau, Rang 5, Thurso, QC, J0X 3B0.
Table 1 below lists the items sent for disposal.
Table 1.  Summary of waste sent for disposal in 2008 from FOX-3.
	Site
	Description
	Quantity

	FOX-3
	Waste oil
	13 drums

	FOX-3
	Waste fuel contaminated soil
	11 drums

	FOX-3
	Waste tank cleaning effluent
	22 drums

	FOX-3
	Waste paint
	10 drums

	FOX-3
	Waste fuel filters
	1 drum

	FOX-3
	Acetylene
	2 cylinders


Nonhazardous Solid Waste Disposal

Nonhazardous domestic solid waste was flown out to FOX-M and disposed of through a contract with the Hall Beach community at the local landfill.  Some solid waste was deposited at the on-site landfill (see Annex C).
Monitoring Program

See Annex A for the location of the sewage effluent outfall, FOD-2.

See Annex B for analysis of sewage effluent.
See Annex C for the location of the landfill.

Spills (Unauthorized Discharges)
Two outdoor spills occurred.  They are in Table 2 below.
Table 2.  Outdoor spills in 2008 at FOX-3.
	Date
	Product
	Quantity
	Cause and follow-up action
	Location at FOX-3

	02 Mar 2008
	Jet A1 fuel
	About 0.125 liters 

(1/2 cup)
	Small discharge of fuel at pressure relief valve located within dyke.
Contaminated snow was placed in a drum.*  Technicians examined valve and found no leaking or weeping.  Mild weather may have raised the pressure in the fuel line and resulted in the small discharge.
	Tank W22E near runway

	16 Oct 2008
	Norkool antifreeze (ethylene glycol – water mixture)
	20 to 30 liters
	Leaking radiator assembly in engine room.

Glycol on floor was soaked up with sorbent.  Sorbent and contaminated snow beneath engine room were placed in drums.*  Repaired radiator.
	Engine room


* Drums are retrograded to a licensed waste disposal company outside of Nunavut.

Revisions to the Spill Contingency Plan
The Spill Contingency Plan was revised as follows:

- spills are immediately reported to the NWSCC instead of the LSS Manager;

- Spill Response Flow Chart was updated to show the immediate report to NWSCC;

- all spills, indoors and outdoors, must be reported;
- all statements about burning (i.e. burning recovered fuel, fuel soaked sorbent, etc.) and

   burn bins were removed; and
- two names (I. Wawryk, S. Cheng) were removed from the Nasittuq Emergency Contact 
   List.  This List is used only by Nasittuq Corp. staff.
Progressive reclamation work undertaken 

None required.
Annex A
FOX-3 Sewage Outfall Location with GPS Co-ordinates

[image: image6.png]



Annex B
Analysis of Sewage Effluent in 2008 for FOX-3
(samples taken monthly when sewage actively discharged)

February 2008 – page 1 of 1
[image: image2.emf]
July 2008 – page 1 of 3
[image: image3.emf]
July 2008 – page 2 of 3
[image: image4.emf]
July 2008 - page 3 of 3

[image: image5.emf]
Annex C
Location of Landfill at FOX-3

with GPS Co-ordinates

[image: image7.png][_van_[ Sateiite [ Terran |








PAGE  
2008 Annual Report to the Nunavut Water Board 

Page 5 of 11
License Number NWB6FOD0409 – Type “B”

FOX-3, Dewar Lakes, NU


