## Licence Compliance Assessment
Licence Compliance Assessment
Item | Licence 3BC-CAM0919 Requirement | Compliance Assessment | Item | Licence 3BC-SHE0919 Requirement | Compliance Assessment | Item | Licence 3BC-FOH0919 Requirement | Compliance Assessment | Item | Licence 3BC-DYE0919 Requirement | Compliance Assessment | Item | Licence 3BC-FAF0919 Requirement | Compliance Assessment
PART A: Scope, Definitions, and Enforcement
General Conditions
B1 | The Licensee shall file an Annual Report on the appurtenant undertaking with the Board no later than March 31st of the year following the calendar year being reported, containing the following information: | A report was provided to the NWB annually. | B1 | The Licensee shall file an Annual Report on the appurtenant undertaking with the Board no later than March 31st of the year following the calendar year being reported, containing the following information: | A report was provided to the NWB annually. | B1 | The Licensee shall file an Annual Report on the appurtenant undertaking with the Board no later than March 31st of the year following the calendar year being reported, containing the following information: | A report was provided to the NWB annually. | B1 | The Licensee shall file an Annual Report on the appurtenant undertaking with the Board no later than March 31st of the year following the calendar year being reported, containing the following information: | A report was provided to the NWB annually. | B1 | The Licensee shall file an Annual Report on the appurtenant undertaking with the Board no later than March 31st of the year following the calendar year being reported, containing the following information: | A report was provided to the NWB annually.
B1 | a. A summary report of water use and waste disposal activities; |  | B1 | a. A summary report of water use and waste disposal activities; |  | B1 | a. A summary report of water use and waste disposal activities; |  | B1 | a. A summary report of water use and waste disposal activities; |  | B1 | a. A summary report of water use and waste disposal activities;
B1 | b. A list of unauthorized discharges and a summary of follow-up actions taken; |  | B1 | b. A list of unauthorized discharges and a summary of follow-up actions taken; |  | B1 | b. A list of unauthorized discharges and a summary of follow-up actions taken; |  | B1 | b. A list of unauthorized discharges and a summary of follow-up actions taken; |  | B1 | b. A list of unauthorized discharges and a summary of follow-up actions taken;
B1 | c. Updates or revisions, if applicable, to the Spill Contingency Plan, and Operations and Maintenance Plans; revisions may be subject to Board approval; |  | B1 | c. Updates or revisions, if applicable, to the Spill Contingency Plan, and Operations and Maintenance Plans; revisions may be subject to Board approval; |  | B1 | c. Updates or revisions, if applicable, to the Spill Contingency Plan, and Operations and Maintenance Plans; revisions may be subject to Board approval; |  | B1 | c. Updates or revisions, if applicable, to the Spill Contingency Plan, and Operations and Maintenance Plans; revisions may be subject to Board approval; |  | B1 | c. Updates or revisions, if applicable, to the Spill Contingency Plan, and Operations and Maintenance Plans; revisions may be subject to Board approval;
B1 | d. A description of all progressive and or final reclamation work undertaken, including photographic records of site conditions before, during and after completion of operations; |  | B1 | d. A description of all progressive and or final reclamation work undertaken, including photographic records of site conditions before, during and after completion of operations; |  | B1 | d. A description of all progressive and or final reclamation work undertaken, including photographic records of site conditions before, during and after completion of operations; |  | B1 | d. A description of all progressive and or final reclamation work undertaken, including photographic records of site conditions before, during and after completion of operations; |  | B1 | d. A description of all progressive and or final reclamation work undertaken, including photographic records of site conditions before, during and after completion of operations;
[12 empty] | B1 | e. A description of all progress for the remediation of contaminated soil including clean-up activity and monitoring results;
B1 | e. A summary of all information requested and results of the Monitoring Program; and |  | B1 | e. A summary of all information requested and results of the Monitoring Program; and |  | B1 | e. A summary of all information requested and results of the Monitoring Program; and |  | B1 | e. A summary of all information requested and results of the Monitoring Program; and |  | B1 | f. A summary of all information requested and results of the Monitoring Program; and
B1 | f. Any other details on water use or waste disposal requested by the Board by November 1 of the year being reported. |  | B1 | f. Any other details on water use or waste disposal requested by the Board by November 1 of the year being reported. |  | B1 | f. Any other details on water use or waste disposal requested by the Board by November 1 of the year being reported. |  | B1 | f. Any other details on water use or waste disposal requested by the Board by November 1 of the year being reported. |  | B1 | g. Any other details on water use or waste disposal requested by the Board by November 1 of the year being reported.
B2 | The Licensee shall notify the NWB of any changes in operating plans or conditions associated with this project at least thirty (30) days prior to any such change. | No changes were made to the site that required notificattion to the NWB. | B2 | The Licensee shall notify the NWB of any changes in operating plans or conditions associated with this project at least thirty (30) days prior to any such change. | No changes were made to the site that required notificattion to the NWB. | B2 | The Licensee shall notify the NWB of any changes in operating plans or conditions associated with this project at least thirty (30) days prior to any such change. | No changes were made to the site that required notificattion to the NWB. | B2 | The Licensee shall notify the NWB of any changes in operating plans or conditions associated with this project at least thirty (30) days prior to any such change. | No changes were made to the site that required notificattion to the NWB. | B2 | The Licensee shall notify the NWB of any changes in operating plans or conditions associated with this project at least thirty (30) days prior to any such change. | No changes were made to the site that required notificattion to the NWB.
B3 | The Licensee shall install flow meters or other such devices, or implement suitable methods required for the measuring of water volumes as required under Part I, Item 2. | A flow meter was installed before the raw water tanks on 11-Sep-2009. | B3 | The Licensee shall install flow meters or other such devices, or implement suitable methods required for the measuring of water volumes as required under Part I, Item 2. | A flow meter was installed before the raw water tanks on 12-Oct-2009. | B3 | The Licensee shall install flow meters or other such devices, or implement suitable methods required for the measuring of water volumes as required under Part I, Item 2. | A flow meter was installed before the raw water tanks on 29-Jul-2009. | B3 | The Licensee shall install flow meters or other such devices, or implement suitable methods required for the measuring of water volumes as required under Part I, Item 2. | A flow meter was installed before the raw water tanks late 2009. | B3 | The Licensee shall install flow meters or other such devices, or implement suitable methods required for the measuring of water volumes as required under Part I, Item 2. | A flow meter was installed before the raw water tanks on 30-Dec-2009.
B4 | The Licensee shall, for all Plans submitted under this Licence, include a proposed timetable for implementation. Plans submitted, cannot be undertaken without subsequent written Board approval and direction. The Board may alter or modify a Plan if necessary to achieve the legislative objectives and will notify the Licensee in writing of acceptance, rejection or alteration of the Plan. | Completed | B4 | The Licensee shall, for all Plans submitted under this Licence, include a proposed timetable for implementation. Plans submitted, cannot be undertaken without subsequent written Board approval and direction. The Board may alter or modify a Plan if necessary to achieve the legislative objectives and will notify the Licensee in writing of acceptance, rejection or alteration of the Plan. | Completed | B4 | The Licensee shall, for all Plans submitted under this Licence, include a proposed timetable for implementation. Plans submitted, cannot be undertaken without subsequent written Board approval and direction. The Board may alter or modify a Plan if necessary to achieve the legislative objectives and will notify the Licensee in writing of acceptance, rejection or alteration of the Plan. | Completed | B4 | The Licensee shall, for all Plans submitted under this Licence, include a proposed timetable for implementation. Plans submitted, cannot be undertaken without subsequent written Board approval and direction. The Board may alter or modify a Plan if necessary to achieve the legislative objectives and will notify the Licensee in writing of acceptance, rejection or alteration of the Plan. | Completed | B4 | The Licensee shall, for all Plans submitted under this Licence, include a proposed timetable for implementation. Plans submitted, cannot be undertaken without subsequent written Board approval and direction. The Board may alter or modify a Plan if necessary to achieve the legislative objectives and will notify the Licensee in writing of acceptance, rejection or alteration of the Plan. | Completed
B5 | The Licensee shall, for all Plans submitted under this Licence, implement the Plan as approved by the Board in writing. | Completed | B5 | The Licensee shall, for all Plans submitted under this Licence, implement the Plan as approved by the Board in writing. | Completed | B5 | The Licensee shall, for all Plans submitted under this Licence, implement the Plan as approved by the Board in writing. | Completed | B5 | The Licensee shall, for all Plans submitted under this Licence, implement the Plan as approved by the Board in writing. | Completed | B5 | The Licensee shall, for all Plans submitted under this Licence, implement the Plan as approved by the Board in writing. | Completed
|  |  | B6 | The Licensee shall review the Plans referred to in this Licence as required by changes in operation and/or technology and modify the Plans accordingly. Revisions to the Plan are to be submitted in the form of an Addendum to be included with the Annual Report, unless directed otherwise by an Inspector. Addendums should be accompanied with a concordance sheet that provides an overview of the changes made to the plan. | Completed |  |  |  | B6 | The Licensee shall review the Plans referred to in this Licence as required by changes in operation and/or technology and modify the Plans accordingly. Revisions to the Plan are to be submitted in the form of an Addendum to be included with the Annual Report, unless directed otherwise by an Inspector. Addendums should be accompanied with a concordance sheet that provides an overview of the changes made to the plan. | Completed | B6 | The Licensee shall review the Plans referred to in this Licence as required by changes in operation and/or technology and modify the Plans accordingly. Revisions to the Plan are to be submitted in the form of an Addendum to be included with the Annual Report, unless directed otherwise by an Inspector. Addendums should be accompanied with a concordance sheet that provides an overview of the changes made to the plan. | Completed
B6 | Every Plan to be carried out pursuant to the terms and conditions of this Licence shall become a part of this Licence, and any additional terms and conditions imposed upon approval of a Plan by the Board become part of this Licence. All terms and conditions of the Licence should be contemplated in the development of a Plan where appropriate. | Completed | B7 | Every Plan to be carried out pursuant to the terms and conditions of this Licence shall become a part of this Licence, and any additional terms and conditions imposed upon approval of a Plan by the Board become part of this Licence. All terms and conditions of the Licence should be contemplated in the development of a Plan where appropriate. | Completed | B6 | Every Plan to be carried out pursuant to the terms and conditions of this Licence shall become a part of this Licence, and any additional terms and conditions imposed upon approval of a Plan by the Board become part of this Licence. All terms and conditions of the Licence should be contemplated in the development of a Plan where appropriate. | Completed | B7 | Every Plan to be carried out pursuant to the terms and conditions of this Licence shall become a part of this Licence, and any additional terms and conditions imposed upon approval of a Plan by the Board become part of this Licence. All terms and conditions of the Licence should be contemplated in the development of a Plan where appropriate. | Completed | B7 | Every Plan to be carried out pursuant to the terms and conditions of this Licence shall become a part of this Licence, and any additional terms and conditions imposed upon approval of a Plan by the Board become part of this Licence. All terms and conditions of the Licence should be contemplated in the development of a Plan where appropriate. | Completed
B7 | The Licensee shall ensure a copy of this Licence is maintained at the site of operations at all times. Any communication with respect to this Licence shall be made in writing to the attention of: a) Manager of Licensing b) Inspector Contact | Completed | B8 | The Licensee shall ensure a copy of this Licence is maintained at the site of operations at all times. Any communication with respect to this Licence shall be made in writing to the attention of: a) Manager of Licensing b) Inspector Contact | Completed | B7 | The Licensee shall ensure a copy of this Licence is maintained at the site of operations at all times. Any communication with respect to this Licence shall be made in writing to the attention of: a) Manager of Licensing b) Inspector Contact | Completed | B8 | The Licensee shall ensure a copy of this Licence is maintained at the site of operations at all times. Any communication with respect to this Licence shall be made in writing to the attention of: a) Manager of Licensing b) Inspector Contact | Completed | B8 | The Licensee shall ensure a copy of this Licence is maintained at the site of operations at all times. Any communication with respect to this Licence shall be made in writing to the attention of: a) Manager of Licensing b) Inspector Contact | Completed
B8 | The Licensee shall submit one paper copy and one electronic copy of all reports, studies, and plans to the Board. Reports or studies submitted to the Board by the Licensee shall include a detailed executive summary in Inuktitut. | This is addressed in the cover letter accompanying the application. | B9 | The Licensee shall submit one paper copy and one electronic copy of all reports, studies, and plans to the Board. Reports or studies submitted to the Board by the Licensee shall include a detailed executive summary in Inuktitut. | This is addressed in the cover letter accompanying the application. | B8 | The Licensee shall submit one paper copy and one electronic copy of all reports, studies, and plans to the Board. Reports or studies submitted to the Board by the Licensee shall include a detailed executive summary in Inuktitut. | This is addressed in the cover letter accompanying the application. | B9 | The Licensee shall submit one paper copy and one electronic copy of all reports, studies, and plans to the Board. Reports or studies submitted to the Board by the Licensee shall include a detailed executive summary in Inuktitut. | This is addressed in the cover letter accompanying the application. | B9 | The Licensee shall submit one paper copy and one electronic copy of all reports, studies, and plans to the Board. Reports or studies submitted to the Board by the Licensee shall include a detailed executive summary in Inuktitut. | This is addressed in the cover letter accompanying the application.
B9 | The Licensee shall ensure that any document(s) or correspondence submitted by the Licensee to the Board is received and acknowledged by the Manager of Licensing. | No deliverable | B10 | The Licensee shall ensure that any document(s) or correspondence submitted by the Licensee to the Board is received and acknowledged by the Manager of Licensing. | No deliverable | B9 | The Licensee shall ensure that any document(s) or correspondence submitted by the Licensee to the Board is received and acknowledged by the Manager of Licensing. | No deliverable | B10 | The Licensee shall ensure that any document(s) or correspondence submitted by the Licensee to the Board is received and acknowledged by the Manager of Licensing. | No deliverable | B10 | The Licensee shall ensure that any document(s) or correspondence submitted by the Licensee to the Board is received and acknowledged by the Manager of Licensing. | No deliverable
B10 | This Licence is assignable as provided for in Section 44 of the Act. | No deliverable | B11 | This Licence is assignable as provided for in Section 44 of the Act. | No deliverable | B10 | This Licence is assignable as provided for in Section 44 of the Act. | No deliverable | B11 | This Licence is assignable as provided for in Section 44 of the Act. | No deliverable | B11 | This Licence is assignable as provided for in Section 44 of the Act. | No deliverable
Conditions Applying to Water Use
C1 | The Licensee shall obtain all water from Water Lake. The volume of water for the purposes of this Licence shall not exceed ten (10) cubic metres per day. | No deliverable | C1 | The Licensee shall obtain all water from Water Lake as described in the Application and shown on drawing No. H-S123/1-8400-103, unless otherwise approved by the Board. The volume of water for the purposes of this Licence shall not exceed one thousand four hundred and forty (1,440) cubic metres annually. | No deliverable | C1 | Obtaining water from a natural water source for Use is not authorized under this Licence. | No deliverable | C1 | The Licensee shall obtain all water from Water Lake or the Meltwater water source as described in the Application and on drawing No’s H-C75-2-8400-103 and 102 respectively, unless otherwise approved by the Board. The volume of water for the purposes of this Licence shall not exceed one thousand four hundred and forty (1,440) cubic metres annually. | No deliverable | C1 | The Licensee shall obtain all water from Water Supply Lake. The volume of water for the purposes of this Licence shall not exceed one thousand seven hundred and fifty (1750) cubic metres annually. | No deliverable
C2 | Streams cannot be used as a water source unless authorized and approved by the Board in writing. | No deliverable | C2 | Streams cannot be used as a water source unless authorized and approved by the Board in writing. | No deliverable |  |  | No deliverable | C2 | Streams cannot be used as a water source unless authorized and approved by the Board in writing. | No deliverable | C2 | Streams cannot be used as a water source unless authorized and approved by the Board in writing. | No deliverable
C3 | If the Licensee requires water in sufficient volume that the source water body may be drawn down the Licensee shall, at least thirty (30) days prior to commencement of use of water, submit to the Board for approval in writing, the following: volume required, hydrological overview of the water body, details of impacts, and proposed mitigation measures. | No deliverable | C3 | If the Licensee requires water in sufficient volume that the source water body may be drawn down the Licensee shall, at least thirty (30) days prior to commencement of use of water, submit to the Board for approval in writing, the following: volume required, hydrological overview of the water body, details of impacts, and proposed mitigation measures. | No deliverable |  |  | No deliverable | C3 | If the Licensee requires water in sufficient volume that the source water body may be drawn down the Licensee shall, at least thirty (30) days prior to commencement of use of water, submit to the Board for approval in writing, the following: volume required, hydrological overview of the water body, details of impacts, and proposed mitigation measures. | No deliverable | C3 | If the Licensee requires water in sufficient volume that the source water body may be drawn down the Licensee shall, at least thirty (30) days prior to commencement of use of water, submit to the Board for approval in writing, the following: volume required, hydrological overview of the water body, details of impacts, and proposed mitigation measures. | No deliverable
C4 | The Licensee shall equip all water intake hoses with a screen of an appropriate mesh size to ensure that fish are not entrained and shall withdraw water at a rate such that fish do not become impinged on the screen. | No deliverable | C4 | The Licensee shall equip all water intake hoses with a screen of an appropriate mesh size to ensure that fish are not entrained and shall withdraw water at a rate such that fish do not become impinged on the screen. | No deliverable |  |  | No deliverable | C4 | The Licensee shall equip all water intake hoses with a screen of an appropriate mesh size to ensure that fish are not entrained and shall withdraw water at a rate such that fish do not become impinged on the screen. | No deliverable | C4 | The Licensee shall equip all water intake hoses with a screen of an appropriate mesh size to ensure that fish are not entrained and shall withdraw water at a rate such that fish do not become impinged on the screen. | No deliverable
C5 | The Licensee shall not remove any material from below the ordinary high water mark of any water body unless authorized. | No deliverable | C5 | The Licensee shall not remove any material from below the ordinary high water mark of any water body unless authorized. | No deliverable |  |  | No deliverable | C5 | The Licensee shall not remove any material from below the ordinary high water mark of any water body unless authorized. | No deliverable | C5 | The Licensee shall not remove any material from below the ordinary high water mark of any water body unless authorized. | No deliverable
C6 | The Licensee shall not cause erosion to the banks of any body of water and shall provide necessary controls to prevent such erosion. | No deliverable | C6 | The Licensee shall not cause erosion to the banks of any body of water and shall provide necessary controls to prevent such erosion. | No deliverable |  |  | No deliverable | C6 | The Licensee shall not cause erosion to the banks of any body of water and shall provide necessary controls to prevent such erosion. | No deliverable | C6 | The Licensee shall not cause erosion to the banks of any body of water and shall provide necessary controls to prevent such erosion. | No deliverable
C7 | Sediment and erosion control measures shall be implemented prior to and maintained during the operation to prevent entry of sediment into water. | No deliverable | C7 | Sediment and erosion control measures shall be implemented prior to and maintained during the operation to prevent entry of sediment into water. | No deliverable |  |  | No deliverable | C7 | Sediment and erosion control measures shall be implemented prior to and maintained during the operation to prevent entry of sediment into water. | No deliverable | C7 | Sediment and erosion control measures shall be implemented prior to and maintained during the operation to prevent entry of sediment into water. | No deliverable
Conditions Applying to Waste Disposal
|  |  | D1 | The Licensee shall submit to the Board for approval, within thirty (30) days of Licence issuance, a Sewage Disposal Update include the following information: | An addendum to the "Sewage Disposal Update: Sumps for Sewage Outfalls at CAM-3, FOX-3, DYE-M, and BAF-3" dated 13-Jul-2018 was submitted to the NWB in response to the water licence 8BC-FOD1828, item D2. The licensee intends to apply this addendum to all sites listed in the document title. The NWB accepted this document on 23-Jul-2018. |  |  |  | D1 | The Licensee shall submit to the Board for approval, within thirty (30) days of Licence issuance, a Sewage Disposal Update include the following information: | An addendum to the "Sewage Disposal Update: Sumps for Sewage Outfalls at CAM-3, FOX-3, DYE-M, and BAF-3" dated 13-Jul-2018 was submitted to the NWB in response to the water licence 8BC-FOD1828, item D2. The licensee intends to apply this addendum to all sites listed in the document title. The NWB accepted this document on 23-Jul-2018. | D1 | The Licensee shall submit to the Board for approval, within thirty (30) days of Licence issuance, a Sewage Disposal Update include the following information: | An addendum to the "Sewage Disposal Update: Sumps for Sewage Outfalls at CAM-3, FOX-3, DYE-M, and BAF-3" dated 13-Jul-2018 was submitted to the NWB in response to the water licence 8BC-FOD1828, item D2. The licensee intends to apply this addendum to all sites listed in the document title. The NWB accepted this document on 23-Jul-2018.
|  |  | D1 | a. A plan to manage sludge from the Sewage Disposal Facility; |  |  |  |  | D1 | a. A plan to manage sludge from the Sewage Disposal Facility; |  | D1 | a. A plan to manage sludge from the Sewage Disposal Facility;
|  |  | D1 | b. Dimensions and capacity of the Sump to be located at the Sewage outfall; |  |  |  |  | D1 | b. Dimensions and capacity of the Sump to be located at the Sewage outfall; |  | D1 | b. Dimensions and capacity of the Sump to be located at the Sewage outfall;
|  |  | D1 | c. Location of the Sump on a map in relation to water bodies including ephemeral streams, topography and drainage paths; and |  |  |  |  | D1 | c. Location of the Sump on a map in relation to water bodies including ephemeral streams, topography and drainage paths; and |  | D1 | c. Location of the Sump on a map in relation to water bodies including ephemeral streams, topography and drainage paths; and
|  |  | D1 | d. Photos of the sump and outfall system. |  |  |  |  | D1 | d. Photos of the sump and outfall system. |  | D1 | d. Photos of the sump and outfall system.
D1 | The Licensee shall locate areas designated for waste disposal at a minimum distance of thirty one (31) metres from the ordinary high water mark of any water body such that the quality, quantity or flow of water is not impaired, unless otherwise approved by the Board in writing. | No deliverable | D2 | The Licensee shall locate areas designated for waste disposal at a minimum distance of thirty one (31) metres from the ordinary high water mark of any water body such that the quality, quantity or flow of water is not impaired, unless otherwise approved by the Board in writing. | No deliverable | D1 | The Licensee shall locate areas designated for waste disposal at a minimum distance of thirty one (31) metres from the ordinary high water mark of any water body such that the quality, quantity or flow of water is not impaired, unless otherwise approved by the Board in writing. | No deliverable | D2 | The Licensee shall locate areas designated for waste disposal at a minimum distance of thirty one (31) metres from the ordinary high water mark of any water body such that the quality, quantity or flow of water is not impaired, unless otherwise approved by the Board in writing. | No deliverable | D2 | The Licensee shall locate areas designated for waste disposal at a minimum distance of thirty one (31) metres from the ordinary high water mark of any water body such that the quality, quantity or flow of water is not impaired, unless otherwise approved by the Board in writing. | No deliverable
D2 | The Licensee shall not practice on-site land filling of domestic waste, unless otherwise approved by the Board in writing. | No deliverabe | D3 | The Licensee shall not practice on-site land filling of domestic waste, unless otherwise approved by the Board in writing. | No deliverabe | D2 | The Licensee shall not practice on-site land filling of domestic waste, unless otherwise approved by the Board in writing. | No deliverabe |  |  | No deliverabe | D3 | The Licensee shall not practice on-site land filling of domestic waste, unless otherwise approved by the Board in writing. | No deliverabe
D3 | The Licensee is authorized to dispose of all acceptable food waste, paper waste and untreated wood products in an incinerator. | No deliverabe | D4 | The Licensee is authorized to dispose of all acceptable food waste, paper waste and untreated wood products in an incinerator. | No deliverabe | D3 | The Licensee is authorized to dispose of all acceptable food waste, paper waste and untreated wood products in an incinerator. | No deliverabe | D3 | The Licensee is authorized to dispose of all acceptable food waste, paper waste and untreated wood products in an incinerator. | No deliverabe | D4 | The Licensee is authorized to dispose of all acceptable food waste, paper waste and untreated wood products in an incinerator. | No deliverabe
D4 | The Licensee shall not open burn plastics, wood treated with preservatives, electric wire, Styrofoam, asbestos or painted wood to prevent the deposition of waste materials of incomplete combustion and/or leachate from contaminated ash residue, from impacting any surrounding waters, unless otherwise approved by the Board in writing. | No deliverabe | D5 | The Licensee shall not open burn plastics, wood treated with preservatives, electric wire, Styrofoam, asbestos or painted wood to prevent the deposition of waste materials of incomplete combustion and/or leachate from contaminated ash residue, from impacting any surrounding waters, unless otherwise approved by the Board in writing. | No deliverabe | D4 | The Licensee shall not open burn plastics, wood treated with preservatives, electric wire, Styrofoam, asbestos or painted wood to prevent the deposition of waste materials of incomplete combustion and/or leachate from contaminated ash residue, from impacting any surrounding waters, unless otherwise approved by the Board in writing. | No deliverabe | D4 | The Licensee shall not open burn plastics, wood treated with preservatives, electric wire, Styrofoam, asbestos or painted wood to prevent the deposition of waste materials of incomplete combustion and/or leachate from contaminated ash residue, from impacting any surrounding waters, unless otherwise approved by the Board in writing. | No deliverabe | D5 | The Licensee shall not open burn plastics, wood treated with preservatives, electric wire, Styrofoam, asbestos or painted wood to prevent the deposition of waste materials of incomplete combustion and/or leachate from contaminated ash residue, from impacting any surrounding waters, unless otherwise approved by the Board in writing. | No deliverabe
D5 | The Licensee shall provide to the Board, documented authorization from all communities receiving wastes from the project, prior to any backhauling of wastes to those communities. | This was provided to the NWB in 2010. | D6 | The Licensee shall provide to the Board documented authorization from all communities receiving wastes from Appurtenant Undertaking. | This was provided to the NWB in 2010. | D5 | The Licensee shall provide to the Board, documented authorization from all communities receiving wastes from the project, prior to any backhauling of wastes to those communities. | This was provided to the NWB in 2010. | D5 | The Licensee shall provide to the Board documented authorization from all communities receiving wastes from project. | This was provided to the NWB in 2010. | D6 | The Licensee shall provide to the Board documented authorization from all communities receiving wastes from Appurtenant Undertaking. | This was provided to the NWB in 2010.
D6 | The Licensee shall backhaul and dispose of all hazardous wastes generated through the course of the operation in an licensed and approved waste disposal site in accordance with the Government of Nunavut, Department of Environment's Environmental Guideline for General Management of Hazardous Waste. | Completed. The backhaul of hazardous waste was reported on in the Annual Reports submitted to the NWB. | D7 | The Licensee shall backhaul and dispose of all hazardous wastes, waste oil and noncombustible waste generated through the course of the operation in an approved waste disposal site. Records shall be made available to an Inspector upon request. | Completed. The backhaul of hazardous waste was reported on in the Annual Reports submitted to the NWB. | D6 | The Licensee shall backhaul and dispose of all hazardous wastes generated through the course of the operation in an licensed and approved waste disposal site in accordance with the Government of Nunavut, Department of Environment's Environmental Guideline for General Management of Hazardous Waste. | Completed. The backhaul of hazardous waste was reported on in the Annual Reports submitted to the NWB. | D6 | The Licensee shall backhaul and dispose of all hazardous wastes, waste oil and noncombustible waste generated through the course of the operation in an approved waste disposal site. Records shall be made available to an Inspector upon request. | Completed. The backhaul of hazardous waste was reported on in the Annual Reports submitted to the NWB. | D7 | The Licensee shall backhaul and dispose of all hazardous wastes, waste oil and noncombustible waste generated through the course of the operation in an approved waste disposal site. Records shall be made available to an Inspector upon request. | Completed. The backhaul of hazardous waste was reported on in the Annual Reports submitted to the NWB.
D7 | The Licensee shall maintain records of all waste backhauled and records of confirmation of proper disposal of backhauled waste. These records shall be made available to an Inspector upon request. | Completed. The backhaul of hazardous waste was reported on in the Annual Reports submitted to the NWB. |  |  |  | D7 | The Licensee shall maintain records of all waste backhauled and records of confirmation of proper disposal of backhauled waste. These records shall be made available to an Inspector upon request. | Completed. The backhaul of hazardous waste was reported on in the Annual Reports submitted to the NWB.
|  |  | D8 | The Licensee shall dispose of Greywater through the Sewage Disposal Facility. All Effluent from the Sewage Disposal Facility shall be disposed to a Sump located at a distance of at least thirty one (31) metres above the ordinary high water mark of any water body, at a site where direct flow into a water body is not possible and no additional impacts are created, unless otherwise approved by the Board in writing. | No changes were made to the site that required notificattion to the NWB. |  |  |  | D7 | The Licensee shall dispose of Greywater through the Sewage Disposal Facility. All Effluent from the Sewage Disposal Facility shall be disposed to a Sump located at a distance of at least thirty one (31) metres above the ordinary high water mark of any water body, at a site where direct flow into a water body is not possible and no additional impacts are created, unless otherwise approved by the Board in writing. | No changes were made to the site that required notificattion to the NWB. | D8 | The Licensee shall dispose of Greywater through the Sewage Disposal Facility. All Effluent from the Sewage Disposal Facility shall be disposed to a Sump located at a distance of at least thirty one (31) metres above the ordinary high water mark of any water body, at a site where direct flow into a water body is not possible and no additional impacts are created, unless otherwise approved by the Board in writing. | No changes were made to the site that required notificattion to the NWB.
|  |  | D9 | The Licensee may manage Toilet Wastes through the use of incineration toilets, and dispose of all resulting ash in the Landfill. In the event that the on-site population exceeds the capacity of the incineration toilet, the Licensee shall direct Toilet Wastes to the Sewage Disposal Facility. | No deliverable |  |  |  | D8 | The Licensee may manage Toilet Wastes through the use of incineration toilets, and dispose of all resulting ash in the Landfill. In the event that the on-site population exceeds the capacity of the incineration toilet, the Licensee shall direct Toilet Wastes to the Sewage Disposal Facility. | No deliverable | D9 | The Licensee may manage Toilet Wastes through the use of incineration toilets, and dispose of all resulting ash in the Landfill. In the event that the on-site population exceeds the capacity of the incineration toilet, the Licensee shall direct Toilet Wastes to the Sewage Disposal Facility. | No deliverable
D8 | The Licensee shall direct all Sewage to the Sewage Treatment Facility. | No deliverabe |  |  |  | D8 | The Licensee shall direct all Sewage to the Sewage Treatment Facility. | No deliverabe
D9 | Discharge at monitoring station CDL-2 shall be located at a distance of at least thirty one (31) metres above the ordinary high water mark of any water body, at a site where direct flow into a water body is not possible and no additional impacts are created, unless otherwise approved by the Board in writing. Discharge from CDL-2 shall not exceed the following Effluent quality limits: (see table1) | Completed. The monitoring of CDL-2 was reported on in the Annual Reports submitted to the NWB. |  |  |  | D9 | Discharge at monitoring station FOH-2 shall be located at a distance of at least thirty one (31) metres above the ordinary high water mark of any water body, at a site where direct flow into a water body is not possible and no additional impacts are created, unless otherwise approved by the Board in writing. Discharge from FOH-2 shall not exceed the following Effluent quality limits: (See Table 1) | Completed. The monitoring of FOH-2 was reported on in the Annual Reports submitted to the NWB.
D10 | Discharge at monitoring station CDL-3 shall not exceed the following Effluent quality limits: (See Table 2 | Completed. The monitoring of CDL-3 was reported on in the Annual Reports submitted to the NWB. | D10 | All discharge of Effluent at Monitoring Station SHE-3 (Fuel storage area) shall not exceed the following Effluent quality limits: (See Table 1) | Completed. The monitoring of CDL-3 was reported on in the Annual Reports submitted to the NWB. | D10 | Discharge at monitoring station FOH-3 shall not exceed the following Effluent quality limits: | Completed. The monitoring of FOH-3 was reported on in the Annual Reports submitted to the NWB. | D9 | All discharge of Effluent at Monitoring Station DYE-3 (Fuel storage area) shall not exceed the following Effluent quality limits: (See Table 1) | Completed. The monitoring of CDL-3 was reported on in the Annual Reports submitted to the NWB. | D10 | All discharge of Effluent at Monitoring Station BAF-3 (Landfarm) and BAF-4 (Fuel Storage Facility), shall not exceed the following Effluent quality limits: (See Table 1) | Completed. The monitoring of CDL-3 was reported on in the Annual Reports submitted to the NWB.
D11 | If Effluent does not meet the Effluent quality limits of Part D, Item 9, it shall be considered hazardous waste and disposed off-site to an approved, licensed facility. | No deliverable. | D11 | If Effluent does not meet the Effluent quality limits of Part D, Item 10 above, it shall be considered hazardous waste and disposed off-site at an approved, licensed facility. | No deliverable. | D11 | If Effluent does not meet the Effluent quality limits of Part D, Item 9, it shall be considered hazardous waste and disposed off-site to an approved, licensed facility. | No deliverable. | D10 | If Effluent does not meet the Effluent quality limits of Part D, Item 10 above, it shall be considered hazardous waste and disposed off-site at an approved, licensed facility. | No deliverable. | D11 | If Effluent does not meet the Effluent quality limits of Part D, Item 10 above, it shall be considered hazardous waste and disposed off-site at an approved, licensed facility. | No deliverable.
|  |  | D12 | The Licensee shall, prior to the removal of any treated soil for future use, confirm with the Government of Nunavut, Environmental Protection Service that the soils have been treated so as to meet the legislatively-required treatment objective. | Not applicable. No impacted soil was treated then removed for future use. |  |  |  | D11 | The Licensee shall, prior to the removal of any treated soil for future use, confirm with the Government of Nunavut, Environmental Protection Service that the soils have been treated so as to meet the legislatively-required treatment objective. | Not applicable. No impacted soil was treated then removed for future use. | D12 | The Licensee shall, prior to the removal of any treated soil for future use, confirm with the Government of Nunavut, Environmental Protection Service that the soils have been treated so as to meet the legislatively-required treatment objective. | Not applicable. No impacted soil was treated then removed for future use.
|  |  | D13 | The Licensee shall provide at least ten (10) days notice to the Inspector prior to any planned Discharges from any facilities. The notice shall include an estimated volume proposed for Discharge and the receiving location. | Completed. Inspectors were notified prior to each planned discharge. | D12 | The Licensee shall provide at least ten (10) days notice to the Inspector prior to any planned Discharges from any facilities. The notice shall include an estimated volume proposed for Discharge and the receiving location. |  | D12 | The Licensee shall provide at least ten (10) days notice to the Inspector prior to any planned Discharges from any facilities. The notice shall include an estimated volume proposed for Discharge and the receiving location. | Completed. Inspectors were notified prior to each planned discharge. | D13 | The Licensee shall provide at least ten (10) days notice to the Inspector prior to any planned Discharges from any facilities. The notice shall include an estimated volume proposed for Discharge and the receiving location. | Completed. Inspectors were notified prior to each planned discharge.
|  |  | D14 | The Licensee shall implement measures to prevent leachate or runoff from the Landfill from entering a water body and that no additional impacts are created, unless otherwise approved by the Board in writing. | Not applicable. The landfill at CAM-3 was closed as a part of the DEW Line Clean-Up of the site. |  |  |  | D13 | The Licensee shall implement measures to prevent leachate or runoff from the Landfill from entering a water body and that no additional impacts are created, unless otherwise approved by the Board in writing. | Not applicable. The landfill at DYE-M was closed as a part of the DEW Line Clean-Up of the site. | D14 | The Licensee shall implement measures to ensure leachate from the Landfill does not enter water. | An O&M Plan for the Landfill and Handling of Solid Wastes at BAF-3, dated 28-Jan-2010, was submitted to the NWB. The plan was accepted by the NWB on 28-Feb-2011.
Conditions for Camps, Access Infrastructures, and Operations
|  |  | E1 | The Licensee shall submit to the Board for approval, within sixty (60) days following Licence issuance, an Operation and Maintenance Plan for the Landfill developed in accordance with prepared in accordance with the “Guidelines for Preparing an Operation and Maintenance Manual for Sewage and Solid Waste Disposal Facilities”, October 1996. | Not applicable. The landfill at CAM-3 was closed as a part of the DEW Line Clean-Up of the site. |  |  |  | E1 | The Licensee shall submit to the Board for approval, within sixty (60) days following Licence issuance, an Operation and Maintenance Plan for the Landfill developed in accordance with prepared in accordance with the “Guidelines for Preparing an Operation and Maintenance Manual for Sewage and Solid Waste Disposal Facilities”, October 1996. | Not applicable. The landfill at DYE-M was closed as a part of the DEW Line Clean-Up of the site. | E1 | The Licensee shall submit to the Board for approval, within sixty (60) days following Licence issuance, an Operation and Maintenance Plan for the Landfill developed in accordance with prepared in accordance with the “Guidelines for Preparing an Operation and Maintenance Manual for Sewage and Solid Waste Disposal Facilities”, October 1996. | An O&M Plan for the Landfill and Handling of Solid Wastes at BAF-3, dated 28-Jan-2010, was submitted to the NWB. The plan was accepted by the NWB on 28-Feb-2011.
[12 empty] | E2 | The Licensee shall submit to the Board for approval, within sixty (60) days following Licence issuance, an Operation and Maintenance Plan for the Landfarm. | An O&M Plan for the Landfill and Handling of Solid Wastes at BAF-3, dated 28-Jan-2010, was submitted to the NWB. The plan was accepted by the NWB on 28-Feb-2011.
E1 | The Licensee shall not store material on the surface of frozen streams or lakes except what is for immediate use. | No deliverable. | E2 | The Licensee shall not store material on the surface of frozen streams or lakes, including the immediate banks, except what is for immediate use. | No deliverable. | E1 | The Licensee shall not store material on the surface of frozen streams or lakes except what is for immediate use. | No deliverable. | E2 | The Licensee shall not store material on the surface of frozen streams or lakes, including the immediate banks, except what is for immediate use. | No deliverable. | E3 | The Licensee shall not store material on the surface of frozen streams or lakes, including the immediate banks, except what is for immediate use. | No deliverable.
E2 | All activities shall be conducted in such a way as to minimize impacts on surface drainage and the Licensee shall immediately undertake any corrective measures in the event of any impacts on surface drainage. | No deliverable. | E3 | All activities shall be conducted in such a way as to minimize impacts on surface drainage and the Licensee shall immediately undertake any corrective measures in the event of any impacts on surface drainage. | No deliverable. | E2 | All activities shall be conducted in such a way as to minimize impacts on surface drainage and the Licensee shall immediately undertake any corrective measures in the event of any impacts on surface drainage. | No deliverable. | E3 | All activities shall be conducted in such a way as to minimize impacts on surface drainage and the Licensee shall immediately undertake any corrective measures in the event of any impacts on surface drainage. | No deliverable. | E4 | All activities shall be conducted in such a way as to minimize impacts on surface drainage and the Licensee shall immediately undertake any corrective measures in the event of any impacts on surface drainage. | No deliverable.
E3 | Winter lake and stream crossings, including ice bridges, shall be constructed entirely of water, ice or snow. The Licensee should minimize disturbance by locating ice bridges in an area that requires the minimum approach grading and the shortest crossing route. Stream crossings shall be removed or the ice notched prior to spring break-up. | No deliverable. |  |  |  | E3 | Winter lake and stream crossings, including ice bridges, shall be constructed entirely of water, ice or snow. The Licensee should minimize disturbance by locating ice bridges in an area that requires the minimum approach grading and the shortest crossing route. Stream crossings shall be removed or the ice notched prior to spring break-up. | No deliverable.
E4 | With respect to access road, pad construction or other earthworks, the deposition of debris or sediment into or onto any water body is prohibited. These materials shall be disposed a distance of at least thirty one (31) metres from the ordinary high water mark in such a fashion that they do not enter the water. | No deliverable. | E4 | With respect to access road, pad construction or other earthworks, the deposition of debris or sediment into or onto any water body is prohibited. These materials shall be disposed a distance of at least thirty one (31) metres from the ordinary high water mark in such a fashion that they do not enter the water. | No deliverable. | E4 | With respect to access road, pad construction or other earthworks, the deposition of debris or sediment into or onto any water body is prohibited. These materials shall be disposed a distance of at least thirty one (31) metres from the ordinary high water mark in such a fashion that they do not enter the water. | No deliverable. | E4 | With respect to access road, pad construction or other earthworks, the deposition of debris or sediment into or onto any water body is prohibited. These materials shall be disposed a distance of at least thirty one (31) metres from the ordinary high water mark in such a fashion that they do not enter the water. | No deliverable. | E5 | With respect to access road, pad construction or other earthworks, the deposition of debris or sediment into or onto any water body is prohibited. These materials shall be disposed a distance of at least thirty one (31) metres from the ordinary high water mark in such a fashion that they do not enter the water. | No deliverable.
Conditions Applying to Drilling Operations
[12 empty] | F1 | The Licensee is authorized to drill for the purpose of installing monitoring wells at the Soil Remediation Facility as described in the document entitled “Final Report, Water License Application – Supplementary Information for Hydrocarbon – Impacted Soil Storage and Landfarm Treatment Facilities” dated September 25, 2008.
[12 empty] | F2 | The Licensee shall not conduct any land based drilling within thirty one (31) metres of the ordinary high water mark of any water body, unless otherwise approved by the Board in writing.
[12 empty] | F3 | The Licensee shall ensure that all drill waste, including water, chips, muds and salts (CaCl2) in any quantity or concentration, from land-based drilling, shall be disposed of in a properly constructed sump or an appropriate natural depression located at a distance of at least thirty one (31) metres from the ordinary high water mark of any adjacent water body, where direct flow into a water body is not possible and no additional impacts are created.
Conditions Applying to Modifications and Construction
F1 | The Licensee may, without written consent from the Board, carry out Modifications to the Water Supply Facilities and Sewage Treatment Facility provided that such Modifications are consistent with the terms of this Licence and the following requirements are met: | No changes were made to the site that required notificattion to the NWB. | F1 | The Licensee may, without written consent from the Board, carry out Modifications to the Water Supply Facilities and Sewage Treatment Facility provided that such Modifications are consistent with the terms of this Licence and the following requirements are met: | No changes were made to the site that required notificattion to the NWB. | F1 | The Licensee may, without written consent from the Board, carry out Modifications to the Water Supply Facilities and Sewage Treatment Facility provided that such Modifications are consistent with the terms of this Licence and the following requirements are met: | No changes were made to the site that required notificattion to the NWB. | F1 | The Licensee may, without written consent from the Board, carry out Modifications to the Water Supply Facilities and Sewage Treatment Facility provided that such Modifications are consistent with the terms of this Licence and the following requirements are met: | No changes were made to the site that required notificattion to the NWB. | G1 | The Licensee may, without written consent from the Board, carry out Modifications to the Water Supply Facilities and Sewage Treatment Facility provided that such Modifications are consistent with the terms of this Licence and the following requirements are met: | No changes were made to the site that required notificattion to the NWB.
F1 | a. the Licensee has notified the Board in writing of such proposed Modifications at least sixty (60) days prior to beginning the Modifications; |  | F1 | a. the Licensee has notified the Board in writing of such proposed Modifications at least sixty (60) days prior to beginning the Modifications; |  | F1 | a. the Licensee has notified the Board in writing of such proposed Modifications at least sixty (60) days prior to beginning the Modifications; |  | F1 | a. the Licensee has notified the Board in writing of such proposed Modifications at least sixty (60) days prior to beginning the Modifications; |  | G1 | a. the Licensee has notified the Board in writing of such proposed Modifications at least sixty (60) days prior to beginning the Modifications;
F1 | b. such Modifications do not place the Licensee in contravention of the Licence or the Act; |  | F1 | b. such Modifications do not place the Licensee in contravention of the Licence or the Act; |  | F1 | b. such Modifications do not place the Licensee in contravention of the Licence or the Act; |  | F1 | b. such Modifications do not place the Licensee in contravention of the Licence or the Act; |  | G1 | b. such Modifications do not place the Licensee in contravention of the Licence or the Act;
F1 | c. such Modifications are consistent with the NIRB Screening Decision |  | F1 | c. such Modifications are consistent with the NIRB Screening Decision |  | F1 | c. such Modifications are consistent with the NIRB Screening Decision |  | F1 | c. such Modifications are consistent with the NIRB Screening Decision |  | G1 | c. such Modifications are consistent with the NIRB Screening Decision
F1 | d. the Board has not, during the sixty (60) days following notification of the proposed Modifications, informed the Licensee that review of the proposal will require more than sixty (60) days; and |  | F1 | d. the Board has not, during the sixty (60) days following notification of the proposed Modifications, informed the Licensee that review of the proposal will require more than sixty (60) days; and |  | F1 | d. the Board has not, during the sixty (60) days following notification of the proposed Modifications, informed the Licensee that review of the proposal will require more than sixty (60) days; and |  | F1 | d. the Board has not, during the sixty (60) days following notification of the proposed Modifications, informed the Licensee that review of the proposal will require more than sixty (60) days; and |  | G1 | d. the Board has not, during the sixty (60) days following notification of the proposed Modifications, informed the Licensee that review of the proposal will require more than sixty (60) days; and
F1 | e. the Board has not rejected the proposed Modifications. |  | F1 | e. the Board has not rejected the proposed Modifications. |  | F1 | e. the Board has not rejected the proposed Modifications. |  | F1 | e. the Board has not rejected the proposed Modifications. |  | G1 | e. the Board has not rejected the proposed Modifications.
F2 | Modifications for which all of the conditions referred to in Part F, Item 1 have not been met can be carried out only with written approval from the Board. | No changes were made to the site that required notificattion to the NWB. | F2 | Modifications for which all of the conditions referred to in Part F, Item 1 have not been met can be carried out only with written approval from the Board. | No changes were made to the site that required notificattion to the NWB. | F2 | Modifications for which all of the conditions referred to in Part F, Item 1 have not been met can be carried out only with written approval from the Board. | No changes were made to the site that required notificattion to the NWB. | F2 | Modifications for which all of the conditions referred to in Part F, Item 1 have not been met can be carried out only with written approval from the Board. | No changes were made to the site that required notificattion to the NWB. | G2 | Modifications for which all of the conditions referred to in Part F, Item 1 have not been met can be carried out only with written approval from the Board. | No changes were made to the site that required notificattion to the NWB.
F3 | The Licensee shall provide as-built plans and drawings of the Modifications referred to in this Licence within ninety (90) days of completion of the Modification. These plans and drawings shall be stamped by an Engineer. | No changes were made to the site that required notificattion to the NWB. | F3 | The Licensee shall provide as-built plans and drawings of the Modifications referred to in this Licence within ninety (90) days of completion of the Modification. These plans and drawings shall be stamped by an Engineer. | No changes were made to the site that required notificattion to the NWB. | F3 | The Licensee shall provide as-built plans and drawings of the Modifications referred to in this Licence within ninety (90) days of completion of the Modification. These plans and drawings shall be stamped by an Engineer. | No changes were made to the site that required notificattion to the NWB. | F3 | The Licensee shall provide as-built plans and drawings of the Modifications referred to in this Licence within ninety (90) days of completion of the Modification. These plans and drawings shall be stamped by an Engineer. | No changes were made to the site that required notificattion to the NWB. | G3 | The Licensee shall provide as-built plans and drawings of the Modifications referred to in this Licence within ninety (90) days of completion of the Modification. These plans and drawings shall be stamped by an Engineer. | No changes were made to the site that required notificattion to the NWB.
|  |  | F4 | The Licensee shall within ninety (90) days following issuance of the Licence, provide to the Board as-built plans drawings signed and stamped by an Engineer for the Landfill. | Not applicable. The landfill at CAM-3 was closed as a part of the DEW Line Clean-Up of the site. |  |  |  | F4 | The Licensee shall within ninety (90) days following issuance of the Licence, provide to the Board as-built plans drawings signed and stamped by an Engineer for the Landfill. | Not applicable. The landfill at CAM-3 was closed as a part of the DEW Line Clean-Up of the site. | G4 | The Licensee shall within ninety (90) days following issuance of the Licence, provide to the Board as-built plans drawings signed and stamped by an Engineer for the Landfill. | An O&M Plan for the Landfill and Handling of Solid Wastes at BAF-3, dated 28-Jan-2010, was submitted to the NWB. The plan was accepted by the NWB on 28-Feb-2011.
Conditions Applying to Spill Contingency Planning
G1 | The Licensee shall submit to the Board for approval in writing, within sixty (60) days of Licence issuance, revisions to the Plan entitled “Spill Contingency Plan for CAM-M (Cambridge Bay, Nunavut)” dated November 25, 2008 that was submitted as additional information with the Application, to address the following issues. | Completed. On 20-Jan-2010 the NWB wrote a letted to the licensee stating that six Spill Contingency Plans had been received and that no concerns were expressed with the plans. | G1 | The Licensee shall submit to the Board for approval in writing, within sixty (60) days of issuance of the Licence, a revision to the Plan entitled “Spill Contingency Plan for CAM-3 (Shepherd Bay, Nunavut)” dated November 25, 2008 that was submitted as additional information with the Application, to address the following issues: | Completed. On 20-Jan-2010 the NWB wrote a letted to the licensee stating that six Spill Contingency Plans had been received and that no concerns were expressed with the plans. | G1 | The Licensee shall submit to the Board for approval in writing, within sixty (60) days of Licence issuance, revisions to the Plan entitled “Spill Contingency Plan for FOX-M (Hall Beach, Nunavut)” dated November 25, 2008 that was submitted as additional information with the Application to address the following issues. | Completed. On 20-Jan-2010 the NWB wrote a letted to the licensee stating that six Spill Contingency Plans had been received and that no concerns were expressed with the plans. | G1 | The Licensee shall submit to the Board for approval in writing, within sixty (60) days of issuance of the Licence, a revision to the Plan entitled “Spill Contingency Plan for DYE-M (Cape Dyer, Nunavut)” dated November 25, 2008, that was submitted as additional information with the Application, to address the following: | Completed. On 20-Jan-2010 the NWB wrote a letted to the licensee stating that six Spill Contingency Plans had been received and that no concerns were expressed with the plans. | H1 | The Board requires a revision, within sixty (60) days for Board approval, to the Plan entitled “Spill Contingency Plan for BAF-3 (Brevoort Island, Nunavut)” dated November 25, 2008 that was submitted as additional information with the Application to address the following issues: | Completed. On 20-Jan-2010 the NWB wrote a letted to the licensee stating that six Spill Contingency Plans had been received and that no concerns were expressed with the plans.
G1 | a. Requirement for an executive summary in English and Inuktitut; |  | G1 | a. Requirement for an executive summary in English and Inuktitut; |  | G1 | a. Requirement for an executive summary in English and Inuktitut; |  | G1 | a. Requirement for an executive summary in English and Inuktitut; |  | H1 | a. Requirement for an executive summary in English and Inuktitut;
G1 | b. The Plan shall be in the name of the Licensee; |  | G1 | b. The Plan shall be in the name of the Licensee; |  | G1 | b. The Plan shall be in the name of the Licensee; |  | G1 | b. The Plan shall be in the name of the Licensee; |  | H1 | b. The Plan shall be in the name of the Licensee;
G1 | c. Figure 1 appears to have missing text; |  | G1 | c. Figure 1 appears to have missing text; |  | G1 | c. Figure 1 appears to have missing text; |  | G1 | c. Figure 1 appears to have missing text; |  | H1 | c. Figure 1 appears to have missing text;
G1 | d. Include within the Plan, a topographic site map that identifies hazardous material storage areas, Spill kits and site infrastructure in relation to local waterbodies; |  | G1 | d. Include within the Plan, a topographic site map that identifies hazardous material storage areas, Spill kits and site infrastructure in relation to local waterbodies; |  | G1 | d. Include within the Plan, a topographic site map that identifies hazardous material storage areas, Spill kits and site infrastructure in relation to local waterbodies; |  | G1 | d. Include within the Plan, a topographic site map that identifies hazardous material storage areas, Spill kits and site infrastructure in relation to local waterbodies; |  | H1 | d. Include within the Plan, a topographic site map that identifies hazardous material storage areas, Spill kits and site infrastructure in relation to local waterbodies;
G1 | e. The Plan should refer to where MSDS information is located on site; |  | G1 | e. The Plan should refer to where MSDS information is located on site; |  | G1 | e. The Plan should refer to where MSDS information is located on site; |  | G1 | e. The Plan should refer to where MSDS information is located on site; |  | H1 | e. The Plan should refer to where MSDS information is located on site;
G1 | f. Include a copy of the NT/NU Spill Report form and guide, to be completed and submitted in the event of a spill; |  | G1 | f. Include a copy of the NT/NU Spill Report form and guide, to be completed and submitted in the event of a spill; |  | G1 | f. Include a copy of the NT/NU Spill Report form and guide, to be completed and submitted in the event of a spill; |  | G1 | f. Include a copy of the NT/NU Spill Report form and guide, to be completed and submitted in the event of a spill; |  | H1 | f. Include a copy of the NT/NU Spill Report form and guide, to be completed and submitted in the event of a spill;
G1 | g. INAC has requested to be contacted in the event of a spill. The point of contact is the Manager of Field Operations, 867-975-4295; and |  | G1 | g. INAC has requested to be contacted in the event of a spill. The point of contact is the Manager of Field Operations, 867-975-4295; and |  | G1 | g. INAC has requested to be contacted in the event of a spill. The point of contact is the Manager of Field Operations, 867-975-4295; and |  | G1 | g. INAC has requested to be contacted in the event of a spill. The point of contact is the Manager of Field Operations, 867-975-4295; and |  | H1 | g. INAC has requested to be contacted in the event of a spill. The point of contact is the Manager of Field Operations, 867-975-4295; and
G2 | The Licensee shall review the Plan referred to in this Part as required by changes in operation and/or technology and modify the Plan accordingly. Revisions to the Plan are to be submitted in the form of an Addendum to be included with the Annual Report. | This was noted in the Annual Reports to the NWB | G2 | The Licensee shall review the Plan referred to in this Part as required by changes in operation and/or technology and modify the Plan accordingly. Revisions to the Plan are to be submitted in the form of an Addendum to be included with the Annual Report. | This was noted in the Annual Reports to the NWB | G2 | The Licensee shall review the Plan referred to in this Part as required by changes in operation and/or technology and modify the Plan accordingly. Revisions to the Plan are to be submitted in the form of an Addendum to be included with the Annual Report. | This was noted in the Annual Reports to the NWB | G2 | The Licensee shall review the Plan referred to in this Part as required by changes in operation and/or technology and modify the Plan accordingly. Revisions to the Plan are to be submitted in the form of an Addendum to be included with the Annual Report. | This was noted in the Annual Reports to the NWB | H2 | The Licensee shall review the Plan referred to in this Part as required by changes in operation and/or technology and modify the Plan accordingly. Revisions to the Plan are to be submitted in the form of an Addendum to be included with the Annual Report. | This was noted in the Annual Reports to the NWB
G3 | The Licensee shall prevent any chemicals, petroleum products or wastes associated with the project do not enter water. All sumps and fuel caches shall be located at a distance of at least thirty one (31) metres from the ordinary high water mark of any adjacent water body and inspected on a regular basis. | No deliverable | G3 | The Licensee shall prevent any chemicals, petroleum products or wastes associated with the project do not enter water. All sumps and fuel caches shall be located at a distance of at least thirty one (31) metres from the ordinary high water mark of any adjacent water body and inspected on a regular basis. | No deliverable | G3 | The Licensee shall prevent any chemicals, petroleum products or wastes associated with the project do not enter water. All sumps and fuel caches shall be located at a distance of at least thirty one (31) metres from the ordinary high water mark of any adjacent water body and inspected on a regular basis. | No deliverable | G3 | The Licensee shall prevent any chemicals, petroleum products or wastes associated with the project do not enter water. All sumps and fuel caches shall be located at a distance of at least thirty one (31) metres from the ordinary high water mark of any adjacent water body and inspected on a regular basis. | No deliverable | H3 | The Licensee shall prevent any chemicals, petroleum products or wastes associated with the project do not enter water. All sumps and fuel caches shall be located at a distance of at least thirty one (31) metres from the ordinary high water mark of any adjacent water body and inspected on a regular basis. | No deliverable
G4 | The Licensee shall provide secondary containment for hazardous waste and fuel storage areas. | No deliverable | G4 | The Licensee shall provide secondary containment for hazardous waste and fuel storage areas. | No deliverable | G4 | The Licensee shall provide secondary containment for hazardous waste and fuel storage areas. | No deliverable | G4 | The Licensee shall provide secondary containment for hazardous waste and fuel storage areas. | No deliverable | H4 | The Licensee shall provide secondary containment for hazardous waste and fuel storage areas. | No deliverable
G5 | The Licensee shall ensure that any equipment maintenance and servicing be conducted only in designated areas and shall implement special procedures (such as the use of drip pans) to manage motor fluids and other waste and contain potential spills. | No deliverable | G5 | The Licensee shall ensure that any equipment maintenance and servicing be conducted only in designated areas and shall implement special procedures (such as the use of drip pans) to manage motor fluids and other waste and contain potential spills. | No deliverable | G5 | The Licensee shall ensure that any equipment maintenance and servicing be conducted only in designated areas and shall implement special procedures (such as the use of drip pans) to manage motor fluids and other waste and contain potential spills. | No deliverable | G5 | The Licensee shall ensure that any equipment maintenance and servicing be conducted only in designated areas and shall implement special procedures (such as the use of drip pans) to manage motor fluids and other waste and contain potential spills. | No deliverable | H5 | The Licensee shall ensure that any equipment maintenance and servicing be conducted only in designated areas and shall implement special procedures (such as the use of drip pans) to manage motor fluids and other waste and contain potential spills. | No deliverable
G6 | If during the term of this Licence, an unauthorized discharge of waste occurs, or if such a discharge is foreseeable, the Licensee shall: | This was completed for every reportable spill on-site. | G6 | If during the term of this Licence, an unauthorized discharge of waste occurs, or if such a discharge is foreseeable, the Licensee shall: | This was completed for every reportable spill on-site. | G6 | If during the term of this Licence, an unauthorized discharge of waste occurs, or if such a discharge is foreseeable, the Licensee shall: | This was completed for every reportable spill on-site. | G6 | If during the term of this Licence, an unauthorized discharge of waste occurs, or if such a discharge is foreseeable, the Licensee shall: | This was completed for every reportable spill on-site. | H6 | If during the term of this Licence, an unauthorized discharge of waste occurs, or if such a discharge is foreseeable, the Licensee shall: | This was completed for every reportable spill on-site.
G6 | a. Employ the Spill Contingency Plan; |  | G6 | a. Employ the Spill Contingency Plan; |  | G6 | a. Employ the Spill Contingency Plan; |  | G6 | a. Employ the Spill Contingency Plan; |  | H6 | a. Employ the Spill Contingency Plan;
G6 | b. Report the spill immediately to the 24-Hour Spill Line at (867) 920-8130 and to the Inspector at (867) 975-4295; and |  | G6 | b. Report the spill immediately to the 24-Hour Spill Line at (867) 920-8130 and to the Inspector at (867) 975-4295; and |  | G6 | b. Report the spill immediately to the 24-Hour Spill Line at (867) 920-8130 and to the Inspector at (867) 975-4295; and |  | G6 | b. Report the spill immediately to the 24-Hour Spill Line at (867) 920-8130 and to the Inspector at (867) 975-4295; and |  | H6 | b. Report the spill immediately to the 24-Hour Spill Line at (867) 920-8130 and to the Inspector at (867) 975-4295; and
G6 | c. For each spill occurrence, submit to the Inspector, no later than thirty (30) days after initially reporting the event, a detailed report that will include the amount and type of spilled product, the GPS location of the spill, and the measures taken to contain and clean up the spill site. |  | G6 | c. For each spill occurrence, submit to the Inspector, no later than thirty (30) days after initially reporting the event, a detailed report that will include the amount and type of spilled product, the GPS location of the spill, and the measures taken to contain and clean up the spill site. |  | G6 | c. For each spill occurrence, submit to the Inspector, no later than thirty (30) days after initially reporting the event, a detailed report that will include the amount and type of spilled product, the GPS location of the spill, and the measures taken to contain and clean up the spill site. |  | G6 | c. For each spill occurrence, submit to the Inspector, no later than thirty (30) days after initially reporting the event, a detailed report that will include the amount and type of spilled product, the GPS location of the spill, and the measures taken to contain and clean up the spill site. |  | H6 | c. For each spill occurrence, submit to the Inspector, no later than thirty (30) days after initially reporting the event, a detailed report that will include the amount and type of spilled product, the GPS location of the spill, and the measures taken to contain and clean up the spill site.
Conditions Applying to Abandonment and Restoration or Temporary Closing
H1 | The Licensee shall submit to the Board for approval, six (6) months prior to the abandonment of the CAM-M LRR Station, an Abandonment and Restoration. The Plan shall include the following where appropriate: | Not applicable. The site is not closing. | H1 | The Licensee shall submit to the Board for approval, six (6) months prior to the abandonment of the CAM-3 site, an Abandonment and Restoration The Plan shall include the following where appropriate: | Not applicable. The site is not closing. | H1 | The Licensee shall submit to the Board for approval, six (6) months prior to the abandonment of the FOX-M [LRR Station], an Abandonment and Restoration. The Plan shall include the following where appropriate: | Not applicable. The site is not closing. | H1 | The Licensee shall submit to the Board for approval, six (6) months prior to the abandonment of the DYE-M site, an Abandonment and Restoration The Plan shall include the following where appropriate: | Not applicable. The site is not closing. | I1 | The Licensee shall submit to the Board for approval, six (6) months prior to the abandonment of the BAF-3 site, an Abandonment and Restoration The Plan shall include the following where appropriate: | Not applicable. The site is not closing.
H1 | a. Water intake facilities; |  | H1 | a. Water intake facilities; |  | H1 | a. Water intake facilities; |  | H1 | a. Water intake facilities; |  | I1 | a. Water intake facilities;
H1 | b. Water treatment and waste disposal sites and facilities; |  | H1 | b. Water treatment and waste disposal sites and facilities; |  | H1 | b. Water treatment and waste disposal sites and facilities; |  | H1 | b. Water treatment and waste disposal sites and facilities; |  | I1 | b. Water treatment and waste disposal sites and facilities;
H1 | c. Petroleum and chemical storage areas; |  | H1 | c. Petroleum and chemical storage areas; |  | H1 | c. Petroleum and chemical storage areas; |  | H1 | c. Petroleum and chemical storage areas; |  | I1 | c. Petroleum and chemical storage areas;
H1 | d. Any site affected by waste spills; |  | H1 | d. Any site affected by waste spills; |  | H1 | d. Any site affected by waste spills; |  | H1 | d. Any site affected by waste spills; |  | I1 | d. Any site affected by waste spills;
H1 | e. Leachate prevention; |  | H1 | e. Leachate prevention; |  | H1 | e. Leachate prevention; |  | H1 | e. Leachate prevention; |  | I1 | e. Leachate prevention;
H1 | f. An implementation schedule; |  | H1 | f. An implementation schedule; |  | H1 | f. An implementation schedule; |  | H1 | f. An implementation schedule; |  | I1 | f. An implementation schedule;
H1 | g. Maps delineating all disturbed areas, and site facilities; |  | H1 | g. Maps delineating all disturbed areas, and site facilities; |  | H1 | g. Maps delineating all disturbed areas, and site facilities; |  | H1 | g. Maps delineating all disturbed areas, and site facilities; |  | I1 | g. Maps delineating all disturbed areas, and site facilities;
H1 | h. Consideration of altered drainage patterns; |  | H1 | h. Consideration of altered drainage patterns; |  | H1 | h. Consideration of altered drainage patterns; |  | H1 | h. Consideration of altered drainage patterns; |  | I1 | h. Consideration of altered drainage patterns;
H1 | i. Type and source of cover materials; |  | H1 | i. Type and source of cover materials; |  | H1 | i. Type and source of cover materials; |  | H1 | i. Type and source of cover materials; |  | I1 | i. Type and source of cover materials;
H1 | j. Future area use; |  | H1 | j. Future area use; |  | H1 | j. Future area use; |  | H1 | j. Future area use; |  | I1 | j. Future area use;
H1 | k. Hazardous wastes; and |  | H1 | k. Hazardous wastes; and |  | H1 | k. Hazardous wastes; and |  | H1 | k. Hazardous wastes; and |  | I1 | k. Hazardous wastes; and
H1 | l. A proposal identifying measures by which restoration costs will be financed by the Licensee upon abandonment. |  | H1 | l. A proposal identifying measures by which restoration costs will be financed by the Licensee upon abandonment. |  | H1 | l. A proposal identifying measures by which restoration costs will be financed by the Licensee upon abandonment. |  | H1 | l. A proposal identifying measures by which restoration costs will be financed by the Licensee upon abandonment. |  | I1 | l. A proposal identifying measures by which restoration costs will be financed by the Licensee upon abandonment.
H2 | The Licensee shall revise the Plan referred to in Part H, Item 1 if not approved. The revised Plan shall be submitted to the Board for approval within thirty (30) days of receiving notification of the Board's decision. | Not applicable. The site is not closing. |  |  |  | H2 | The Licensee shall revise the Plan referred to in Part H, Item 1 if not approved. The revised Plan shall be submitted to the Board for approval within thirty (30) days of receiving notification of the Board's decision. | Not applicable. The site is not closing.
H3 | The Licensee shall complete the restoration work within the time schedule specified in the Plan, or as subsequently revised and approved by the Board. | Not applicable. The site is not closing. | H2 | The Licensee shall complete the restoration work within the time schedule specified in the Plan, or as subsequently revised and approved by the Board. | Not applicable. The site is not closing. | H3 | The Licensee shall complete the restoration work within the time schedule specified in the Plan, or as subsequently revised and approved by the Board. | Not applicable. The site is not closing. | H2 | The Licensee shall complete the restoration work within the time schedule specified in the Plan, or as subsequently revised and approved by the Board. | Not applicable. The site is not closing. | H2 | The Licensee shall complete the restoration work within the time schedule specified in the Plan, or as subsequently revised and approved by the Board. | Not applicable. The site is not closing.
[9 empty] | H3 | The Licensee shall provide within the Annual Report under Part B, Item 1(d), plans for the required clean-up work identified by the 2009 Inspector’s report at the Water Lake intake, including an implementation schedule and work undertaken to date. | The work of the clean-up noted in the inspector's 23-Aug-2009 report was completed as a part of the DEW Line Clean-Up. A separate water licence (1BR-DYE1623) was issued for this remediation activity.
H4 | Areas that have been contaminated by hydrocarbons shall be reclaimed to meet objectives as outlined in the Government of Nunavut’s Environmental Guideline for Site Remediation, January 2002. | Not applicable. The site is not closing. | H3 | Areas that have been contaminated by hydrocarbons shall be reclaimed to meet objectives as outlined in the Government of Nunavut’s Environmental Guideline for Site Remediation, January 2002. | Not applicable. The site is not closing. | H4 | Areas that have been contaminated by hydrocarbons shall be reclaimed to meet objectives as outlined in the Government of Nunavut’s Environmental Guideline for Site Remediation, January 2002. | Not applicable. The site is not closing. | H4 | Areas that have been contaminated by hydrocarbons shall be reclaimed to meet objectives as outlined in the Government of Nunavut’s Environmental Guideline for Site Remediation, January 2002. | Not applicable. The site is not closing. | H3 | Areas that have been contaminated by hydrocarbons shall be reclaimed to meet objectives as outlined in the Government of Nunavut’s Environmental Guideline for Site Remediation, January 2002. | Not applicable. The site is not closing.
Conditions Applying to the Monitoring Program
I1 | The Licensee shall maintain Monitoring Stations at the following locations: (See Table 3) | Completed. The results of monitoring was reported on in the Annual Reports submitted to the NWB. | I1 | The Licensee shall maintain Monitoring Stations at the following locations: (See Table 3) | Completed. The results of monitoring was reported on in the Annual Reports submitted to the NWB. | I1 | The Licensee shall maintain Monitoring Stations at the following locations: (See Table 3) | Completed. The results of monitoring was reported on in the Annual Reports submitted to the NWB. | I1 | The Licensee shall maintain Monitoring Stations at the following locations: (See Table 3) | Completed. The results of monitoring was reported on in the Annual Reports submitted to the NWB. | J1 | The Licensee shall maintain Monitoring Stations at the following locations: (See Table 3) | Completed. The results of monitoring was reported on in the Annual Reports submitted to the NWB.
I2 | The Licensee shall measure and record, in cubic metres, the daily quantities of water pumped from Monitoring Station CDL-1 for all purposes. | Completed. The results of monitoring was reported on in the Annual Reports submitted to the NWB. | I2 | The Licensee shall measure and record, in cubic metres, the daily quantities of water pumped from Monitoring Station SHE-1 for all purposes. | Completed. The results of monitoring was reported on in the Annual Reports submitted to the NWB. | I2 | The Licensee shall measure and record, in cubic metres, the daily quantities of water pumped from Monitoring Station FOH-1 for all purposes. | Completed. The results of monitoring was reported on in the Annual Reports submitted to the NWB. | I2 | The Licensee shall measure and record, in cubic metres, the daily quantities of water pumped from Monitoring Station DYE-1(a) and DYE-1(b) for all purposes. | Completed. The results of monitoring was reported on in the Annual Reports submitted to the NWB. | J2 | The Licensee shall measure and record, in cubic metres, the daily quantities of water pumped from Monitoring Station BAF-1 for all purposes. | Completed. The results of monitoring was reported on in the Annual Reports submitted to the NWB.
I3 | The Licensee shall determine the GPS co-ordinates (in degrees, minutes and seconds of latitude and longitude) of all locations where wastes associated with operations and maintenance operations are deposited. | Completed. The results of monitoring was reported on in the Annual Reports submitted to the NWB. |  |  |  | I3 | The Licensee shall determine the GPS co-ordinates (in degrees, minutes and seconds of latitude and longitude) of all locations where wastes associated with operations and maintenance operations are deposited. | Completed. The results of monitoring was reported on in the Annual Reports submitted to the NWB.
I4 | Licensee shall sample at Monitoring Program Station CDL-2, monthly during operation of the Sewage Treatment Facility and Effluent discharge. Samples shall be analyzed for the following parameters: BOD TSS Oil and Grease Faecal Coliforms pH | Completed. The results of monitoring was reported on in the Annual Reports submitted to the NWB. | I3 | The Licensee shall sample at Monitoring Station SHE-2, monthly during periods of flow. Samples shall be analyzed for the following parameters: BOD TSS Oil and Grease Faecal Coliforms pH | Completed. The results of monitoring was reported on in the Annual Reports submitted to the NWB. | I4 | Licensee shall sample at Monitoring Program Station FOH-2, monthly during Sewage treatment, Effluent discharge and during periods of flow. Samples shall be analyzed for the following parameters BOD TSS Oil and Grease Faecal Coliforms pH | Completed. The results of monitoring was reported on in the Annual Reports submitted to the NWB. | I3 | The Licensee shall sample at Monitoring Station DYE-2, monthly during periods of flow. Samples shall be analyzed for the following parameters: BOD TSS Oil and Grease Faecal Coliforms pH | Completed. The results of monitoring was reported on in the Annual Reports submitted to the NWB. | J3 | The Licensee shall sample at Monitoring Station BAF-2, monthly during periods of flow. Samples shall be analyzed for the following parameters: BOD TSS Oil and Grease Faecal Coliforms pH | Completed. The results of monitoring was reported on in the Annual Reports submitted to the NWB.
I5 | The Licensee shall, prior to the release of Effluent from the Bermed Fuel Storage Facilities at CDL-3, for the purpose of demonstrating compliance, sample for the parameters listed under Part D, Item 10. | Completed. The results of monitoring was reported on in the Annual Reports submitted to the NWB. | I4 | The Licensee shall, prior to the release of Effluent from the Bermed Fuel Storage Facilities at Monitoring Program Station SHE-3, sample for the purpose of verifying compliance with Effluent quality limits for the parameters listed under Part D, Item 10. | Completed. The results of monitoring was reported on in the Annual Reports submitted to the NWB. | I5 | The Licensee shall, prior to the release of Effluent from the Bermed Fuel Storage Facilities at FOH-3, for the purpose of demonstrating compliance, sample for the parameters listed under Part D, Item 10. | Completed. The results of monitoring was reported on in the Annual Reports submitted to the NWB. | I4 | The Licensee shall, prior to the release of Effluent from the Bermed Fuel Storage Facilities at Monitoring Program Station DYE-3, sample for the purpose of verifying compliance with Effluent quality limits for the parameters listed under Part D, Item 10. | Completed. The results of monitoring was reported on in the Annual Reports submitted to the NWB. | J4 | The Licensee shall, prior to the release of Effluent from the Landfarm at station BAF-3, and the Bermed Fuel Storage Facilities at BAF-4, sample for the purpose of verifying compliance with Effluent quality limits for the parameters listed under Part D, Item 10. | Completed. The results of monitoring was reported on in the Annual Reports submitted to the NWB.
[12 empty] | J5 | The Licensee shall monitor groundwater using the monitoring wells at the Soil Remediation Facility at BAF-5 for the parameters listed under Part D, Item 10. | Completed. The results of monitoring was reported on in the Annual Reports submitted to the NWB.
|  |  | I5 | The Licensee shall determine the GPS co-ordinates (in degrees, minutes and seconds of latitude and longitude) of all locations where wastes associated with operations and maintenance operations are deposited. | Completed. The results of monitoring was reported on in the Annual Reports submitted to the NWB. |  |  |  | I5 | The Licensee shall determine the GPS co-ordinates (in degrees, minutes and seconds of latitude and longitude) of all locations where wastes associated with operations and maintenance operations are deposited. | Completed. The results of monitoring was reported on in the Annual Reports submitted to the NWB. | J6 | The Licensee shall determine the GPS co-ordinates (in degrees, minutes and seconds of latitude and longitude) of all locations where wastes associated with operations and maintenance operations are deposited | Completed. The results of monitoring was reported on in the Annual Reports submitted to the NWB.
I6 | All sampling, sample preservation and analyses shall be conducted in accordance with methods prescribed in the current edition of Standard Methods for the Examination of Water and Wastewater, or by such other methods approved by the Board in writing. | Completed. The QA/QC Plans were dated 26/27-Jan-2010. | I6 | All sampling, sample preservation and analyses shall be conducted in accordance with methods prescribed in the current edition of Standard Methods for the Examination of Water and Wastewater, or by such other methods approved by the Board in writing. | Completed. The QA/QC Plans were dated 26/27-Jan-2010. | I6 | All sampling, sample preservation and analyses shall be conducted in accordance with methods prescribed in the current edition of Standard Methods for the Examination of Water and Wastewater, or by such other methods approved by the Board in writing. | Completed. The QA/QC Plans were dated 26/27-Jan-2010. | I6 | All sampling, sample preservation and analyses shall be conducted in accordance with methods prescribed in the current edition of Standard Methods for the Examination of Water and Wastewater, or by such other methods approved by the Board in writing. | Completed. The QA/QC Plans were dated 26/27-Jan-2010. | J7 | All sampling, sample preservation and analyses shall be conducted in accordance with methods prescribed in the current edition of Standard Methods for the Examination of Water and Wastewater, or by such other methods approved by the Board in writing. | Completed. The QA/QC Plans were dated 26/27-Jan-2010.
I7 | All analyses shall be performed in a laboratory accredited according to ISO/IEC Standard 17025. The accreditation shall be current and in good standing. | Completed. The results of monitoring was reported on in the Annual Reports submitted to the NWB. | I7 | All analyses shall be performed in a laboratory accredited according to ISO/IEC Standard 17025. The accreditation shall be current and in good standing. | Completed. The results of monitoring was reported on in the Annual Reports submitted to the NWB. | I7 | All analyses shall be performed in a laboratory accredited according to ISO/IEC Standard 17025. The accreditation shall be current and in good standing. | Completed. The results of monitoring was reported on in the Annual Reports submitted to the NWB. | I7 | All analyses shall be performed in a laboratory accredited according to ISO/IEC Standard 17025. The accreditation shall be current and in good standing. | Completed. The results of monitoring was reported on in the Annual Reports submitted to the NWB. | J8 | All analyses shall be performed in a laboratory accredited according to ISO/IEC Standard 17025. The accreditation shall be current and in good standing. | Completed. The results of monitoring was reported on in the Annual Reports submitted to the NWB.
I8 | The Licensee shall within ninety (90) days following issuance of the Licence, submit to the Board a Quality Assurance/Quality Control (QA/QC) Plan. The Plan shall include up to date field sampling methods to all applicable standards, acceptable to an accredited laboratory as required by Part I, Item 6 and Part I, Item 7. The Plan shall include a covering letter from the accredited laboratory confirming acceptance of the Plan for analyses to be performed under this Licence. | Completed. The QA/QC Plans were dated 26/27-Jan-2010. | I8 | The Licensee shall within ninety (90) days following issuance of the Licence, submit to the Board a Quality Assurance/Quality Control (QA/QC) Plan. The Plan shall include up to date field sampling methods to all applicable standards, acceptable to an accredited laboratory as required by Part I, Item 6 and Part I, Item 7. The Plan shall include a covering letter from the accredited laboratory confirming acceptance of the Plan for analyses to be performed under this Licence. | Completed. The QA/QC Plans were dated 26/27-Jan-2010. | I8 | The Licensee shall within ninety (90) days following issuance of the Licence, submit to the Board a Quality Assurance/Quality Control (QA/QC) Plan. The Plan shall include up to date field sampling methods to all applicable standards, acceptable to an accredited laboratory as required by Part I, Item 6 and Part I, Item 7. The Plan shall include a covering letter from the accredited laboratory confirming acceptance of the Plan for analyses to be performed under this Licence. | Completed. The QA/QC Plans were dated 26/27-Jan-2010. | I8 | The Licensee shall within ninety (90) days following issuance of the Licence, submit to the Board a Quality Assurance/Quality Control (QA/QC) Plan. The Plan shall include up to date field sampling methods to all applicable standards, acceptable to an accredited laboratory as required by Part I, Item 6 and Part I, Item 7. The Plan shall include a covering letter from the accredited laboratory confirming acceptance of the Plan for analyses to be performed under this Licence. | Completed. The QA/QC Plans were dated 26/27-Jan-2010. | J9 | The Licensee shall within ninety (90) days following issuance of the Licence, submit to the Board a Quality Assurance/Quality Control (QA/QC) Plan. The Plan shall include up to date field sampling methods to all applicable standards, acceptable to an accredited laboratory as required by Part I, Item 6 and Part I, Item 7. The Plan shall include a covering letter from the accredited laboratory confirming acceptance of the Plan for analyses to be performed under this Licence. | Completed. The QA/QC Plans were dated 26/27-Jan-2010.
I9 | The Licensee shall annually review the QA/QC plan submitted under Part I, Item 8 and modify it as necessary. Revised plans shall be submitted to the NWB with an approval letter from an accredited lab that meets standards set in Part I, Item 6 and Part I, Item 7. | Completed. The QA/QC Plans were dated 26/27-Jan-2010. | I9 | The Licensee shall annually review the QA/QC plan submitted under Part I, Item 8 and modify it as necessary. Revised plans shall be submitted to the NWB with an approval letter from an accredited lab that meets standards set in Part I, Item 6 and Part I, Item 7. | Completed. The QA/QC Plans were dated 26/27-Jan-2010. | I9 | The Licensee shall annually review the QA/QC plan submitted under Part I, Item 8 and modify it as necessary. Revised plans shall be submitted to the NWB with an approval letter from an accredited lab that meets standards set in Part I, Item 6 and Part I, Item 7. | Completed. The QA/QC Plans were dated 26/27-Jan-2010. | I9 | The Licensee shall annually review the QA/QC plan submitted under Part I, Item 8 and modify it as necessary. Revised plans shall be submitted to the NWB with an approval letter from an accredited lab that meets standards set in Part I, Item 6 and Part I, Item 7. | Completed. The QA/QC Plans were dated 26/27-Jan-2010. | J10 | The Licensee shall annually review the QA/QC plan submitted under Part I, Item 8 and modify it as necessary. Revised plans shall be submitted to the NWB with an approval letter from an accredited lab that meets standards set in Part I, Item 6 and Part I, Item 7. | Completed. The QA/QC Plans were dated 26/27-Jan-2010.
I10 | The Licensee shall include in the Annual Report required under Part B, Item 1 all data, monitoring results and information required by this Part. | Completed. The results of monitoring was reported on in the Annual Reports submitted to the NWB. | I10 | The Licensee shall include in the Annual Report required under Part B, Item 1 all data, monitoring results and information required by this Part. | Completed. The results of monitoring was reported on in the Annual Reports submitted to the NWB. | I10 | The Licensee shall include in the Annual Report required under Part B, Item 1 all data, monitoring results and information required by this Part. | Completed. The results of monitoring was reported on in the Annual Reports submitted to the NWB. | I10 | The Licensee shall include in the Annual Report required under Part B, Item 1 all data, monitoring results and information required by this Part. | Completed. The results of monitoring was reported on in the Annual Reports submitted to the NWB. | J11 | The Licensee shall include in the Annual Report required under Part B, Item 1 all data, monitoring results and information required by this Part. | Completed. The results of monitoring was reported on in the Annual Reports submitted to the NWB.

## Table 1
Table 1 - Table for D.9.
Parameter | Maximum Concentration of any Grab Sample
pH | 6.0 to 9.0 (pH units)
Oil and Grease | No visible sheen
Biological Oxygen Demand | 120 mg/L
Total Suspended Solids | 180 mg/L
Faecal Coliforms | 10,000 CFU/100 mL

## Table 2
Table 2 - Table for D.10.
﻿Parameter | Maximum Concentration of any GrabSample (μg/L)
pH | 6 to 9 (units)
Oil and Grease | 5000
Arsenic (total) | 100
Cadmium (dissolved) | 10
Chromium (dissolved) | 100
Cobalt (dissolved) | 50
Copper (dissolved) | 200
Lead (dissolved) | 50
Mercury (total) | 0.6
Nickel (dissolved) | 200
PCB (total) | 1000
Phenols | 20
Zinc (total) | 500
Benzene | 370
Toluene | 2
Ethylbenzene | 90

## Table 3
Table 3 - Table for I1 or J1
Site | Licence Section | Program Station Number | Description | Status
CAM-M | I1 | CDL-1 | Freshwater intake at Water Lake | Active (Volume cubic metres)
CAM-M | I1 | CDL-2 | Final Discharge Point of the Sewage Treatment Facility | Active (Quality)
CAM-M | I1 | CDL-3 | Final Discharge Point of the Bermed Fuel Storage Facility | Active (Quality)
CAM-3 | I1 | SHE-1 | Raw water supply from Water Lake prior to deposit in water tanks | Active (Volume cubic metres)
CAM-3 | I1 | SHE-2 | Final discharge point from the Sewage Disposal Facility | Active (Quality)
CAM-3 | I1 | SHE-3 | Final Discharge Point of the Bermed Fuel Storage Facility | Active (Quality)
FOX-M | I1 | FOH-1 | Freshwater intake from the reservoir. | Active (Volume cubic metres)
FOX-M | I1 | FOH-2 | Final Discharge Point of the Sewage Disposal Facilities. | Active (Quality)
FOX-M | I1 | FOH-3 | Final Discharge Point of the Bermed Fuel Storage Facility. | Active (Quality)
DYE-M | I1 | DYE-1 (a) | Raw water supply from Water Lake, prior to deposit in water tanks | Active (Volume cubic metres)
DYE-M | I1 | DYE-1 (b) | Raw water supply from the meltwater water source, prior to deposit in water tanks | Active (Volume cubic metres)
DYE-M | I1 | DYE-2 | Final Discharge Point of the Sewage Disposal Facilities. | Active (Quality)
DYE-M | I1 | DYE-3 | Final Discharge Point of the Bermed Fuel Storage Facility. | Active (Quality)
BAF-3 | J1 | BAF-1 | Raw water supply prior to deposit in water tanks | Active (Volume cubic metres)
BAF-3 | J1 | BAF-2 | Final discharge point from the Sewage Disposal Facility | Active (Quality)
BAF-3 | J1 | BAF-3 | Final Discharge Point from the Landfarm | Active (Quality)
BAF-3 | J1 | BAF-4 | Final Discharge Point of the Bermed Fuel Storage Facility | Active (Quality)
BAF-3 | J1 | BAF-5 | Groundwater monitoring wells at the Soil Remediation Facility | Active (Quality)

## INAC Inspection Comments
INAC Water Licence Inspections, Comments, and Actions Taken
Inspection Date | Site | Section | Condition | Comment | Action Taken to Address Comment
2009-08-23 | DYE-M | Waste Disposal | Discharge Quality | National Defence does not have a waste water treatment system on site. Waste is pumped from the Tanks in each train (accommodation unit) directly out into the environment. For the previous two inspections the Licensee has been requested to install a treatment facility. This work must be completed before the period of the next inspection. | Two sewage outfall sumps were built at DYE-M in 2010 as per the "Sewage Disposal Update: Sumps for Sewage Outfalls at CAM-3, FOX-3, DYE-M, and BAF-3"
2009-08-23 | DYE-M | Waste Disposal | Discharge Meas. Device | Only one note - See 'Discharge Quality' | Only one note - See 'Discharge Quality'
2009-08-23 | DYE-M | Waste Disposal | Seepages | Only one note - See 'Discharge Quality' | Only one note - See 'Discharge Quality'
2009-08-25 | CAM-M | None | None | Inspection with no unacceptable conditions noted. | N/A
2009-08-26 | CAM-3 | None | None | Inspection with no unacceptable conditions noted. | N/A
2010-08-07 | FOX-M | Water Supply | Flow Meas. Device | In February of 2010 the pipeline from the Municipal reservoir froze and the LSS facility was forced to revert to a trucked water service. There is a plan to replace the line however it is unconfirmed if this will take place before freeze up. Water use records are not metered at this time but based on estimates of truck volumes Water testing within the facility remains unchanged. The Inspector has directed the licensee to add an additional testing regime to the delivery truck on a quarterly basis. If any tests return a positive result for ecoli or fecal coliform bacteria the truck must be removed from service, cleaned and retested prior to being put back into service. The water treatment system at the facility consists of a system of filters and UV light to treat raw water. The system has a back-up for redundancy and to facilitate preventive maintenance. Records for delivery were noted at the Raw Water Tanks. | The water is sampled monthly from the raw water tanks and from where the water is used. Each of these samples is analyzed using the Collilert system for determining the presence of e.coli. After the raw water tanks, the water is filtered through: - a 10 micron filter; - a 5 micron filter; - a 1 micron filter; - a Granulated Activated Carbon filter; and - a UV filter.
2010-08-10 | CAM-M | None | None | Inspection with no unacceptable conditions noted. | N/A
2010-08-11 | CAM-3 | None | None | Inspection with no unacceptable conditions noted. | N/A
2013-07-23 | DYE-M | Water Supply | Chemical Storage | Water is collected via suction truck and hauled to the station where it is pumped into the stations 3 holding tanks. The station had only recently been opened and thus only two loads of water had been hauled to the camp. The chlorination pump was said to be off line and was to be fixed within the next few days. The LSS station was to advise the inspector upon completion of that task. The filters (10, 5 and .1 micron) had recently been changed and all appeared to be in order. The tanks had all recently had testing to ensure their safety and sample kits and results were on hand to review. Water had been used for no other purpose than consumption and personal use since the camp opened. The Licensee is highly encouraged to install signage on Potable water and Waste Water Tanks in the facilities that reflect important dates and information such as inspections and cleaning as well as to aid in tank identification during the inspection process | The water is sampled monthly from the raw water tanks and from where the water is used. Each of these samples is analyzed using the Collilert system for determining the presence of e.coli. After the raw water tanks, the water is filtered through: - a 10 micron filter; - a 5 micron filter; - a 1 micron filter; - a Granulated Activated Carbon filter; and - a UV filter.
2013-07-23 | DYE-M | Fuel Storage | Water within berms | Water was found within the Fuel Storage berms at the time of the Inspection. Sample results had not yet been returned from the lab so the water could not yet be discharged. The camp had only recently been opened and the POL fuel transfer to the upper site recently been completed. It is noted that the sampling of these fuel berms must take place as soon as possible following the onset of freshet to facilitate the removal of water from the berms as the presence of the water reduces the capacity inside the berm below the required 110% of the largest single tank. The use of Drip-trays and other forms of spill prevention at fuel transfer areas was noted during the inspection. Secondary containment is highly encouraged wherever fuel is stored or transferred to prevent accidental releases. This is also a requirement of the water license Part G item 4 and is to be addressed before the period of the next inspection. | RCL has contacted Environment and Climate Change Canada (ECCC) on behalf of the licensee. ECCC has acknowledged that since the water has been tested since 2010, it is reasonable to use test strips and to focus on potential hydrocarbon impact of the water. An updated QA/QC plan will be submitted with the renewal application.
2013-07-27 | FOX-M | Water Supply | Chemical Storage | Water is pumped from a man-made reservoir that is owned and operated by the Hamlet of Hall Beach. Water for use within the facility is transferred by pipeline into holding tanks within the accommodation trains. Prior to use within the facility the water is filtered and undergoes UV treatment. There are two systems (redundant) on site that treat water. Tanks were labeled and had confined entry warnings posted for cleaning. Both tanks had been cleaned within the previous year. | The water is sampled monthly from the raw water tanks and from where the water is used. Each of these samples is analyzed using the Collilert system for determining the presence of e.coli. After the raw water tanks, the water is filtered through: - a 10 micron filter; - a 5 micron filter; - a 1 micron filter; - a Granulated Activated Carbon filter; and - a UV filter.
2013-07-31 | CAM-M | None | None | Inspection with no unacceptable conditions noted. | N/A
2013-08-02 | CAM-3 | None | None | Inspection with no unacceptable conditions noted. | N/A
2016-07-19 | BAF-3 | Waste Disposal | Waste Water | On-going and continued maintenance of the sewage treatment/Lagoon systems are to be maintained. Wash outs and overtopping of these facilities can be avoided through regular inspections. It is recommended that the Licensee and the contactor on site develop some schedule for regular inspections of these facilities. | The erosion that was noted by the water licence inspector in 2016 was repaired in 2017. The Operations and Maintenance Contractor performs preventive maintenance to ensure that there is no erosion on the sewage effluent receiving sump. As part of a long term solution a project is being designed to re-size the sewage sump, this longer term solution will ensure that the sewage sump is large enough to accommodate the sewage that can be discharged from the waste water holding tanks in the building. An addendum to the "Sewage Disposal Update: Sumps for Sewage Outfalls at CAM-3, FOX-3, DYE-M, and BAF-3" dated 13-Jul-2018 was submitted to the NWB in response to the water licence 8BC-FOD1828, item D2. The licensee intends to apply this addendum to all sites listed in the document title. The NWB accepted this document on 23-Jul-2018.
2016-07-19 | BAF-3 | Waste Disposal | Solid Waste | Waste materials that are no longer in use and are left over from previous activities should be consolidated and if no longer required either stored or shipped off site. Materials left open to the elements are subject to deterioration and to be windblown / ejected off site. This can be avoided and is to be addressed prior to the period of the next Inspection. | There is a project being drafted to address the non-hazardous waste materials stored externally at BAF-3.
2016-07-19 | BAF-3 | Water Management Structures | Reclamation Activities | Long write up about the 2015 spill reclamation activities.
2016-07-19 | BAF-3 | Water Management Structures | Signage | Nothing noted in comments
2016-07-19 | BAF-3 | HAZ/MAT Management | Storage | Nothing noted in comments
2016-07-19 | BAF-3 | HAZ/MAT Management | Spills | Without Prejudice. The Nunavut Waters and Nunavut Surface Rights Tribunal Act; 12. (1) Subject to subsection (2) and except in accordance with the conditions of a license, no person shall deposit or permit the deposit of waste (a) in waters in Nunavut; or (b) in any other place in Nunavut under conditions in which the waste, or any other waste that results from the deposit of that waste, may enter waters in Nunavut. (2) Subsection (1) does not apply in respect of (a) any unlicensed deposit of waste that is authorized by the regulations; or (b) the deposit of waste in a national park. Based on observations and photos collected during the period of the Inspection, the Inspector believe s that the Licensee has failed to adhere to section 12 as above and is in contravention of the Act. No further enforcement actions are recommended at this time given the remedial actions undertaken by the licensee. However, on-going compliance and inspection activities will be required to ensure continuing efforts are maintained to achieve and maintain compliance with the Act and the License.
2016-07-19 | BAF-3 | HAZ/MAT Management | Spill Plan | Nothing noted in comments
2017-07-05 | CAM-M | Water Use | Flow Meas. Device | Total consumption of Water Use was hard to determine as not all usage (ie: Domestic, Roads, Fire & Washing of Vehicles) is metered. | Started the engineering design process.
2017-07-05 | CAM-M | Water Use | Water Use | Total consumption of Water Use was hard to determine as not all usage (ie: Domestic, Roads, Fire & Washing of Vehicles) is metered. | Started the engineering design process.
2017-07-05 | CAM-M | Waste Disposal | Waste Water | There were no accurate records of Actual Discharge at the CDL-2 Monitoring Station. | A sign was affixed to the sampling location during the inspection.
2017-07-05 | CAM-M | Water Management Structures | Signage | There was no Signage to indicate where Sample Station CDL-1 (Photo 1) at the Water Lake Intake (N69*06’51.3” W105*07’21.9”) and the CDL-2 (Photo 2) Final Discharge Monitoring Station (N69*07’03.1” W105*07’11.7”) where. | A sign was affixed to the sampling location during the inspection.
2017-07-05 | CAM-M | HAZ/MAT Management | Storage | Fuel Line Valves just outside the Beach Tanks Berm (Photo 3) were not secured. | The valves in question were locked.
2017-07-05 | CAM-M | HAZ/MAT Management | Spill Plan | The above ground Fuel Pipeline directly behind the Hanger (Photos 4 & 5) is a major concern for a possible Fuel Spill entering the Ocean near the West Arm as it is a mere few feet away from the edge of the hill. | Started the engineering design process. Had a teleconference with the inspector about this issue. The inspector stated that he was identifying a risk.
2017-07-05 | CAM-M | Administrative | Records | Total consumption of Water Use was hard to determine as not all usage (ie: Domestic, Roads, Fire & Washing of Vehicles) is metered. There were no accurate records of Actual Discharge at the CDL-2 Monitoring Station. | Started the engineering design process.
2017-07-06 | CAM-3 | Water Management Structures | Signage | There was no Signage to identify and indicate where the Water Source area (Photo 2) was. There was no Signage to Identify and Indicate where the Final Discharge Grey Water Sump (Photos 3 & 4) area was. | A sign was affixed to the sampling location during the inspection.
2017-08-24 | BAF-3 | None | None | Inspection with no unacceptable conditions noted. | N/A
2017-08-24 | DYE-M | None | None | Inspection with no unacceptable conditions noted. | N/A
2017-08-26 | FOX-M | None | None | Inspection with no unacceptable conditions noted. | N/A