## Sheet1
Application type | Mine Feature | Regulatory Body | Item | Comments/Questions | Recommendations | Response | Actions Taken to date
Type B Water License Application | Tibbet to Contwoyto Winter Road | Nunavut Water Board | Water Volumes | Would you be able to provide the amount of water requested for each of the water sources mentioned in the application (Contwoyto Lake and Pellatt Lake)? Can you also confirm if water will be withdrawn from any other water sources? |  | At this stage, I cannot differentiate the exact amount of water withdrawal from the two sources listed. However, we have committed to withdrawing <99m3/day to the Mackenzie Valley Land and Water Board in our Land-use application. This is the daily threshold volume not requiring a water license. For Nunavut, water withdrawal is expected to be similar. Calculations for Nunavut water usage fees were based on 56 project days at 99m3/day, totaling 5,544 m3. Contwoyto Lake and Pellatt Lake are the only water sources in Nunavut.
Type B Water License Application | Tibbet to Contwoyto Winter Road | Nunavut Water Board | Water License | Have you received authorization/water licence from the Mackenzie Valley Land and Water Board? Can you please forward it if you have received it? If not, at what stage is the application currently? |  | Our land-use application is currently with the MVLWB for review, and we expect a response very soon (possibly November 18). A water permit is not required.
Type B Water License Application | Tibbet to Contwoyto Winter Road | Nunavut Water Board | License term | Can you confirm if the term of the licence required is 3 or 5 years? |  | We are requesting a term of 5 years.
Type B Water License Application | Tibbet to Contwoyto Winter Road | Nunavut Water Board | Project Coordinates | The latitude and longitude of the project mentioned in the application seem to be interchanged. Would you please update the application with the correct coordinates? |  | Please see the updated application form with the correct coordinates. | Application form has been updated
Type B Water License Application | Tibbet to Contwoyto Winter Road | Nunavut Water Board | Spill Contingency Management Plan | The Spill Contingency Management Plan references appendices A and B, which are not included in the plan. Would you please include the appendices in the plan? |  | This will be updated with the Nov. 21 response package, incorporating any additional comments received. | Added Appendix A. Emergency Contacts and Appendix B.Reportable Spill Volumes
Type B Water License Application | Tibbet to Contwoyto Winter Road | Nunavut Water Board | Management Plans | Nicole's contact is provided in all the management plans. As she is no longer working on this project, would you please update the contact information? |  | This information was changed and resent to Richard Dwyer via email on October 29, 2024, and I have forwarded it to you as well. In this version, I am the updated contact. | Contact information has been updated
Type B Water License Application | Tibbet to Contwoyto Winter Road | Nunavut Water Board | Waste Management Plan | The summary of the Waste Management Plan seems to be for the Wildlife Management Plan. Would you please update the summary? |  | This will be updated with the Nov. 21 response package, incorporating any additional comments received. Additionally, the Nov. 21 response will include all components of the application separated into individual PDFs. | The matter has been corrected
Type B Water License Application | Tibbet to Contwoyto Winter Road | Nunavut Water Board | Site | Also, we received the coordinates and photos of the tire drag on-site from Nahanni Construction Ltd. which are attached to this email for your information. The coordinates of the location are 65° 12' 1" N 109°43' 23.5" W. The photo shows the location of the tire drag in relation to Portage 64-1. |  | Thank you for this information. As previously committed, the tire drag will be removed when constructing the road.
Type B Water License Application | Tibbet to Contwoyto Winter Road | Environment and Climate Change Canada (ECCC) | 1. Species At Risk Reference: Wildlife Management Plan; Section 4.1.1.2: Species at Risk Occurring Within the Project Are | The Proponent has identified Species at Risk that are likely to be present in the Project area, however are missing the Harris's Sparrow, Red-Necked Phalarope, Rusty Blackbird and the Transverse Lady Beetle. The attached table contains a list of species that are likely to be encountered in the Project area that have been assessed as at risk by COSEWIC or listed on Schedule 1 of SARA. | ECCC recommends NWB ensure the Proponent: Update their list of Species at Risk in the Wildlife Management Plan. Implement mitigation and monitoring measures that are consistent with applicable listed species Recovery Strategies and Action Plans or Management Plans. Where the Proponent may encounter a listed species, the primary mitigation measure should be avoidance. ECCC recommends the Proponent: Submit monitoring reports to the appropriate regulators and organizations with management responsibility for that species. Monitoring should include recording the timing and location of observed listed species, their behavior when encountered, and actions taken by the Proponent to avoid disturbance to the species, its habitat, and/or its residence. | The intended use of this water license application is for the winter months when conditions are amenable for winter road construction. Mandalay does not anticipate interacting with any of these species provided by ECCC during the time frame in which the winter road would be constructed and operated construction and operation phases. This expectation has been confirmed by a Wildlife Biologist in BC who is familiar with the species listed and their winter habitat range. | Confirmed with Wildlife Biologist no interactino with listed Species
Type B Water License Application | Tibbet to Contwoyto Winter Road | Crown-Indigenous Relations and Northern Affairs Canada (CIRNAC) | 1. Water withdrawal | The NWB general water licence application states (p.3): “…the Applicant may withdraw up to a maximum of 299 m3/day of water for construction and maintenance of a winter road, and seasonal operation, including on-ice portions and portages.” It further states (p.4): Describe the quality of the water source(s) and the available capacity: …Source lakes are very large; withdrawal volumes will be <10% of the available water in each lake. Water used for ice road construction on lakes will remain on the lakes as ice cover. In addition to daily water use limit of 299 m3/day, an estimated total water withdrawal forecast from each source for construction and operation would be useful to present for the record. It may be based on the previous practice and could illustrate the <10% statement. | R-01: CIRNAC recommends that the Applicant provides an estimated total water withdrawal forecast from each source for construction and operation. | Calculations for Nunavut water usage fees were based on 56 project days at 99m3/day, totaling 5,544 m3. Contwoyto Lake and Pellatt Lake are the only water sources in Nunavut and are expected to be evenly distributed between the 2 sources. this value will be confirmed during Construction and Operations Program.
Type B Water License Application | Tibbet to Contwoyto Winter Road | Crown-Indigenous Relations and Northern Affairs Canada (CIRNAC) | 2. Spill contingency | The spill contingency management plan is general and lacks specific details. In particular; the plan suggests combusting in situ spill to snow, if approved (see Section 4.1, p.9). Burning spilled hydrocarbons in situ is used for large spills and it should be performed by specialists in spill response. It is not clear if the plan provides for assistance of spill response team (external or internal) or the truck drivers have to do all response, including burning spilled hydrocarbons in situ. Section 4.3, p.10 of the plan describes spill kits, but it is not clear what kind of spill kit will be kept in the truck and what training the truck drivers will have regarding spill management. | R-02: CIRNAC recommends that the Applicant provide the board with specific and detailed spill contingency plan. In particular, the plan has to present specific information about roles and responsibilities, spill kit details, spill in situ combustion. | Mandalay will, within 30 days of construction, update the Spill Contingecy and Management Plan to include these specific details, focussed on Roles and Responsibilities, Requsite Qualitifications, Spill kit contents and spill response procedures for each type and volume of spill that could occur as part of these proposed works.