	P.O. Box 119
	kNK5 wmoEp5 vtmpq

	Gjoa Haven, NU    X0B 1J0
	NUNAVUT WATER BOARD

	Tel: (867) 360-6338
	NUNAVUT IMALIRIYIN KATIMAYINGI

	Fax: (867) 360-6369
	OFFICE DES EAUX DU NUNAVUT 


[image: image1.jpg]




DECISION
LICENCE NUMBER:  8BW-NAC0606
This is the decision of the Nunavut Water Board (NWB) with respect to an application for a new Water Licence dated June 28, 2006 made by:


DEPARTMENT OF EDUCATION


GOVERNMENT OF NUNAVUT
to allow for the diversion of a drainage ditch at the Nunavut Arctic College, located in Iqaluit, within the Qikiqtani Region, Nunavut.

DECISION 

After having been satisfied that the application was in conformity with the applicable Land Use Plan and exempt from the requirement for screening by the Nunavut Impact Review Board in accordance with Schedule 12.1, Paragraph 5 of the Nunavut Land Claim Agreement (NLCA), the NWB decided that the application could proceed through the regulatory process. In accordance with S.55.1 of the Nunavut Waters and Nunavut Surface Rights Tribunal Act (NWNSRTA) and Article 13 of the NLCA, public notice of the application was given and interested persons were invited to make representations to the NWB.

After reviewing the submission of the Applicant and considering the representations made by interested persons, the NWB, having given due regard to the facts and circumstances, the merits of the submissions made to it and to the purpose, scope and intent of the NLCA and of the NWNSRTA, waived the requirement to hold a public hearing and furthermore delegated its authority to approve the application to the Chief Administrative Officer pursuant to S. 13.7.5 of the NLCA and S. 49(a) of the NWNSRTA, and determined that:
Licence Number 8BW-NAC0606 be issued subject to the terms and conditions contained therein. (Motion #: 2006-46)
SIGNED this  21st  day of September 2006 at Gjoa Haven, NU.

Original Signed By :
_______________________________                                                                          
Philippe di Pizzo

Chief Administrative Officer

PDP\dh\jm

LICENCE 8BW-NAC0606
Pursuant to the Nunavut Waters and Nunavut Surface Rights Tribunal Act and the Agreement Between the Inuit of the Nunavut Settlement Area and Her Majesty the Queen in Right of Canada, the Nunavut Water Board, hereinafter referred to as the Board, hereby grants to 

DEPARTMENT OF EDUCATION

GOVERNMENT OF NUNAVUT
(Licensee)
of

GOVERNMENT OF NUNAVUT  
P.O. BOX 1000, STATION 910, IQALUIT, NU     X0A 0H0


(Mailing Address)

hereinafter called the Licensee, the right to alter, divert or otherwise use water for a period subject to restrictions and conditions contained within this Licence:

8BW-NAC0606
Licence Number

NUNAVUT 05
Water Management Area




NUNAVUT ARCTIC COLLEGE, IQALUIT, QIKIQTANI REGION, NUNAVUT
Location 


WATER TRAINING (DIVERSION)
Purpose 


MISCELLANEOUS – TYPE “B” 
Classification of Undertaking


NOT APPLICABLE
Quantity of Water Not to Exceed   


SEPTEMBER 21, 2006
Date of Licence
   

NOVEMBER 1, 2006
Expiry Date of Licence   


Dated this  21st  day of  September 2006 at Gjoa Haven, NU.
Original Signed By:

Philippe di Pizzo, Chief Administrative Officer

PART A: SCOPE, DEFINITIONS AND ENFORCEMENT
1.
Scope
This Licence allows for an undertaking classified as Miscellaneous as per Schedule II of the Regulations, to construct (relocate) a ditch to redirect snow melt and surface runoff around the proposed site of construction for three (3) new student residences and a daycare at the Nunavut Arctic College in Iqaluit, located on the northwest corner Saputi Drive and Qulliq Court as shown in the Site Plan and as identified in the report accompanying the Application.
i. This Licence is issued subject to the conditions contained herein with respect to the taking of water and the depositing of waste of any type in any waters or in any place under any conditions where such waste or any other waste that results from the deposits of such waste may enter any waters.  Whenever new Regulations are made or existing Regulations are amended by the Governor in Council under the Nunavut Waters and Nunavut Surface Rights Tribunal Act, or other statutes imposing more stringent conditions relating to the quantity or type of waste that may be so deposited or under which any such waste may be so deposited, this Licence shall be deemed, upon promulgation of such Regulations, to be subject to such requirements; and;

ii. Compliance with the terms and conditions of this Licence does not absolve the Licensee from responsibility for compliance with the requirements of all applicable Federal, Territorial and Municipal legislation.
 2.
Definitions


“Act” means the Nunavut Waters and Nunavut Surface Rights Tribunal Act;

“Amendment” means a change to original terms and conditions of this Licence requiring correction, addition or deletion of specific terms and conditions of the Licence; modifications inconsistent with the terms of the set terms and conditions of the Licence;

‘‘Appurtenant Undertaking’’ means an undertaking in relation to which a use of water or a deposit of waste is permitted by a licence issued by the Board;

“Board” means the Nunavut Water Board established under the Nunavut Land Claims Agreement and the Nunavut Waters and Nunavut Surface Rights Tribunal Act;
“Engineer” means a professional engineer registered to practice in Nunavut in accordance with the Engineering, Geological and Geophysical Act (Nunavut) S.N.W.T. 1998, c.38, s.5;

“Inspector” means an Inspector designated by the Minister under Section 85 (1) of the Act;

“Licensee” means the holder of this Licence;

“Modification” means an alteration to a physical work that introduces a new structure or eliminates an existing structure and does not alter the purpose or function of the work, but does not include an expansion;

“Nunavut Land Claims Agreement” (NLCA) means the “Agreement Between the Inuit of the Nunavut Settlement Area and Her Majesty the Queen in right of Canada”, including its preamble and schedules, and any amendments to that agreement made pursuant to it;

“Regulations” means the Northwest Territories Water Regulations sor/93-303 8th June, 1993;

 “Spill Contingency Plan” means a Plan developed to deal with unforeseen petroleum and chemical events that may occur during the operations conducted under the Licence;
“Sump” means an excavation in impermeable soil for the purpose of catching or storing water or waste;

 “Waste” means, as defined in S.4 of the Act, any substance that, by itself or in combination with other substances found in water, would have the effect of altering the quality of any water to which the substance is added to an extent that is detrimental to its use by people or by any animal, fish or plant, or any water that would have that effect because of the quantity or concentration of the substances contained in it or because it has been treated or changed, by heat or other means.

3.
Enforcement

i. Failure to comply with this Licence will be a violation of the Act, subjecting the Licensee to the enforcement measures and the penalties provided for in the Act;
ii. All inspection and enforcement services regarding this Licence will be provided by Inspectors appointed under the Act; and
iii. For the purpose of enforcing this Licence and with respect to the use of water and deposit or discharge of waste by the licensee, Inspectors appointed under the Act, hold all powers, privileges and protections that are conferred upon them by the Act or by other applicable law.
PART B: GENERAL CONDITIONS

1. The water use fees, in accordance with Section 9 of the Regulations are not applicable.
2. Licensee shall file a Project Report on the appurtenant undertaking with the Board, to be received no later than the anniversary date of the issuance of this Licence which shall contain the following information:

i. A summary report of construction activities, including photographic records before, during and after construction; 

ii. A list of unauthorized discharges and a summary of follow-up actions taken;

iii. A description of all progressive and or final reclamation work undertaken, including photographic records of site conditions before, during and after completion of operations;

iv. Results of the Monitoring Program; and

v. Any other details on water use or waste disposal requested by the Board by November 1 of the year being reported.

3. The Licensee shall notify the NWB of any changes in operating plans or conditions associated with this project at least thirty (30) days prior to any such change.

4. If the Licensee contemplates the renewal of this Licence, it is the responsibility of the Licensee to apply to the NWB for its renewal. The past performance of the Licensee, new documentation and information, and issues raised during a public hearing, if the NWB is required to hold one, will be used to determine the terms and conditions of the Licence renewal.  Note that if the Licence expires before the NWB issues a new one, then water use and waste disposal must cease, or the Licensee will be in contravention of the Nunavut Land Claims Agreement.  The NWB recommends that an application for the renewal of this Licence be filed at least three months before the Licence expiry date.

5. If this Licence requires an amendment, a public hearing may be required. The Licensee should submit applications for amendment as soon as possible to give the NWB sufficient time to go through the amendment process. The process may vary depending on the scope of the amendment requested.

6. The Licensee shall ensure a copy of this Licence is maintained at the site of operations at all times.  Any communication with respect to this Licence shall be made in writing to the attention of:

(i) Manager of Licensing:

Nunavut Water Board

P.O. Box 119

Gjoa Haven, NU     X0B 1J0

Telephone:  
(867) 360-6338

Fax:  

(867) 360-6369

(ii) Inspector Contact:

Water Resources Officer, INAC

Nunavut District, Nunavut Region

P.O. Box 100

Iqaluit, NU     X0A 0H0

Telephone: 
(867) 975-4295
Fax:  

(867) 979-6445

7. The Licensee shall submit one paper copy and one electronic copy of all reports, studies, and plans to the Board. Reports or studies submitted to the Board by the Licensee shall include a detailed executive summary in Inuktitut.

8. It is the responsibility of the Licensee to ensure that any documents or correspondence submitted by the Licensee to the Board have been acknowledged by the Manager of Licensing.

9. This Licence is not assignable except as provided in Section 44 of the Act.

10. The expiry or cancellation of this Licence does not relieve the holder from any obligations imposed by the Licence as per Section 46 of the Act.

PART C: CONDITIONS APPLYING TO THE PROTECTION OF WATER  

1. The Licensee shall ensure that any chemicals, fuel or wastes associated with the undertaking do not enter any water body.
2. The Licensee shall not do anything that will cause erosion to the banks of any body of water and shall provide necessary controls to prevent such erosion.
3. Sediment and erosion control measures shall be implemented prior to and maintained during the operation to prevent entry of sediment into water.
4. The Licensee shall undertake appropriate corrective measures to mitigate impacts on surface drainage resulting from the Licensee’s operations.
5. The Licensee shall limit any in-stream activity to low water period. In-stream activity is prohibited during fish migration.

6. Machinery is not permitted to travel up the stream bed and fording of any water body is to be kept to a minimum and limited to one area and a one-time event.  Equipment used should be well cleaned and free of oil and grease and maintained free of fluid leaks.

7. The Licensee shall ensure that pollutants from machinery fording the crossings do not enter water.

8. The Licensee shall ensure that all fill material used is from an approved source and shall be free of contaminants.

9. To minimize impacts on surface drainage, the Licensee shall prepare all sites in such manner as to prevent rutting of the ground surface.

10. Equipment storage holding areas should be located on gravel, sand or other durable land, a distance of at least thirty (30) metres above the ordinary high water mark of any water body in order to minimize impacts on surface drainage and water quality.
11. The Licensee shall designate an area for the deposition of excavated and stockpiled materials that is at least thirty (30) metres above the ordinary high water mark of any water body and will not result in the mobilization of sediments into surrounding waterbodies.

12. The Licensee shall not utilize any equipment or vehicles in the course of this undertaking unless the ground surface is in a state capable of fully supporting the equipment or vehicles without rutting or gouging. Overland travel of equipment or vehicles shall cease if rutting occurs.

PART D: CONDITIONS APPLYING TO WASTE DISPOSAL

1. No waste disposal activities are authorized under this Licence.
2. The Licensee shall remove all construction debris from the site and properly dispose of at an approved facility.

PART E: CONDITIONS APPLYING TO CONSTRUCTION
1. All activities shall be conducted in such a way as to minimize impacts on surface drainage and the Licensee shall immediately undertake any corrective measures in the event of any impacts on surface drainage.

2. With respect the proposed construction, the deposition of debris or sediment into any water body is prohibited.  These materials shall be disposed a distance of at least thirty (30) metres from the ordinary high water mark of any water body in such a fashion that they cannot enter any water body.
PART F: CONDITIONS APPLYING TO DRILLING OPERATIONS

1. No drilling activities are authorized under this Licence.
PART G: CONDITIONS APPLYING TO SPILL CONTINGENCY PLANNING

1. The Licensee shall ensure that any chemicals, petroleum products or wastes associated with the project do not enter water.
2. The Licensee shall have a spill kit with a minimum capacity of approximately 205 litres available at the construction site and for use in the event that fuel lines and/or hydraulic hoses rupture on equipment being used near the water.

3. The Licensee shall ensure that any emergency maintenance and servicing on equipment be conducted only in designated areas and shall implement special procedures (such as the use of drip pans and absorbents) to manage motor fluids and other waste and contain potential spills.

4. If during the term of this Licence, an unauthorized discharge of waste occurs, or if such a discharge is foreseeable, the Licensee shall:

i. Report the spill or potential spill immediately to the 24-Hour Spill Line at (867) 920-8130 and to the Inspector at (867) 975-4295 (a spill report form is available for use in reporting from the NWB ftp site at: 
ftp://ftp.nunavut.ca/nwb/NWB%20Administration/NWB%20GENERAL%20INFORMATION/Standardized%20Forms/ ) 
ii. For each spill occurrence, submit to the Inspector, no later than thirty (30) days after initially reporting the event, a detailed report that will include the amount and type of spilled product, the GPS location of the spill, and the measures taken to contain and clean up the spill site.

PART H: CONDITIONS APPLYING TO ABANDONMENT AND RESTORATION

1. The Licensee shall complete all restoration work prior to the expiry of this Licence.

2. The Licensee shall carry out progressive reclamation of any components of the project no longer required for the Licensee’s operations.

3. The Licensee shall remove from the site, any materials and equipment before the expiry of this License.
4. In order to promote natural growth of vegetation and the needed microclimate for seed deposition, all disturbed surfaces not to be utilized for further construction shall be prepared by ripping, grading, or scarifying the surface to conform to the natural topography. 

5. Areas that have been contaminated by hydrocarbons from normal operating procedures shall be reclaimed to the satisfaction of an Inspector. The use of reclaimed soils for the purpose of back fill or general site grading may be carried out only upon approval by an Inspector.
6. All disturbed areas shall be contoured and stabilized upon completion of work and restored to a pre-disturbed state.

PART I: CONDITIONS APPLYING TO THE MONITORING PROGRAM

1. The Licensee shall monitor all activities for signs of erosion and shall implement and maintain sediment and erosion control measures before, during and after construction and as described in the Report entitled “Nunavut Arctic College Student Accommodations Drainage Course Report, Trow Consulting, June 27, 2006” where required.

2. The Licensee shall obtain a digital photographic record of the site conditions before, during and after construction has been completed.
3. An Inspector may impose additional monitoring requirements.

4. All sampling, sample preservation and analyses shall be conducted in accordance with methods prescribed in the current edition of Standard Methods for the Examination of Water and Wastewater, or by such other methods approved by the Board.

5. All analyses shall be performed in a laboratory accredited according to ISO/IEC Standard 17025. The accreditation shall be current and in good standing.

6. The Licensee shall include in the Project Report required under Part B, Item 2 all data and information required by this Part.

i
ii

