SHEDULE 1
CONDITIONS FOR USE OF WATER OR DEPOSIT OF WASTE WITHOUT A LICENCE

[image: image1]
File No.:
8WLC-FCA1718
March 23, 2017
	Richard Troy McMullin, Ph.D.
Research Scientist

Canadian Museum of Nature
P.O. Box 3443 Stn. D

Ottawa, Ontario, Canada K1P 6P4



	Email:  tmcmullin@mus-nature.ca



Subject:
8WLC-FCA1718 – Without a Licence for the Use of Waters and Deposit of Waste for Lichens of the High Arctic; Flora of the Canadian Arctic Project
Dear Dr. R. Troy McMullin:
Please find attached Approval Without-A-Licence No. 8WLC-FCA1718 issued to the Canadian Museum of Nature by the Nunavut Water Board (NWB or Board) pursuant to its authority under Article 13 of the Agreement between the Inuit of the Nunavut Settlement Area and Her Majesty the Queen in Right of Canada (the Nunavut Agreement).  The Approval has been authorized for a period of one (1) year after the day on which the Board approves the Application and includes conditions related to the use of Waters and the Deposit of Waste, which are an integral part of this Approval required for this type of authorization under the Nunavut Waters Regulations (NWR).
This approval and the conditions contained therein permit the carrying out of activities involving the use of Waters and Deposit of Waste with respect to the Application for approval without a licence.  Any variation from these activities may result in a violation of this Approval and contravention of the Nunavut Agreement, the Nunavut Waters and Nunavut Surface Rights Tribunal Act (NWNSRTA) or the NWR.  The NWB reminds the Applicant of its obligations with respect to reclamation and reporting, which will arise as this Approval approaches its expiry.

If the activities authorized under the Approval are expected to continue longer than the term authorized, it is recommended that the Authorized Entity, upon receipt of confirmation
 from the Nunavut Planning Commission (NPC) and/or the Nunavut Impact Review Board (NIRB) that relevant requirements have been satisfied, apply for a new Approval at least thirty (30) days prior to the expiry of the current authorization.  Note that if the existing approval expires before the NWB issues a new Approval, the use of Waters and/or the deposit of Waste must cease as required by the Nunavut Agreement and the NWNSRTA. 
If the Authorized Entity contemplates changes to its undertaking involving a change in scope or increased activity, a water licence may be required.  It is the Authorized Entity’s responsibility to apply to the NWB for a water licence in accordance with the timelines set out for licences. 
This Approval has been posted to the NWB’s Public Registry and FTP site and is accessible from the following link: 
ftp://ftp.nwb-oen.ca/registry/8%20MISCELLANEOUS/8WL/8WLC%20-%20Camp/8WLC-FCA1718%20McMullin/
Sincerely, 

Thomas Kabloona
Nunavut Water Board, Chair

TK/sj/ip
Enclosure:
Approval Number:  8WLC-FCA1718 
Cc.
Qikiqtani Region
APPROVAL DECISION
APPROVAL NUMBER:  8WLC-FCA1718 

This is the decision of the Nunavut Water Board (NWB) with respect to an application for Approval for the use of Waters and the deposit of Waste without a licence, dated February 27, 2017, made by the: 

CANADIAN MUSEUM OF NATURE
to authorize the use of Waters and the deposit of Waste in support of scientific research at the Lichens of the High Arctic; Flora of the Canadian Arctic Project, conducted at various locations in the Qikiqtani Region, Nunavut, Nunavut, within the Sverdrup Island (58); Nansen and Eureka Sounds (59) and Northern Ellesmere Island (62) Watershed Management Areas.  The project is located within the following general geographical coordinates: 

Latitude:  82o 11’ N 


Longitude:  78o 23’ W 
Latitude:  82o 11 N


Longitude:  67o 10’ W

Latitude:  74o 33’ N


Longitude:  67o 10’ W

Latitude:  74o 33’ N


Longitude:  78o 23’W

Latitude:  79o 24’ 53.41” N

Longitude:  90o 44’ 52.19” W (McGill Res. Station)

Latitude:  81o 49’ 20.07” N

Longitude:  71o 24’ 20.23” W (Lake Hazen Camp)

DECISION 
After receiving confirmation from the Nunavut Planning Commission (NPC)
 that the Application is for a project proposal that conforms the North Baffin Regional Land Use Plan and exempt from screening as it belongs to the class of works or activities set out in schedule 12.1 of the Agreement between the Inuit of the Nunavut Settlement Area and her Majesty the Queen in Right of Canada (the Nunavut Agreement), the Board is satisfied that the requirements of Articles 11 and 12 of the Nunavut Agreement and sections 3, 4, and 5 of the Nunavut Waters Regulations (NWR or Regulations) have been adequately addressed.  Further, through the provision of a signed Application for an Approval Without a Licence and the Applicant’s agreement to adhere to sections 4(3), 5(4), and 6(1) of the Regulations and comply with associated requirements, the NWB determined that:

Approval No. 8WLC-FCA1718 be issued, subject to the conditions of Schedule 1 contained therein (Motion # 2016-WL-031). 
SIGNED this 23rd, day of March, 2017 at Gjoa Haven, NU.
Thomas Kabloona
Nunavut Water Board, Chair

TK/sj/ip

APPROVAL NO.  8WLC-FCA1718
Pursuant to the Nunavut Waters Regulations, Nunavut Waters and Nunavut Surface Rights Tribunal Act and the Agreement Between the Inuit of the Nunavut Settlement Area and Her Majesty the Queen in Right of Canada, the Nunavut Water Board hereinafter referred to as the Board, hereby grants to the
CANADIAN MUSEUM OF NATURE
OF

P.O. BOX 3443, STN. D, OTTAWA, ONTARIO, K1Y 1X7 CANADA
Hereinafter called the Authorized Entity, the right to use Waters and Deposit waste for a period of one (1) year after the day on which the Board approved the Application, subject to the conditions contained in Schedule 1 attached to this Approval: 

Project Name:
LICHENS OF THE HIGH ARCTIC; FLORA OF THE CANADIAN ARCTIC 
Location:
QIKIQTANI REGION, NUNAVUT
Water Management Area:
SVERDRUP ISLANDS (58), NANSEN AND EUREKA SOUNDS (59), AND NORTHEASTERN ELLESMERE ISLAND (62) 
Classification of 

Undertaking:
OTHER OF UNDERTAKING 
Purpose:
DAILY USE OF WATERS AND DEPOSIT OF WASTE

Approval Criteria:
USE OF ONE (1) CUBIC METRE OF WATER PER DAY 

Effect Date:
MARCH 23, 2017 
Expiry of Approval:
MARCH 22, 2018 
Dated this      23rd,     day of March, 2017, at Gjoa Haven, NU 
_______________________________

Thomas Kabloona
Nunavut Water Board, Chair
General

1. In the case of an Authorized Entity who has a mineral right and who intends to use Waters or deposit Waste in relation to that right, the Authorized Entity shall respect the priority conferred on Inuit by section 62 of the Act as if that applicant had a licence for the use or deposit.

Use of Waters
2. The Authorized Entity shall take measures prior to the use of Waters to minimize any alteration to the bed or banks of a watercourse whose waters are to be used, and the measures shall be maintained during the operation of the undertaking.

Deposit of Waste
3. The Authorized Entity shall not deposit Waste to surface water or within thirty-one (31) metres of the ordinary high water mark of any body of water.

4. The waste must not contain more than 15 milligrams per litre of petroleum or petroleum product and must not have a visible hydrocarbon sheen.

Spill Contingency 

5. means measures developed to manage unforeseen spill involving petroleum and hazardous materials that may occur while carrying out the undertaking associated with this authorization involving the use waters and/or the deposit of waste without a licence.
Abandonment and Restoration

6. Prior to the closure or abandonment of the undertaking or end of the period authorized for the use of Waters or deposit of waste without a licence, whichever occurs first, the site shall be restored — to the extent practicable — to the state in which it was before the use of Waters or the deposit of Waste.a
Record Keeping

7. The Authorized Entity shall:

a. maintain accurate and detailed books and records of:

i. the quantity of water, in cubic metres, used each day,

ii. the quantity, in cubic metres, of waste deposited each day,
iii. the type of waste deposited each day,

iv. where the waste is deposited including GPS coordinates in Latitude and Longitude,

v. the concentration of the substance, or substances, in the deposited solid or liquid that has the effect of making the deposit waste,

vi. the methodology used to calculate or determine the information referred to in items (i) to (v), and

vii. the measures that were taken to avoid or mitigate any adverse impacts of the deposit of waste.

b. keep the books and records on the site of the undertaking during the period of its operation and make them available during that period to an inspector on request;

c. submit to the Board a report containing a summary description and supporting photographs of the restoration of the site of the undertaking within thirty (30) days after the earliest of (i) the day on which the undertaking is closed or abandoned, and (ii) the last day of the period authorized for the unlicensed use or deposit;b and

d. keep the books and records for two years after submitting the report describing the restoration of the site and undertakings.
Notes:

a) A site need not be restored prior to the end of the period authorized for the use of Water or the deposit of Waste without a licence, as required by Item 5, if the Board issues a licence for the use of Water or deposit of Waste for the same undertaking on same site prior to the end of that period.

b) The Authorized Entity need not submit the report referred to in Item 6 (c) if the Authorized Entity obtains a new approval authorizing a use of Water or deposit of Waste without a licence, or a licence authorizing a use of Water or deposit of Waste for the same undertaking on the same site within thirty (30) days after the last day of the period previously authorized.

�Nunavut Planning Commission (NPC) and the Nunavut Impact Review Board (NIRB) Requirements under NuPPA.


� Nunavut Planning Commission (NPC) Conformity Determination, March 1, 2017.






[image: image1]
2

[image: image2.jpg]WATEA,\

0a>¢ ALcar¢ bNL"
NUNAVUT WATER BOARD
NUNAVUT IMALIRIYIN KATIMAYINGI
OFFICE DES EAUX DU NUNAVUT




[image: image3.png]PO. Box 119, Goo Hoven, NU 0B 10, Tl (867) 360.6338, Fox: 867) 3606369




[image: image4.png]


