McGill Arctic Research Station

Spill Contingency Plan

(Originally submitted February 1, 2010)

Addendum effective August 1, 2010

PART H: CONDITIONS APPLYING TO SPILL CONTINGENCY PLANNING

1. The Board has approved the Plan entitled “McGill Arctic Research Station Spill Contingency Plan” dated February 1, 2010 that was submitted as additional information with the Application.

2. The Licensee shall submit within thirty (30) days of issuance of the Licence, an Addendum to the Plan referred to in Part H, Item 1, in the format set out by the Consolidation of Spill Contingency Planning and Reporting Regulations R-068-93 addressing the following issues:

a: Include the INAC Manager of Field Operations at 857-975-4295 to be contacted in the event of a spill;

b: All spills of fuel or hazardous materials, adjacent to or into a water body regardless of quantify shall be reported to the 24-hour Spill Report Line; and

c: Include disposal information for contaminated materials resulting from a spill.

2a. Reporting procedures

- Notify INAC Manger of Field Operations at 867 975-4295

- Fill out spill report form as completely as possible before making report

- Report to Yellowknife using 24 hour Spill Report line (867 920-8130)

- Where fax is available follow up with a faxed copy of the spill report to 867 873-6924

- PCSP or RCMP communications may be used if other means are not available

List of Contacts

INAC Manager of Field Operations 867 975-4295

Environment Canada Enforcement Officer 867 975-4644 (office) 867 222-1925 cell

PCSP Base Manager 867 252-3872

2b. Disposal information

In the event of a spill of Diesel, Jet B or Gasoline the clean up supplies (contaminated spill pads, absorbent materials, berms) snow and soil will be stored in large (180l) labeled containers. The containers will be stored in open, ventilated areas away from incompatible materials and water bodies,  as well they will be electrically grounded. These materials will be transported to an approved containment facility.