SHEDULE 1
CONDITIONS FOR USE OF WATER OR DEPOSIT OF WASTE WITHOUT A LICENCE

[image: image1]
File:   8WLC-PSP1516
June 1, 2015
Kristyn Thoburn 

Arctic Kingdom, 

P.O. Box #6117

Iqaluit, NU X0A 0H0
Email:
kristyn@arctickingdom.com
Subject:
8WLC-PSP1516 – Pristine Seas Film Project- Approval for the Use of Waters and Deposit of Waste Without a Licence 
Dear Ms. Kristyn Thoburn,
Please find attached Approval Without Licence (Approval) number 8WLC-PSP1516 issued to Arctic Kingdom (the Authorized Entity) by the Nunavut Water Board (NWB or Board) pursuant to its authority under Article 13 of the Agreement between the Inuit of the Nunavut Settlement Area and Her Majesty the Queen in Right of Canada (the Nunavut Land Claims Agreement or NLCA).  The Approval has been authorized for a period of one (1) year after the day on which the Board approves the application and includes conditions related to the use of Waters or deposit of Waste which are an integral part of this Approval required for this type of authorization under the Nunavut Waters Regulations (NWR).
This Approval and the conditions contained therein permits the carrying out of activities involving the use of Waters or deposit of Waste with respect to the Application for approval.  Any variation from these activities may result in a violation of this Approval and contravention of the NLCA, the Nunavut Waters and Nunavut Surface Rights Tribunal Act (NWNSRTA) or the NWR.  The NWB would like remind the Applicant of the obligations under this Approval with respect to the reclamation and reporting which will arise as this Approval approaches its expiry.

If the Authorized Entity contemplates the renewal of this Approval, it is the responsibility of the authorized entity to re-apply to the NWB.  Note that if the Approval expires before the NWB issues a renewal, the use of Waters or deposit of Waste must cease, or the Authorized Entity will be in contravention of the NLCA and the NWNSRTA.  The NWB recommends that an application for renewal of this Approval be filed at least thirty (30) days prior to its expiry date.

If the Authorized Entity contemplates changes to its undertaking involving a change in scope or increased activity, a water licence may be required.  It is the Authorized Entity’s responsibility to apply to the NWB for a water licence in accordance with the timelines set out for licences. 

This Approval has been posted to the NWB’s Public Registry and FTP site and is accessible from the following link:  ftp://ftp.nwb-oen.ca/
Sincerely, 

<Affix Chair Signature>
Thomas Kabloona
Nunavut Water Board
Chair

TK/ce/ri
Enclosure:
Approval Number:   8WLC-PSP1516
cc.
Qikiqtani Region
APPROVAL DECISION
APPROVAL NUMBER:
8WLC-PSP1516
This is the decision of the Nunavut Water Board (NWB) with respect to an application for Approval for the use of Waters and deposit of Waste without a licence, received 23 April 2015 from: 

KRISTYN THOBURN, ARCTIC KINGDOM
to authorize the use of Waters and deposit of Waste  during the conservation-research activities for the Pristine Seas Film Project located within the Qikiqtani Region, Nunavut and within Watershed of:  Eclipse Sound Watershed (#48) generally located at the geographical coordinates as follows: 

Camp:

             Latitude: 73° 38’ 00” N    
      Longitude: 81° 25’ 00” W
Project:                          Max Latitude: 73° 41' 13.50" N
Max Longitude: 81° 34' 31.44" W
Min Latitude: 73° 35' 3.96" N
      Min Longitude: 81° 17' 50.35" W
DECISION 
After ensuring that the application satisfied the requirements of Articles 11 and 12 of the Nunavut Lands Claim Agreement (NLCA) regarding land use plan conformity and development impact assessment; that the application satisfied the requirements of section 3 of the Nunavut Waters Regulations (NWR or Regulations); that the undertaking satisfied the requirements of sections 4 and 5 of the Regulations and that the applicant agreed to comply with sections 4(3), 5(4), and 6(1) of the Regulations, the NWB determined that:

Approval Number 8WLC-PSP1516 be issued, subject to the conditions of Schedule 1 contained therein (Motion # 2015-WL-013). 
SIGNED this 28th day of May, 2015 at Gjoa Haven, NU.
<CHAIR SIGNATURE>

Thomas Kabloona
Nunavut Water Board
Chair

TK/ce/pb
APPROVAL NO.
8WLC-PSP1516
Pursuant to the Nunavut Waters Regulations, Nunavut Waters and Nunavut Surface Rights Tribunal Act and the Agreement Between the Inuit of the Nunavut Settlement Area and Her Majesty the Queen in Right of Canada, the Nunavut Water Board hereinafter referred to as the Board, hereby grants to 
KRISTYN THOBURN, ARCTIC KINGDOM
P.O. Box #6117

Iqaluit, NU X0A 0H0
Hereinafter called the Authorized Entity, the right to use Waters and deposit of Waste for a period of one (1) year after the day on which the Board approved the Application, subject to the conditions contained in Schedule 1 attached to this Approval: 

Project Name:
PRISTINE SEAS FILM
Location:
NAVY BOARD INLET, QIKIQTANI REGION, NUNAVUT
Water Management Area:
ECLIPSE SOUND WATERSHED (#48)
Classification:
OTHER UNDERTAKING
Purpose:
USE OF WATERS AND DEPOSIT OF WASTE
Approval Criteria:
WATER USE OF 1.0 CUBIC METRE PER DAY, DEPOSIT OF GREY WATER OF 1.0 CUBIC METRE PER DAY, ALL OTHER SEWAGE AND WASTE WILL BE TRASPORTED OFF SITE
Effective Date of Approval:
1 JUNE 2015
Expiry of Approval:
31 MAY 2016
Dated this      28th      day of   May 2015, at Gjoa Haven, NU 
<CHAIR SIGNATURE>

______________________________
Thomas Kabloona
Nunavut Water Board
Chair
General

1. In the case of an Authorized Entity who has a mineral right and who intends to use Waters or deposit Waste in relation to that right, the Authorized Entity shall respect the priority conferred on Inuit by section 62 of the Act as if that applicant had a licence for the use or deposit.

Use of Waters
2. The Authorized Entity shall take measures prior to the use of Waters to minimize any alteration to the bed or banks of a watercourse whose waters are to be used, and the measures shall be maintained during the operation of the undertaking.

Deposit of Waste
3. The Authorized Entity shall not deposit Waste to surface water or within thirty-one (31) metres of the ordinary high water mark of any body of water.

4. The waste must not contain more than 15 milligrams per litre of petroleum or petroleum product and must not have a visible hydrocarbon sheen.

Abandonment and Restoration

5. Prior to the closure or abandonment of the undertaking or end of the period authorized for the use of Waters or deposit of waste without a licence, whichever occurs first, the site shall be restored — to the extent practicable — to the state in which it was before the use of Waters or the deposit of Waste.a
Record Keeping

6. The Authorized Entity shall:

a. maintain accurate and detailed books and records of:

i. the quantity of water, in cubic metres, used each day,

ii. the quantity, in cubic metres, of waste deposited each day,
iii. the type of waste deposited each day,

iv. where the waste is deposited including GPS coordinates in Latitude and Longitude,

v. the concentration of the substance, or substances, in the deposited solid or liquid that has the effect of making the deposit waste,

vi. the methodology used to calculate or determine the information referred to in items (i) to (v), and

vii. the measures that were taken to avoid or mitigate any adverse impacts of the deposit of waste.

b. keep the books and records on the site of the undertaking during the period of its operation and make them available during that period to an inspector on request;

c. submit to the Board a report containing a summary description and supporting photographs of the restoration of the site of the undertaking within thirty (30) days after the earliest of (i) the day on which the undertaking is closed or abandoned, and (ii) the last day of the period authorized for the unlicensed use or deposit;b and

d. keep the books and records for two years after submitting the report describing the restoration of the site and undertakings.
Notes:

a) A site need not be restored prior to the end of the period authorized for the use of Water or the deposit of Waste without a licence, as required by Item 5, if the Board issues a licence for the use of Water or deposit of Waste on that site prior to the end of that period.

b) The Authorized Entity need not submit the report referred to in Item 6 (c) if the Authorized Entity obtains the Board’s renewed approval for a use of Water or deposit of Waste without a licence, or a licence for a use of Water or deposit of Waste on the same site within thirty (30) days after the last day of the period previously authorized.


[image: image4.png]



2

[image: image2.jpg]WATEA,\

0a>¢ ALcar¢ bNL"
NUNAVUT WATER BOARD
NUNAVUT IMALIRIYIN KATIMAYINGI
OFFICE DES EAUX DU NUNAVUT




[image: image3.png]PO. Box 119, Goo Hoven, NU 0B 10, Tl (867) 360.6338, Fox: 867) 3606369




[image: image4.png]