D1.	NON-HAZARDOUS WASTE Landfill	1

D.1.1	Landfill Summary	1

D.1.2	Visual Inspection	1

D.1.3	Soil Sampling	4

D.1.4	Groundwater	6

List of Tables

Table D-1	Summary of 2011 Soil Analysis – Non-hazardous Waste Landfill	5

Table D-2	Summary of 2011 Groundwater Analysis – Non-hazardous Waste Landfill				7

List of Figures

Figure D1	Non-hazardous Waste Landfill	3

List of Appendices

Appendix D1		Visual Inspection Records

Appendix D2		Site Photographs

Appendix D3		Monitoring Well Development Records

# D1.	NON-HAZARDOUS WASTE Landfill

## D.1.1	Landfill Summary

The Non-hazardous Waste Landfill is located north of the airstrip between two access roads extending north-south between the airstrip and the main station.  The landfill encompasses an area of approximately 5,000 m2 and the depth of landfilled waste materials is approximately 2 m. The landfill configuration, including photograph and sample locations, is shown on Figure D1.  Historically, this landfill was used to dispose of site debris, DCC Tier I and hydrocarbon (lubricating oil and grease) contaminated soil.  The landfill was designed using perimeter berms and a cover of granular fill over the waste material.  The cover of the landfill has sparse vegetation. The surface consists of a veneer of pebbles and cobbles overlying the granular and silt cover.

For 2011, the monitoring requirements for the Non-hazardous Waste Landfill included a visual inspection, soil sampling and analyses and groundwater sampling and analyses.

## D.1.2	Visual Inspection

Based on the 2011 visual inspection, the Non-hazardous Waste Landfill area appears to be in good condition and does not exhibit signs of imminent slope instability or final cover failure. Compared to the 2005 visual inspection report, one additional feature was noted.  There were no other significant changes from the 2005 visual inspection and the overall landfill performance is considered to be “acceptable”. Appendix D1 presents a summary of the 2011 visual inspection results and features of note are shown on Figure D1.

There was one minor erosion feature noted in 2005.  In 2011, this feature was again observed (Feature A); however, it was interpreted to be a scour mark from an adjacent boulder.

An area of ponded water (Feature B) along the southern toe of the landfill was observed in 2011.  The ponded water was approximately 3 m long and 3 m wide.  The water did not have a visible sheen.

Figure D1	Non-hazardous Waste Landfill

## D.1.3	Soil Sampling

Soil samples were collected at the designated locations of MW-13, MW-14, MW-15 and MW-16. The sampling locations are shown on Figure D1. A photograph of each test pit for each location sampled is shown in Appendix D2.  Soil samples were analyzed for DCC metals, total petroleum hydrocarbons (TPHs) and polychlorinated biphenyls (PCBs).  Analytical results and depths of samples are provided in Table D-1 and the Laboratory Reports are provided in Appendix G.

TPHs were detected in samples collected from the four locations.  The greatest concentration of TPH was 714 mg/kg at MW-16 (0 m to 0.15 m).  The analytical results for metals and PCBs in soil samples were less than the DCC DEW Line Cleanup Criteria for soil (DCC Criteria).

Table D-1	Summary of 2011 Soil Analysis – Non-hazardous Waste Landfill

- D.1.4	Groundwater

Groundwater depths and condition were documented for monitoring wells MW-13, MW-14, MW-15 and MW-16. The monitoring well development records are provided in Appendix D3.  The groundwater samples were analyzed for DCC metals, TPHs and PCBs. The results are presented in Table D-2 and the laboratory certificates are provided in Appendix G.

The monitoring wells were found to be in good condition in 2011. TPHs and PCBs were not detected in the groundwater samples collected from the Non-hazardous Waste Landfill.  Detectable concentrations of the metals arsenic, chromium, cobalt, nickel and zinc were measured in one or more groundwater samples.

Table D-2	Summary of 2011 Groundwater Analysis – Non-hazardous Waste Landfill

Appendix D Attachments

D1	Visual Inspection Records

D2	Site Photographs

D3	Monitoring Well Development Records

APPENDIX D1

Visual Inspection Records

Appendix D2

Site Photographs

Appendix D3

Monitoring Well Development Records